## 2002-10-02
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2002-10-02 | Drugs | II | d-412-2 | Ms Contin Tablets (morphine Sulfate) Controlled-release 15 Mg 25 Count Blister Packs 100 And 500 Count Bottles. Recall # D-412-2. | The Purdue Frederick Co. Norwalk Ct | The P.f. Laboratories Inc. Totowa Nj. | August 15, 2002 | Tablet mixup; 30 mg tablets may be in bottles and/or blister packs labeled as containing 15 mg tablets. | 4 571 bottles of 500 s 4 968 bottles of 100 s and 26 455 blisters of 25 s | Nationwide and the Dominican Republic
2002-10-02 | Drugs | II | d-413-2 | Quinine Sulfate Tablets Usp 260 Mg 100 Count Bottle Rx Only Recall # D-413-2. | Ivax Pharmaceuticals Inc. Miami Fl | Ivax Pharmaceutical Caribe Inc. Cidra Puerto Rico. | August 29, 2002 | Tablet mixup; a bottle labeled as containing quinine sulfate tablets was found to contain quinine sulfate tablets and one tablet of labetalol 100 mg, an antihypertensive. | 12 000 bottles | Nationwide
2002-10-02 | Drugs | II | d-415-2 | Benadryl Allergy/sinus Headache Caplets Co-packaged With A Bonus 4 Ml Bottle Of Visine Tears (diphenhydramine Hydrochloride 125 Mg Pseudoephedrine Hydrochloride 30 Mg Acetaminophen 500 Mg) 24 Count Package. Recall # D-415-2. | Pfizer Consumer Healthcare R&d Morris Plains Nj. | Pfizer Inc. Vega Baja Pr. | June 11, 2002 | Mispackaged; promotional packages labeled as containing benadryl allergy/sinus headache caplets co-packaged with a bonus 4ml sample of visine tears may actually contain benadryl severe allergy/sinus headache caplets. | 2270 boxes of 24 caplets | AR
2002-10-02 | Drugs | III | d-420-2 | A) Halls Sugar Free Cough Drops (menthol 5.8 Mg) 25 Drops Per Bag Mountain Menthol. Recall # D-420-2; B) Halls Sugar Free Cough Drops (menthol 5 Mg) 25 Drops Per Bag Black Cherry. Recall # D-421-2. | Adams Usa (div. Of Warner Lambert A Subsidiary Of Pfizer Inc.) Parsippany Nj | Parke Davis & Co. Limited Manchester M26 2qt England. | April 18, 2002 | Product may contain metal particles. | a 1053 cases b 189 cases | Nationwide
2002-10-02 | Drugs | III | d-422-2 | A) Listerine Essential Care Gel Toothpaste 09 Oz Tube (eucalyptol 0.738% Menthol 0.340% Methyl Salicylate 0.480% Thymol 0.511% Sodium Monofluorophosphate 0.76% (0.13% Fluoride Ion). Recall # D-422-2; B) Listerine Essential Care Tartar Control Gel Toothpaste 0.9 Oz Tube (eucalyptol 0.738% Menthol 0.340% Methyl Salicylate 0.480% Thymol 0.511% Sodium Monofluorophosphate 0.76% (0.13% Fluoride Ion). Recall # D-423-2. | Pfizer Consumer Healthcare Group Morris Plains Nj | Accupac Inc. Mainland Pa. | May 22, 2002 | Subpotent; active ingredient methyl salicylate (stability). | 12 649 365 tubes | Nationwide and Puerto Rico
2002-10-02 | Drugs | III | d-414-2 | Oxygen Usp High Pressure Cylinders Compressed Recall #d-414-2. | Oxygen Support Systems Riverside Nj | Oxygen Support Systems Riverside Nj | November 5, 2001 | Subpotent. | 12 | NJ and PA
2002-10-02 | Biologics | II | b-1924-2 | Source Plasma Recall # B-1924-2. | Alpha Therapeutic Corporation Los Angeles Ca | Alpha Therapeutic Corporation Fayetteville Nc. | December 20, 2000 | Blood product, collected under conditions in which sterility may have been compromised, was distributed. | 1 unit | NC
2002-10-02 | Biologics | II | b-1937-2 | A) Red Blood Cells Recall # B-1937-2; B) Platelets Recall # B-1938-2; C) Fresh Frozen Plasma Recall # B-1939-2; D) Recovered Plasma Recall # B-1940-2 | Central Texas Regional Blood And Tissue Center Austin Tx | Central Texas Regional Blood And Tissue Center Austin Tx | September 1, 1999 | Blood products, incorrectly tested for antibody to the human immunodeficiency virus (anti-hiv-1/2), were distributed. | a 94 units b 13 units c 39 units d 48 units | TX IL FL and NY
2002-10-02 | Biologics | II | b-1989-2 | A) Red Blood Cells Recall # B-1989-2; B) Platelets. Recall # B-1990-2; C) Fresh Frozen Plasma. Recall # B-1991-2; | American Red Cross Penn-jersey Region Philadelphia Pa | American Red Cross Penn-jersey Region Philadelphia Pa | November 23, 2001 | Blood products, collected from a donor who provided post donation information regarding having tested positive for hepatitis, were distributed. | 10 units | PA and NJ
2002-10-02 | Biologics | II | b-2000-2 | A) Red Blood Cells Recall # B-2000-2; B) Red Blood Cells Leukocytes Removed. Recall # B-2001-2; C) Fresh Frozen Plasma. Recall # B-2002-2; D) Plasma. Recall # B-2003-2; E) Cryoprecipitated Ahf. Recall # B-2004-2; F) Recovered Plasma. Recall # B-2005-2; | American Red Cross Blood Services northeastern Pennsylvania Region Ashley Pa | American Red Cross Blood Services northeastern Pennsylvania Region Ashley Pa | October 24, 2001 | Blood products, which were collected from a donor who had taken the medication proscar, were distributed. | 17 units | PA NY MA and Switzerland
2002-10-02 | Biologics | II | b-2006-2 | Source Plasma Recall # B-2006-2 | Aventis Bio-services Inc. Greenville Sc | Aventis Bio-services Inc. Greenville Sc | March 3, 2002 | Blood product, collected from a donor whose arm preparation was not documented, was distributed. | 1 unit | NC
2002-10-02 | Biologics | II | b-2007-2 | Source Plasma Recall # B-2007-2. | Aventis Bio-services Inc. Greenville Sc | Aventis Bio-services Inc. Greenville Sc | March 3, 2002 | Blood product, collected from a donor whose arm preparation was not documented, was distributed. | 1 unit | NC
2002-10-02 | Biologics | II | b-2008-2 | Source Plasma Recall # B-2008-2. | Aventis Bio-services Inc. Greenville Sc | Aventis Bio-services Inc. Greenville Sc | March 3, 2002 | Blood product, collected from a donor whose arm preparation was not documented, was distributed. | 1 unit | Germany
2002-10-02 | Biologics | II | b-2010-2 | Source Plasma Recall # B-2010-2. | Aventis Bio-services Inc. Greenville Sc | Aventis Bio-services Inc. Greenville Sc | March 5, 2002 | Blood product, which was not tested for syphilis, was distributed. | 1 unit | Germany
2002-10-02 | Biologics | II | b-2011-2 | Source Plasma Recall # B-2011-2. | Aventis Bio-services Inc. Greenville Sc | Aventis Bio-services Inc. Greenville Sc | March 3, 2002 | Blood products, which were not tested for syphilis, were distributed. | 4 units | Switzerland
2002-10-02 | Biologics | II | b-2012-2 | Source Plasma Recall # B-2012-2. | Aventis Bio-services Inc. Greenville Sc | Aventis Bio-services Inc. Greenville Sc | March 3, 2002 | Blood products, which were not tested for syphilis, were distributed. | 5 units | Germany
2002-10-02 | Biologics | II | b-2014-2 | Source Plasma Recall # B-2014-2. | Aventis Bio-services Inc. Greenville Sc | Aventis Bio-services Inc. Greenville Sc | March 3, 2002 | Blood product, collected from a donor whose arm preparation was not documented, was distributed. | 1 unit | Germany
2002-10-02 | Biologics | II | b-2035-2 | Corneas Recall # B-2035-2. | Northwest Lions Eye Bank Seattle Wa | Northwest Lions Eye Bank Seattle Wa | August 23, 2002 | Human tissue for transplantation, that tested repeatedly reactive for antibodies to hepatitis b core antigen (anti-hbc), was distributed. | 2 tissues | Japan
2002-10-02 | Biologics | II | b-2040-2 | Source Plasma Recall # B-2040-2. | Aventis Bio-services Inc. King Of Prussia Pa | Aventis Bio-services Inc. Greenville Sc. | March 21, 2002 | Blood products, that tested negative for viral markers, but were collected from a donor who disclosed a risk factor for increased incidence of infection with human immunodeficiency virus (hiv), were distributed. | 18 units | IL NC MA and Germany
2002-10-02 | Biologics | II | b-2041-2 | Source Plasma Recall # B-2041-2. | Aventis Bio-services Inc. King Of Prussia Pa | Aventis Bio-services Inc. Greenville Sc. | March 3, 2002 | Blood products, that tested negative for viral markers, but were collected from an ineligible donor due to illegal drug use, were distributed. | 58 units | IL NC Switzerland and Germany
2002-10-02 | Biologics | II | b-2042-2 | Source Plasma Recall # B-2042-2. | Aventis Bio-services Inc. Melrose Park Il | Aventis Bio-services Inc. Melrose Park Il | April 10, 2002 | Blood products, that tested negative for viral markers, but were collected from an ineligible donor due to illegal drug use, were distributed. | 64 units | CA
2002-10-02 | Biologics | II | b-2043-2 | Source Plasma Recall # B-2043-2. | Aventis Bio-services Inc. Melrose Park Il | Aventis Bio-services Inc. Melrose Park Il | April 11, 2002 | Blood products, that tested negative for viral markers, but were collected from an ineligible donor due to illegal drug use, were distributed. | 25 units | IL
2002-10-02 | Biologics | II | b-2045-2 | Red Blood Cells Recall # B-2045-2. | Blood Systems Inc. Scottsdale Az | Tri-counties Blood Bank Santa Barbara Ca. | June 13, 2002 | Blood product, collected from a donor that did not have a hematocrit or hemoglobin test during the donor screening process, was distributed. | 1 unit | CA
2002-10-02 | Biologics | II | b-2049-2 | Platelets Pheresis Leukocytes Reduced Recall # B-2049-2. | Blood Systems Inc. Scottsdale Az | Blood Systems Inc. Scottsdale Az | June 7, 2002 | Blood products, that were not tested for ph or platelet count as required by the firm's standard operating procedures (sops), were distributed. | 3 units | AZ
2002-10-02 | Biologics | II | b-2050-2 | Platelets Pheresis Recall # B-2050-2. | The American National Red Cross Arizona Region Tucson Az | The American National Red Cross Arizona Region Tucson Az | June 16, 2002 | Platelets with an elevated platelet count were distributed. | 1 unit | AZ
2002-10-02 | Biologics | III | b-1992-2 | Platelets Leukoreduced. Recall # B-1992-2. | American Red Cross Penn-jersey Region Philadelphia Pa | American Red Cross Penn-jersey Region Philadelphia Pa | November 11, 2001 | Blood product, which was not properly quarantined after the donor of the product reported a post donation illness, was distributed. | 1 unit | PA
2002-10-02 | Biologics | III | b-2036-2 | Source Plasma Recall # B-2036-2. | Aventis Bio-services Inc. King Of Prussia Pa | Aventis Bio-services Inc. Greenville Sc. | March 26, 2002 | Blood product, collected from a donor whose health history screening was not performed correctly, was distributed. | 1 unit | Germany
2002-10-02 | Biologics | III | b-2037-2 | Source Plasma Recall # B-2037-2. | Aventis Bio-services Inc. King Of Prussia Pa | Aventis Bio-services Inc. Greenville Sc. | March 27, 2002 | Blood product, collected from a donor whose health history screening was not performed correctly, was distributed. | 1 unit | Germany
2002-10-02 | Biologics | III | b-2038-2 | Source Plasma Recall # B-2038-2. | Aventis Bio-services Inc. King Of Prussia Pa | Aventis Bio-services Inc. Greenville Sc. | March 26, 2002 | Blood product, collected from a donor whose health history screening was not performed correctly, was distributed. | 1 unit | Germany
2002-10-02 | Biologics | III | b-2039-2 | Source Plasma Recall # B-2039-2. | Aventis Bio-services Inc. King Of Prussia Pa | Aventis Bio-services Inc. Greenville Sc. | March 26, 2002 | Blood product, collected from a donor whose health history screening was not performed correctly, was distributed. | 1 unit | Germany
2002-10-02 | Biologics | III | b-2044-2 | Source Plasma Recall # B-2044-2. | Pyramid Biological Corporation Van Nuys Ca | Pyramid Biological Corporation Van Nuys Ca | March 21, 2002 | Blood product, collected from a donor whose arm inspection was not documented, was distributed. | 1 unit | CA
2002-10-02 | Biologics | III | b-2046-2 | Red Blood Cells Leukocytes Reduced Recall # B-2046-2. | Blood Systems Inc. Scottsdale Az | Blood Systems Inc. Scottsdale Az | May 6, 2002 | Blood products possibly exposed to unacceptable shipping temperatures were distributed. | 2 units | AZ
2002-10-02 | Biologics | III | b-2047-2 | Red Blood Cells Leukocytes Reduced Recall # B-2047-2. | Blood Systems Inc. Scottsdale Az | Blood Systems Inc. Scottsdale Az | May 12, 2002 | Blood products possibly exposed to unacceptable shipping temperatures were distributed. | 16 units | AZ
2002-10-02 | Biologics | III | b-2048-2 | Red Blood Cells Leukocytes Reduced Recall # B-2048-2 | Blood Systems Inc. Scottsdale Az | Blood Systems Inc. Scottsdale Az | July 18, 2002 | Blood product, collected from a donor whose body temperature was improperly recorded, was distributed. | 1 unit | AZ
2002-10-02 | Biologics | III | b-2051-2 | A) Red Blood Cells Leukocytes Reduced Irradiated Recall # B-2051-2. B) Platelets Pheresis Irradiated. Recall # B-2052-2. | The American National Red Cross Arizona Region Tucson Az | The American National Red Cross Arizona Region Tucson Az | April 1, 2002 | Blood products that were subjected to irradiation twice were distributed. | 4 units | AZ
2002-10-02 | Devices | II | z-1322-2 | Automated Differential Cell Counters: A) Coulter Lh 700 Series Hematology Analyzers. Recall # Z-1322-2; B) Coulter Gen S Hematology Analyzers. Recall # Z-1323-2. | Beckman Coulter Inc. Brea Ca | Coulter Corp. Hialeah Fl. | June 4, 2002 | Incorrectly gates neutrophil population in patient samples. | 1268 | Nationwide and Canada
2002-10-02 | Devices | II | z-1346-2 | A) P645 Specialite Patient Light Recall # Z-1346-2; B) P696il Integris 1000 Patient Light. Recall # Z-1347-2; C) P2003b Integris B Patient Lite Rail. Recall # Z-1348-2. D) P780d Deep Impression Light For Use With The Impression Series Headwall. Recall # Z-1349-2. | Hill-rom Co. Inc. Batesville In | Hill-rom Co. Inc. Batesville In | August 16, 2002 | Switch fails to function as intended due to incorrect amp size switch. | 843 | Nationwide and Canada
2002-10-02 | Devices | II | z-1350-2 | Disetronic D-tron Insulin Infusion Pump Models 8100001 D-tron (blue) And 8100005 D-tron (anthracite) Recall # Z-1350-2. | Disetronic Medical Systems Inc. St. Paul Mn | Disetronic Medical Systems Ag Burgdorf Switzerland. | June 17, 2002 | Some pumps started programming a bolus that was not initiated by the pump user, and the delivery of an unintended bolus was made unless interrupted by the device user. | 3357 insulin infusion pumps in the u s | Nationwide
2002-10-02 | Devices | II | z-1352-2 | Aeroset Software Version 101er000. Recall # Z-1352-2. | Abbott Laboratories Inc. Irving Tx | Abbott Laboratories Inc. Irving Tx | July 16, 2002 | Sample results may be skewed by failure to properly 'blank' the sample. | 1 | FL
2002-10-02 | Devices | II | z-1353-2 | A) Hill-rom Brand Advanta 1600 Series Hospital Beds As Follows: Model P1600b; Full Featured General Hospital Bed Recall # Z-1353-2; B) Model P1603b; Semi-de-featured General Hospital Bed. Recall # Z-1354-2; C) Model P1604b; De-featured General Hospital Bed. Recall # Z-1355-2. | Hill-rom Inc. Batesville In | Hill-rom Inc. Batesville In | August 15, 2002 | Unintentional movement of the bed. | 50 000 | Nationwide and Internationally
2002-10-02 | Devices | II | z-1357-2 | Sterile 4" X 4" 16-ply Gauze Sponges Packaged 10 Sponges Per Formed Plastic Tray With Tyvek Lid The Following Gauze Products Are Being Recalled: A) Medline Accu-sorb X-ray Detectable Usp Type Vii Gauze Recall # Z-1357-2; B) Medline Gauze Sponge Usp Type Vii Gauze. Recall # Z-1358-2. | Medline Industries Inc. Mundelein Il | Medline Industries Inc. Mundelein Il | August 16, 2002 | Compromised packaging integrity - questionable sterility. | 809 cases | Nationwide
2002-10-02 | Devices | II | z-1360-2 | Defibrillator/ Pacer Medical Research Laboratories External Adult Defibrillator Paddle Set- Used With Medical Data Electronics Escort Defibrillator Pacer Models 20201 And 20202 Recall # Z-1360-2. | Medical Data Electronics Inc. Arleta Ca | Medical Research Laboratories Arleta Ca. | August 1, 2002 | Intermittent operation of the paddles. | 54 sets of two paddles each | Nationwide and Pakistan and Mexico
2002-10-02 | Devices | II | z-1361-2 | Parallax Medical Brand Ezflow Cement Delivery System Catalog #s: A) Cds-110; B) Cds-122; C) Cds-132; D) Cds-2210; E) Cds-2212 Recall # Z-1361-2. | Parallax Medical Inc. Scotts Valley Ca | Parallax Medical Inc. Scotts Valley Ca | July 19, 2002 | Firm has identified a number of units which may have breaches in the pouch seal. | 3626 units | Nationwide and Internationally
2002-10-02 | Devices | II | z-1362-2 | Mde Escort Prisim Se A Portable Patient Monitor Recall # Z-1362-2. | Medical Data Electronics Inc. Arleta Ca | Medical Data Electronics Inc. Arleta Ca | August 20, 2002 | Printed circuit board flaw might allow cuff to overinflate. | 3 569 | Nationwide and Internationally
2002-10-02 | Devices | II | z-1363-2 | A) Ref 220039 Microject 30 Pump Continuous Low Flow Recall # Z-1363-2; B) Ref 220041 Microject 200 Pump Intermittent Or Continuous Flow. Recall # Z-1364-2. | Sorenson Medical Inc. West Jordan Ut | Sorenson Medical Inc. West Jordan Ut | August 23, 2002 | Reports of under-infusion and pump housing separation. | 4 725 | Nationwide and Internationally
2002-10-02 | Devices | II | z-1365-2 | A) Balanced Knee System Ps Tibial Insert Size 6 16mm; B) Balanced Knee System Ps Tibial Insert Size 4 20mm Each Insert Is A Component Of The Balanced Knee System Packaged Individually. Recall # Z-1365-2. | Ortho Development Corp. Draper Ut | Ortho Development Corp. Draper Ut | May 28, 2002 | Outer box product label showed incorrect size. | 39 units | Nationwide
2002-10-02 | Devices | II | z-1366-2 | Somatom Smile Computed Tomography System Diagnostic Imaging -- Model #7053502 Recall # Z-1366-2. | Siemens Medical Systems Inc. Iselin Nj | Siemens Shanghai Medical Equipment Ltd. Shanghai China 200090. | May 20, 2002 | Errors can occur when performing gantry tilt examinations. | 3 | Nationwide and Internationally
2002-10-02 | Devices | II | z-1370-2 | Vitek Gns-204 Product #v4526 Gram Negative Susceptibility Cards Individually Wrapped In A Mylar Pouch 20 Cards Per Box For Use In The Antimicrobial Susceptibility Testing Of Rapidly Growing Aerobic And/or Facultatively Anaerobic Gram-negative Bacilli Recall # Z-1370-2. | Biomerieux Inc. Hazelwood Mo | Biomerieux Inc. Hazelwood Mo | August 5, 2002 | Mislabeled. this results in an incorrect susceptible/resistant result for the ast's included in the gns 204 card. | 2 572 20 card boxes | Nationwide
2002-10-02 | Devices | II | z-1371-2 | Proteus Xr/a Stationary X-ray System Model Numbers: 2244165 2259976 2212259 2259973 And 2268970 Recall # Z-1371-2. | General Electric Medical Systems Waukesha Wi | General Electric Medical Systems Waukesha Wi | January 20, 2001 | Screws that mount the collimator interface plate may loosen and fall out allowing the collimator to fall. |  | Prior TO the Start OF the Field Correction IN January 2001 are Affected Recalling Firm Manufacturer General Electric Medical Systems Waukesha WI BY Field Engineer Visits Beginning January 2001 Firm Initiated Recall IS Ongoing Reason Screws That Mount the Collimator Interface Plate may Loosen and Fall out Allowing the Collimator TO Fall Volume OF
2002-10-02 | Devices | II | z-1373-2 | Thoratec Tlc-ii Portable Vad Driver System Driver Model Numbers: 20010-0000-081 20010-0000-132 Recall # Z-1373-2. | Thoratec Corp. Pleasant Ca | Thoratec Corp. Pleasant Ca | August 14, 2002 | Component defects that can cause tlc-ii driver to abruptly stop functioning. | 34 units | Nationwide and Australia Canada and Singapore
2002-10-02 | Devices | II | z-1376-2 | Ti Cann Troch Fixation Nail The Generic Name Is Trochanteric Fixation Nail. Recall # 1374-2/z-1376-2. | Synthes (usa) Paoli Pa | Synthes (usa) Monument Co. | August 2, 2002 | Manufactured outside design specifications the medial side of the oblique hole may be oval instead of round. | 66 units | Nationwide
2002-10-02 | Devices | II | z-1377-2 | Misys Laboratory Recall # Z-1377-2. | Misys Healthcare Systems Inc. Tucson Az | Misys Healthcare Systems Inc. Tucson Az | August 16, 2002 | Software anomaly. footnotes are incomplete and do not print on reports. | 458 | Nationwide and Internationally
2002-10-02 | Devices | II | z-1378-2 | Misys Laboratory Recall # Z-1378-2. | Misys Healthcare Systems Inc. Tucson Az | Misys Healthcare Systems Inc. Tucson Az | July 5, 2002 | Software anomaly. when original results were modified or deleted in function meh, original/unmodified results were saved. | 477 | Nationwide and Internationally
2002-10-02 | Devices | II | z-1379-2 | Genuine One Touch *** Test Strips *** Lot No *** Exp. Date *** Lifescan Inc A Johnson & Johnson Company Milpitas California. Recall # Z-1379-2; ***". Uni-check Test Strips *** Catalog No.1702720 *** Qty: 24 Packages Of 50 Strips/package *** Lot No.: *** Expires: ***". Recall # Z-1380-2. | Farnes Enterprises Dba Medsource Direct Woods Cross Ut | Farnes Enterprises Dba Medsource Direct Woods Cross Ut | August 17, 2002 | Blood glucose test strips were not approved for sale in the u.s. and canada. | 2 198 units | Nationwide
2002-10-02 | Devices | II | z-1381-2 | Caleo Infant Warming System The Product Is An Incubator. Recall # Z-1381-2. | Drager Medical Telford Pa | Drager Medical Telford Pa | September 13, 2002 | Temperature measurement error. | 66 units | CA FL GA NC NE OH PA and Canada
2002-10-02 | Devices | II | z-1382-2 | Microject 30 Pump Ref 220039 Packaged Individually Or In Cases Of 10. Recall # Z-1382-2. | Sorenson Medical Inc. West Jordan Ut | Sorenson Medical Inc. West Jordan Ut | September 5, 2002 | Pumps were released after failing established aql acceptance levels. | 178 units | CA CO GA IL MO NY TX and Canada France Singapore and Venezuela
2002-10-02 | Devices | II | z-1384-02 | Solan Trephine Blade 9 Mm And Also The 10mm Sizes (different Products) Packed One Unit Per Box Corneal Trephine Recall # Z-1384-02/ | Xomed Inc. Jacksonville Fl | Xomed Inc. Jacksonville Fl | July 19, 2002 | Outer box mislabeled as 9mm when product is 10mm. | 8 | MO TX IL KY and MI
2002-10-02 | Devices | III | z-1351-2 | Freshlook Color Enhancers (phemfilcon A) Contact Lenses; The Soft Contact Lenses Are Individually Packaged In Sterile Foil-sealed Plastic Packages 6 Packs Per Box. Recall # Z-1351-2. | Wesley Jessen Corp. Des Plaines Il | Wesley Jessen Corp. Des Plaines Il | March 5, 2002 | Mislabeled for corrective power. | 560 6 packs | Nationwide and Canada
2002-10-02 | Devices | III | z-1356-2 | Merifluor Cmv Igm Ifa/ift Packaged Under The Gull Label Recall # Z-1356-2. | Meridian Bioscience Inc. Cincinnati Oh | Meridian Bioscience Inc. Cincinnati Oh | August 27, 2002 | The negative control does not meet labeled specifications. | 189 kits | Nationwide and Canada Belgium Italy and Australia
2002-10-02 | Devices | III | z-1359-2 | Bd 5 Ml Preservative Urine Culture And Sensitivity (c&s) Tube) Recall # Z-1359-2. | Becton Dickinson & Co. Franklin Lakes Nj | Becton Dickinson Vacutainer Systems Broken Bow Ne. | July 17, 2002 | Label placement on urine tube is incorrect which could cause filling below specs. | 60 000 | Nationwide
2002-10-02 | Devices | III | z-1367-2 | Bd Unopette Brand Capillary Pipettes For Use With Unopette Blood Diluting Pipette System Recall # Z-1367-2. | Becton Dickinson & Co. Franklin Lakes Nj | Becton Dickinson Caribe Ltd. San Lorenzo Puerto Rico. | April 5, 2002 | Mispackaging of 20ul pipettes in 10ul containers. | 9 000 units | Nationwide and Japan
2002-10-02 | Devices | III | z-1368-2 | Digene Corporation's Hybrid Capture(tm)2 High Risk Human Papillomavirus (hpv) In-vitro Diagnostic Test Kit Containing One Vial Of High Risk Hpv Calibrator Recall # Z-1368-2. | Digene Corp. Gaithersburg Md | Digene Corp. Gaithersburg Md | August 13, 2002 | Human papilloma virus ivd test kit contains incorrect calibrator. | 361 kits | Nationwide and Canada
2002-10-02 | Devices | III | z-1369-2 | Vitamin B12 Calibrators; For In Vitro Diagnostic Use Only Catalog #154 0525. Recall # Z-1369-2. | Ortho-clinical Diagnostics Inc. Rochester Ny | Ortho-clinical Diagnostics Inc. Cardiff Wales. | August 19, 2002 | Calibration failures when restricted limits used. | 603 units | Nationwide and Internationally end OF Enforcement Report for October 2 2002 Enforcement Report Index fda News Page fda Home Page Office OF Public Affairs Hypertext Uploaded BY clb 2002 oct 02