## 2002-5-15
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2002-5-15 | Drugs | II | d-054-2 | Recall Extension For The Following Products: A) Pangestyme Capsules (ethex Brand) Ul20 Pancrelipase Enteric Coated Microtablets Contained In A Capsule Each Capsule Contains 20 000 Usp Units Lipase 65 000 Usp Units Amylase And 65 000 Usp Units Protease Packaged In 100-capsule Bottles Ndc #58177-050-04 Rx Only. Recall # D-054-2; B) Pangestyme Capsules (ethex Brand) Mt16 Pancrelipase Enteric Coated Microtablets Contained In A Capsule Each Capsule Contains 16 000 Usp Units Lipase 48 000 Usp Units Amylase And 48 000 Usp Units Protease Packaged In 100-capsule Bottles Ndc #58177-028-04 Rx Only. Recall # D-055-2; C. Pangestyme Capsules (ethex Brand) Ec Pancrelipase Enteric Coated Microspheres Contained In Capsules Each Dye-free Capsule Contains 4 500 Usp Units Lipase 20 000 Usp Units Amylase And 25 000 Usp Units Protease Packaged In 12- 100- And 250-capsule Bottles Ndc #58177-031-10 (12's) #58177-031-04 (100's) And #58177-031-06 (250's) Rx Only. Recall # D-056-2. | Ethex Corp. St. Louis Mo | Kv Pharmaceutical Co. St. Louis Mo. | October 3, 2001 | Subpotency (stability). | ul 12 4 581 btls ul 18 3 474 btls mt 16 10 899 btls ul 20 8 728 btls ec 50 070 btls | Nationwide
2002-5-15 | Drugs | II | d-241-2 | Bactroban Ointment Brand Of Mupirocin 2% Ointment 22 Gram Tubes Rx Only Distributed Under The Smithkline Beecham Pharmaceuticals Philadelphia Pa Label Recall # D-241-2. | Glaxo Sb Pharmco Puerto Rico Inc. Cidra Puerto Rico | Glaxo Sb Pharmco Puerto Rico Inc. Cidra Puerto Rico | NOT-FOUND | Microbial contamination; presence of pseudomona fluorescens, burkholderia pickettii or ralstonia paucula. | 194 580 units tubes 22 grams | Nationwide
2002-5-15 | Drugs | II | d-253-2 | A) Mivacron Injection (mivacurium Chloride) Equivalent To 20 Mg/10 Ml (2 Mg/ml) Mivacurium 10 Ml Single-dose Fliptop Vial Rx Only Recall # D-253-2; B) Nimbex Injection (cisatracurium Besylate) Equivalent To 10mg/5ml (2 Mg/ml) Cisatracurium 5 Ml Single-dose Vial Rx Only. Recall # D-254-2; C) Nimbex Injection (cisatracurium Besylate) 20 Mg/10 Ml (2 Mg/ml) 10 Ml Multiple-dose Vial Rx Only. Recall # D-255-2. | Abbott Laboratories Inc. Hospital Products Division Abbott Park Il | Dsm Catalytica Pharmaceuticals Inc. Greenville Nc. | December 7, 2001 | Lack of assurance of sterility. | a 107 360 vials b 52 610 5 ml vials c 102 690 10 ml vials | Nationwide
2002-5-15 | Drugs | II | d-256-2 | Diflucan (fluconazole) Injection 200 Mg (2mg/ml) Iso-osmotic Sodium Chloride Diluent 100 Ml Saline Bag Viaflex Plus Single Dose Sterile Nonpyrogenic Rx Only Roerig A Div Of Pfizer Brand Recall # D-256-2. | Pfizer Inc. New York Ny | Baxter Health Corp. Jayuya Pr. | April 2, 2002 | Lack of assurance of sterility; the port tube may be leaking. | 17 243 units | Nationwide
2002-5-15 | Biologics | II | b-1228-2 | A) Red Blood Cells Recall # B-1228-2; B) Recovered Plasma Recall # B-1229-2. | The American National Red Cross Southern California Region Los Angeles Ca | The American National Red Cross Southern California Region Los Angeles Ca | July 5, 2001 | Blood products, that tested negative for hepatitis, but were collected from an ineligible donor due to a disclosure of previous positive hepatitis testing, were distributed | 2 units | CA and Switzerland
2002-5-15 | Biologics | II | b-1230-2 | A) Red Blood Cells Recall # B-1230-2; B) Platelets Recall # B-1231-2 | The American National Red Cross Penn-jersey Region Philadelphia Pa | The American National Red Cross Penn-jersey Region Philadelphia Pa | August 7, 2000 | Blood products, that tested negative for viral markers, but were collected from a donor that subsequently admitted to multiple risk factors for increased incidence of infection with human immunodeficiency virus (hiv), were distributed. | 4 units | PA and NJ
2002-5-15 | Biologics | II | b-1232-2 | Source Plasma Recall # B-1232-2 | Aventis Bio-services Inc. Knoxville Tn | Aventis Bio-services Inc. Akron Oh. | February 28, 2002 | Blood products, collected from a donor that was not tested for syphilis, were distributed. | 2 units | IL
2002-5-15 | Biologics | II | b-1233-2 | Platelets Recall # B-1233-2 | Michigan Community Blood Center Grand Valley Blood Program Grand Rapids Mi | Michigan Community Blood Center Grand Valley Blood Program Grand Rapids Mi | January 16, 2002 | Blood products, manufactured in a way that resulted in a lower than appropriate product volume, were distributed. | 2 units | MI
2002-5-15 | Biologics | II | b-1234-2 | Red Blood Cells Leukocytes Reduced Recall # B-1234-2 | The American National Red Cross Penn-jersey Region Philadelphia Pa | The American National Red Cross Penn-jersey Region Philadelphia Pa | October 10, 2000 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | NJ
2002-5-15 | Biologics | II | b-1236-2 | Platelets Leukocytes Reduced Recall # B-1236-2 | Central Indiana Regional Blood Center Indianapolis In | Central Indiana Regional Blood Center Indianapolis In | March 27, 2002 | Platelets with a lower platelet count than the labeled platelet count were distributed. | 2 units | IN
2002-5-15 | Biologics | II | b-1240-2 | Source Plasma Recall # B-1240-2 | Aventis Bio-services West Lafayette In | Aventis Bio-services West Lafayette In | October 18, 2001 | Blood products, that tested negative for human immunodeficiency virus (hiv), but were collected from an ineligible donor due to behavior known to increase risk of infection with hiv, were distributed. | 15 units | Switzerland
2002-5-15 | Biologics | II | b-1263-2 | Red Blood Cells Leukocytes Reduced Recall # B-1263-2 | The American National Red Cross Central Plains Region Wichita Ks | The American National Red Cross Central Plains Region Wichita Ks | December 14, 2000 | Blood products, collected from an unsuitable donor based on travel to an area considered endemic for malaria, were distributed. | 3 units | KS and NJ
2002-5-15 | Biologics | II | b-1264-2 | Red Blood Cells Leukocytes Reduced Recall # B-1264-2 | The American National Red Cross Central Plains Region Wichita Ks | The American National Red Cross Central Plains Region Wichita Ks | October 29, 2001 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | CA
2002-5-15 | Biologics | II | b-1265-2 | Red Blood Cells Leukocytes Reduced Recall # B-1265-2 | The American National Red Cross Central Plains Region Wichita Ks | The American National Red Cross Central Plains Region Wichita Ks | March 9, 2001 | Blood product, collected from an unsuitable donor based on living in an area considered endemic for malaria, was distributed. | unit number 02 fh 92079 | KS
2002-5-15 | Biologics | II | b-1266-2 | A) Red Blood Cells Leukocytes Reduced Recall # B-1266-2; B) Recovered Plasma Recall # B-1267-2 | The American National Red Cross Central Plains Region Wichita Ks | The American National Red Cross Central Plains Region Wichita Ks | February 21, 2001 | Blood products, that tested negative for hepatitis, but were collected from an ineligible donor due to a reported history of hepatitis, were distributed. | 2 units | KS and NY
2002-5-15 | Biologics | II | b-1268-2 | A) Red Blood Cells Recall # B-1268-2; B) Platelets Pheresis Recall # B-1269-2; C) Fresh Frozen Plasma Recall # B-1270-2; D) Recovered Plasma Recall # B-1271-2 | The American National Red Cross Midwest Region Omaha Ne | The American National Red Cross Midwest Region Omaha Ne | May 3, 1999 | Blood products, that tested negative for hepatitis, but were collected from an ineligible donor due to a subsequent disclosure of previous positive hepatitis testing, were distributed. | 6 units | CA NE and IA
2002-5-15 | Biologics | II | b-1273-2 | Cornea Human Tissue For Transplantation Recall # B-1273-2 | Medical Eye Bank Of Maryland Baltimore Md | Medical Eye Bank Of Maryland Baltimore Md | February 22, 2002 | Corneas, that tested negative for the antibody to hepatitis c virus (anti-hcv), but tested inconclusive for hcv using the polymerase chain reaction (pcr) assay, were distributed. | 2 corneas | MD and CA
2002-5-15 | Biologics | II | b-1275-2 | Red Blood Cells Recall # B-1275-2 | Suncoast Communities Blood Bank Inc. Sarasota Fl | Suncoast Communities Blood Bank Inc. Sarasota Fl | December 26, 2000 | Blood products, which were determined to have a low hematocrit value, were distributed. | 2 units | FL
2002-5-15 | Biologics | III | b-1226-2 | Recovered Plasma Recall # B-1226-2. | The American National Red Cross Central Ohio Region columbus Oh | The American National Red Cross Central Ohio Region columbus Oh | February 12, 2002 | Blood product, that tested negative for viral markers, but was collected from a donor whose health history was inadequately determined, was distributed. | 1 unit | CA
2002-5-15 | Biologics | III | b-1227-2 | Red Blood Cells Leukocytes Reduced Recall # B-1227-2 | Central Kentucky Blood Center Inc. Lexington Ky | Central Kentucky Blood Center Inc. Lexington Ky | February 28, 2002 | Blood products, subjected to incorrect storage temperatures, were distributed. | 34 units | KY and NY
2002-5-15 | Biologics | III | b-1235-2 | Red Blood Cells Leukocytes Reduced Recall # B-1235-2 | The American National Red Cross Indiana-ohio Region Fort Wayne In | The American National Red Cross Indiana-ohio Region Fort Wayne In | February 19, 2002 | Blood products, that were leukoreduced using expired filters, were distributed. | 2 units | IN
2002-5-15 | Biologics | III | b-1237-2 | Recovered Plasma Recall # B-1237-2 | Michigan Community Blood Centers Grand Valley Blood Program Grand Rapids Mi | Michigan Community Blood Centers Grand Valley Blood Program Grand Rapids Mi | October 26, 2001 | Blood product, collected from a donor whose arm inspection was not documented, was distributed. | 1 unit | Switzerland
2002-5-15 | Biologics | III | b-1238-2 | Source Leukocytes Recall # B-1238-2 | Gulf Coast Regional Blood Center Houston Tx | Gulf Coast Regional Blood Center Houston Tx | October 24, 2002 | Blood product, that tested reactive for human immunodeficiency virus (hiv) p24 antigen, was distributed. | 1 unit | NJ
2002-5-15 | Biologics | III | b-1239-2 | Platelets Recall # B-1239-2 | Gulf Coast Regional Blood Center Houston Tx | Gulf Coast Regional Blood Center Houston Tx | September 28, 2001 | Blood product, prepared from a unit of whole blood whose collection time could not be determined, was distributed. | 1 unit | TX
2002-5-15 | Biologics | III | b-1272-2 | Red Blood Cells Recall # B-1272-2 | Gateway Blood Association Gateway Community Blood Program St. Louis Mo | Gateway Blood Association Gateway Community Blood Program St. Louis Mo | April 8, 2001 | Blood product, labeled with the incorrect expiration date, was distributed. | 5 units | MO
2002-5-15 | Biologics | III | b-1274-2 | Source Plasma Recall # B-1274-2 | Community Bio-Resources, Inc., Joplin, MO | Community Bio-Resources, Inc., Joplin, MO | 2000-06-21 | Source plasma, collected from an ineligible donor due to a case of active tuberculosis, was distributed. | 7 units | MI and Austria
2002-5-15 | Devices | II | z-0992-2 | Aerovent Ii Collapsible Holding Chamber (chc) - For Use In The Administration Of Metered Dose Inhaler Medications Into A Ventilator Breathing Circuit. Recall # Z-0992-2/z-0994-2. | Monaghan Medical Corp. Plattsburgh Ny | Monaghan Medical Corp. Plattsburgh Ny | March 20, 2002 | Collapsable holding chamber inadvertently opening. |  | Nationwide
2002-5-15 | Devices | II | z-0999-2 | Amira Atlast Brand Blood Glucose Test System Recall # Z-0999-2. | Roche Diagnostics Corp., Indianapolis, IN | Amira Medical, Scotts Valley, CA | 2001-12-17 | Alternate site results not reliable when patient blood glucose level is low. | 250 000 meters | Nationwide and Japan
2002-5-15 | Devices | II | z-1000-2 | Baxter Interlink Solution Sets And Baxter Interlink Secondary Medication Sets Which Contain The Bd Interlink Lever Lock Cannula; These Sterile Fluid Paths Are Used For The Administration Of Fluids From A Container To A Patient's Vascular System Through A Needle Or Catheter Inserted Into A Vein 48 Units Per Case. Recall # Z-1000-2/z-1007-2. | Baxter Healthcare Corp. Round Lake Il | Baxter Healthcare Corp. Cleveland Ms. | February 13, 2002 | Fluid leaks associated with bd lever lock cannulas. | 14 295 103 sets | Nationwide and Internationally
2002-5-15 | Devices | II | z-1010-2 | Somatom Esprit Esprit+ Balance Emotion Emotion Due Volume Zoom And Volume Access Recall # Z-1010-2. | Siemens Medical Systems Inc. Iselin Nj | Siemens Medical Solutions Erlangan Germany. | May 14, 2001 | Errors occurring while using graphics tools. | 400 | Nationwide
2002-5-15 | Devices | II | z-1011-2 | Steri-oss Replace Select Tiunite Implant Recall # Z-1011-2. | Nobel Biocare Usa Inc. Yorba Linda Ca | Nobel Biocare Usa Inc. Yorba Linda Ca | March 12, 2002 | Labeling mix-up. | 124 | Nationwide
2002-5-15 | Devices | II | z-1012-2 | Pressure Regulator Assembly (cat No. 85). Recall # Z-1012-2. This Is A Component Part Used In Infant And Child Models Of The Laerdal Silicone Resuscitator (lsr). It Is Also Distributed In Replacement Patient Valve Assemblies And As Individual Spare Parts. | Laerdal Medical Corp. Wappingers Falls Ny | Laerdal Medical Stavanger Norway. | March 29, 2002 | Molding irregularity in pressure regulator cap which could impede free movement of valve stem. | 2 250 approximately 25 of these are mold 4 | Nationwide and Canada
2002-5-15 | Devices | II | z-1014-2 | Hill-rom Brand Resident Low Bed Model 872 Recall # Z-1014-2. | Hill-rom Inc. Batesville In | Hill-rom Inc. Batesville In | April 26, 2002 | Pinched cables may cause arcing/shock hazard. | 3031 beds | Nationwide and Canada
2002-5-15 | Devices | II | z-1016-2 | A) Model No 105-5060 1.5 French Flowrider Micro Catheter. Recall # Z-1016-2; B) Model No. 105-5063 1.8 French Flowrider Micro Catheter. Recall # Z-1017-2; C) Model No. 105-5067 1.5 French Flowrider Plus Micro Catheter. Recall # Z-1018-2; D) Model No. 105-5068 1.8 French Flowrider Plus Micro Catheter. Recall # Z-1019-2. The Difference Between A Flowrider And Flowrider Plus Is The Presence Of A Silicone Lubricant In The Lumen Of The Flowrider Which Is Absent In The Plus. | Micro Therapeutics Inc. Irvine Ca | Micro Therapeutics Inc. Irvine Ca | April 2, 2002 | Catheter rupture. | 8505 | Nationwide and Internationally
2002-5-15 | Devices | II | z-1020-2 | Misys Laboratory Information System Versions 523 And 5.3. Recall # Z-1020-2. | Sunquest Information Systems Inc. Tucson Az | Sunquest Information Systems Inc. Tucson Az | April 1, 2002 | No qa checking performed on differential results. | 450 | Nationwide and Internationally
2002-5-15 | Devices | II | z-1022-2 | Hp Inkjet Printers Connected As An Accessory To A Beckman Coulter Recall # Z-1022-2. | Beckman Coulter Inc. Brea Ca | Longwell Electronics Inc. Brea Ca. | April 18, 2002 | Printer power cord may cause shock to lab personnel. | unknown | Nationwide and Internationally
2002-5-15 | Devices | II | z-1023-2 | Medtronic Intersept Custom Tubing Packs Recall # Z-1023-2/z-1029-2. The Packs Are Custom Assembled For Hospitals And Each Is Identified With A Product Number. The Product Numbers And Hospitals Or Distributors For Which The Packs Were Assembled Are Identified Below: Product Number 0v67r10. Recall # Z-1023-2; Made For: Mercy Hospital Des Moines Ia Product Number 1h22r2. Recall # Z-1024-2; Made For: Extracorporeal Alliance Port Huron Mi Product Number 1h23r5. Recall # Z-1025-2; Made For: Extracorporeal Alliance Pontiac Mi Product Number 1p82r3. Recall # Z-1026-2; Made For: Extracorporeal Alliance Dearborn Mi Product Number 2d68r2. Recall # Z-1027-2; Made For: Providence Medical Center Kansas City Ks Product Number 2d81r. Recall # Z-1028-2; Made For: Comprehensive Preferred Care Svr Buffalo Ny Product Number 5778r19. Recall # Z-1029-2. Made For: Health Midwest Kansas City Mo | Medtronic Perfusion Systems Minneapolis Mn | Medtronic Mexico S. Del R.l. De C.v. Tijuana Bb. | April 10, 2002 | The vent valves in the recalled tubing packs may leak blood during cardiopulmonary bypass surgery, or the parts of the valves may separate, due to inadequate glue application. | 856 tubing packs | IA KS MI MO and NY
2002-5-15 | Devices | II | z-1030-2 | Gambro Phoenix Hemodialysis System Recall # Z-1030-2. | Gambro Healthcare Lakewood Co | Gambro Dasco S.p.a. 41036 Medolla Italy. | April 9, 2000 | Incorrect measurement of dialysate conductivity due to electronic comp. failure. | 827 units | Nationwide
2002-5-15 | Devices | III | z-0997-2 | Bd Mst Accessory Kit. Recall # Z-0997-2. | Becton Dickinson Infusion Therapy Systems Inc. Sandy Ut | Becton Dickinson Infusion Therapy Systems Inc. Sandy Ut | September 20, 2001 | Kits labeled as containing 16 ga introducer actually contained 20 ga introducer. | 410 units | Nationwide
2002-5-15 | Devices | III | z-1008-2 | Cryovalve Allograft Recall # Z-1008-2 | Cryolife Inc. Kennesaw Ga | Cryolife Inc. Kennesaw Ga | March 6, 2002 | Donor did not meet current guidelines regarding behavioral/social history. | one valve | UT
2002-5-15 | Devices | III | z-1009-2 | Cryovalve Allograft Recall # Z-1009-2 | Cryolife Inc. Kennesaw Ga | Cryolife Inc. Kennesaw Ga | March 8, 2002 | Donor did not meet current guidelines regarding behavioral/social history. | one valve | WA
2002-5-15 | Devices | III | z-1013-2 | Vitros Immunodiagnostics Cea (carcinoembryonic Antigen) Calibrators Recall # Z-1013-2. | Ortho-clinical Diagnostics Inc. Rochester Ny | Ortho-clinical Diagnostics Inc. Cardiff. | March 15, 2002 | Calibration failures/shift in qc results. | 279 domestic 495 international | Nationwide and Internationally
2002-5-15 | Devices | III | z-1015-2 | Lap Band Sterile Lap-band Adjustable Banding System 975cm And 10.0cm Sizes. Pma# P000008 Dated 6/5/01. Recall # Z-1015-2. The Lap-band System Is An Inflatable Silicone Band That Is Laparoscopically Placed Around The Upper Part Of The Stomach To Restrict How Much Food Can Be Eaten At One Time. It Is Indicated For Use In Weight Reduction Of Severely Obese Patients. | Bioenterics Corp. Carpinteria Ca | Bioenterics Corp. Carpinteria Ca | March 29, 2002 | Does not conform to pma re: labeling. | 16 | NY OR CA and NV
2002-5-15 | Devices | III | z-1021-2 | 2-k Ac-2409-d Acid Concentrate And Bicarbonate Dialysate 55 Gallons Calcium 250 Meq/l Etc. Recall # Z-1021-2. | Gambro Healthcare Deland Fl | Di-chem Concentrates Inc. Lewisberry Pa. | May 26, 1999 | Calcium concentrate was higher than the specified range. | 119 55 gallon | NJ IL PA OH MD Wash DC MI and NY
2002-5-15 | Devices | III | z-1031-2 | Aeroset Cholesterol Reagent Recall # Z-1031-2. | Abbott Laboratories Inc. South Pasadena Ca | Abbott Laboratories Inc. South Pasadena Ca | April 17, 2002 | Stability may be compromised over time, product currently ok. | 715 | Nationwide and Internationally