## 2002-5-29
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2002-5-29 | Drugs | II | d-264-2 | Maxair Inhaler With Oral Adapter (pirbuterol Acetate) 0.2 Mg Per Actuation 25.6g Inhalation Aerosol 300 Metered Inhalations Rx Only. Recall # D-264-2. | 3m Pharmaceuticals Inc. St. Paul Mn | 3m Pharmaceuticals Inc. Northridge Ca. | May 3, 2002 | Defective container; inhaler may stick intermittantly and patients may not receive the expected puff of medication. | 737 975 inhalers | Nationwide
2002-5-29 | Drugs | II | d-268-2 | Adriamycin Pfs (doxorubicin Hydrochloride) Injection Usp 150mg/75ml (2mg/ml) 75 Ml Multidose Cytosafe Vial Rx Only Recall # D-268-2; Adriamycin Pfs (doxorubicin Hydrochloride) Injection Usp 20mg/10ml (2mg/ml) 10 Ml Single Dose Cytosafe Vial Recall # D-269-2; Adriamycin Pfs (doxorubicin Hydrochloride) Injection Usp 200mg/100ml (2mg/ml) 100 Ml Multidose Cytosafe Vial Rx Only. Recall # D-270-2; Ellence (epirubicin Hydrochloride) Injection 200mg/100ml (2mg/ml) Single Use 100 Ml Vial Rx Only; Recall # D-271-2; Ellence (epirubicin Hydrochloride) Injection 50mg/25ml (2mg/ml) Single Use 25 Ml Vial Rx Only. Recall # D-272-2; Idamycin Pfs (idarubicin Hydrochloride) Injection 10mg/10ml (1mg/ml) 10 Ml Single Dose Cytosafe Vial Rx Only. Recall # D-273-2; Idamycin Pfs (idarubicin Hydrochloride) Injection 20mg/20ml (1mg/ml) 20 Ml Single Dose Cytosafe Vial Rx Only. Recall # D-274-2; Idamycin Pfs (idarubicin Hydrochloride) Injection 5mg/5ml (1mg/ml) 5 Ml Single Dose Cytosafe Vial Rx Only. Recall # D-275-2. | Pharmacia Corp. Kalamazoo Mi | Pharmacia (perth) Pty Limited Bentley Wa 6102 Austrailia. | May 10, 2002 | Lack of assurance of sterility. | 57 580 units | United States and Puerto Rico
2002-5-29 | Drugs | III | d-265-2 | Claforan Sterile (cefotaxime) For Injection Usp (formerly Sterile Cefotaxime Sodium) 500 Mg Im/iv Vial Rx Only. Recall # D-265-2.; Claforan Sterile (cefotaxime) For Injection Usp (formerly Sterile Cefotaxime Sodium) 1 Gram Im/iv Vial Rx Only. Recall # D-266-2; Claforan Sterile (cefotaxime) For Injection Usp (formerly Sterile Cefotaxime Sodium) 2 Grams Im/iv Vial Rx Only. Recall # D-267-2. | Aventis Pharmaceuticals Inc. Kansas City Mo | Patheon Uk Limited Swindon Wiltshire Sn35bz England. | February 22, 2002 | Labeling; product label declares inactive ingredients that are not contained in the product (dextrose hydrous, usp, sodium citrate hydrous, usp and hydrochloric acid) | 500 mg 418 200 vials 1 gram 1 635 450 vials 2 gm 647 574 vials | Nationwide
2002-5-29 | Drugs | III | d-279-2 | Q-bid Dm Sustained Release Tablet (guaifenesin 600mg/ Dextromethorphan 30mg) 100 Tablet Bottles Rx Only Recall # D-279-2. | Vintage Pharmaceuticals Inc. Huntsville Al | Vintage Pharmaceuticals Inc. Huntsville Al | February 21, 2002 | Tablet mix-up; q-bid la tablet containing the active ingredient guaifenesin was found in a bottle of q-bid dm. | 14 150 bottles of 100 tablets | Nationwide
2002-5-29 | Drugs | III | d-280-2 | Ortho Micronor Oral Contraceptive Tablets (norethindrone) 035 Mg 28 Tablets In A Ring-shaped Blister Pack Rx Only. Recall # D-280-2. | Ortho-mcneil Pharmaceutical Inc. Raritan Nj | Ortho-mcneil Pharmaceutical Inc. Manati Puerto Rico. | April 3, 2002 | Mislabeling; labeling incorrectly informs user that missing any pills 22- 28 will still leave them protected. | trade 339 336 blisters veridate 40 320 blisters samples 124 704 | Nationwide
2002-5-29 | Drugs | III | d-276-2 | A) Ziox Ointment (papain-urea-chlorophyllin Copper Complex Sodium) 30 Gram Tube Rx Only Recall # D-276-2; B) Kovia Ointment (papain-urea) 30 Gram Tube Rx Only. Recall # D-277-2; C) Nuquin Hp 4% Gel (hydroquinone Usp 4%) 1/2 Oz And 1 Oz Tubes Rx Only. Recall # D-278-2. | Sonar Products Inc. Carlstadt Nj | Sonar Products Inc. Carlstadt Nj | March 6, 2002 | Subpotent: ziox and kovia ointment for papain and nuquin 4% for padimate- o and dioxybenzone. | a 9 648 x 30 g tubes b 51 201 x 30 g tubes c 4 731 x 30 g tubes 2 537 x 15 g tubes | FL
2002-5-29 | Biologics | II | b-1292-2 | Red Blood Cells Leukocytes Reduced Recall # B-1292-2. | South Bend Medical Foundation Inc. Central Blood Bank South Bend In | South Bend Medical Foundation Inc. Central Blood Bank South Bend In | November 30, 2001 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | IN
2002-5-29 | Biologics | II | b-1297-2 | Platelet Pheresis Recall # B-1297-2 | Mississippi Valley Regional Blood Center Davenport Ia | Mississippi Valley Regional Blood Center Davenport Ia | July 16, 2001 | Blood product, which had a low platelet count, was distributed. | 1 unit | IL
2002-5-29 | Biologics | II | b-1301-2 | Red Blood Cells Recall # B-1301-2 | Michigan Community Blood Centers Grand Valley Blood Program Grand Rapids Mi | michigan Community Blood Centers Saginaw Mi. | February 18, 2002 | Blood products, collected from a donor whose hemoglobin was unacceptable, were distributed. | 48 units | MI
2002-5-29 | Biologics | II | b-1302-2 | Platelets Pheresis Leukocytes Reduced Irradiated Recall # B-1302-2 | The American National Red Cross New York-penn Region West Henrietta Ny | the American National Red Cross New York-penn Region Syracuse Ny. | August 15, 2001 | Blood products, collected from an unsuitable donor based on travel to an area considered endemic for malaria, were distributed. | 2 units | NY
2002-5-29 | Biologics | II | b-1303-2 | Red Blood Cells Leukocytes Reduced Recall # B-1303-2 | Blood Systems Inc. Mcallen Tx | Blood Systems Inc. Mcallen Tx | November 8, 2001 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | TX
2002-5-29 | Biologics | II | b-1304-2 | Red Blood Cells Recall # B-1304-2 | Lifesource Blood Services Glenview Il | Lifesource Blood Services Glenview Il | January 23, 2002 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | IL
2002-5-29 | Biologics | II | b-1305-2 | Red Blood Cells Leukocytes Reduced Recall # B-1305-2 | Mississippi Valley Regional Blood Center Davenport Ia | Mississippi Valley Regional Blood Center Davenport Ia | January 18, 2002 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | IA
2002-5-29 | Biologics | II | b-1306-2 | Red Blood Cells Recall # B-1306-2 | Mississippi Valley Regional Blood Center Davenport Ia | Mississippi Valley Regional Blood Center Davenport Ia | August 29, 2000 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | TN
2002-5-29 | Biologics | II | b-1307-2 | Red Blood Cells Recall # B-1307-2 | Mississippi Valley Regional Blood Center Davenport Ia | Mississippi Valley Regional Blood Center Davenport Ia | March 12, 2001 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | IL
2002-5-29 | Biologics | II | b-1308-2 | A) Red Blood Cells Recall # B-1308-2; B) Platelets Recall # B-1309-2; C) Fresh Frozen Plasma Recall # B-1310-2 | Lifesource Blood Services Glenview Il | Lifesource Blood Services Glenview Il | January 27, 2002 | Blood products, collected from a donor who should have been deferred due to use of the medication arthrotec, were distributed. | 3 units | IL
2002-5-29 | Biologics | II | b-1311-2 | Source Plasma Recall # B-1311-2 | Alpha Therapeutic Corp. Long Beach Ca | Alpha Therapeutic Corp. Long Beach Ca | July 5, 2001 | Blood product, that tested negative for viral markers, but was collected from a donor that previously tested reactive for a viral marker, was distributed. | 1 unit | Spain
2002-5-29 | Biologics | II | b-1313-2 | Platelets Pheresis Leukocytes Reduced Recall # B-1313-2 | Blood Systems Inc. Lubbock Tx | Blood Systems Inc. Lubbock Tx | January 11, 2002 | Platelets with a decreased platelet count were distributed. | 26 units | TX
2002-5-29 | Biologics | II | b-1316-2 | Platelet Pheresis Leukoreduced Recall # B-1316-2 | Mississippi Valley Regional Blood Center Davenport Ia | Mississippi Valley Regional Blood Center Davenport Ia | January 18, 2002 | Blood product, labeled as leukoreduced but did not have white blood cell count determination, was distributed. | 1 unit | MO
2002-5-29 | Biologics | II | b-1317-2 | Platelet Pheresis Leukoreduced Recall # B-1317-2 | Blood Systems Inc. Mcallen Tx | Blood Systems Inc. Mcallen Tx | November 3, 2001 | Blood product, incorrectly labeled as leukoreduced, was distributed. | 1 unit | MO
2002-5-29 | Biologics | III | b-1312-2 | Red Blood Cells Recall # B-1312-2. | Michigan Community Blood Centers Grand Valley Blood Program Grand Rapids Mi | michigan Community Blood Centers Traverse City Mi. | February 18, 2002 | Blood product, collected from a donor whose arm inspection was not documented, was distributed. | 1 unit | MI
2002-5-29 | Biologics | III | b-1314-2 | Red Blood Cells Leukocytes Reduced Recall # B-1314-2 | Blood Systems Inc. Mcallen Tx | Blood Systems Inc. Mcallen Tx | September 17, 2001 | Blood product, labeled with the incorrect expiration date, was distributed. | 1 unit | TX
2002-5-29 | Biologics | III | b-1315-2 | Red Blood Cells Leukocytes Reduced Recall # B-1315-2 | Blood Systems Inc. El Paso Tx | Blood Systems Inc. El Paso Tx | May 25, 2000 | Unlicensed blood products were distributed interstate. | 10 units | NM
2002-5-29 | Devices | II | z-1035-2 | Ebi Xfix Dfs Optirom Elbow Fixator. Recall # Z-1035-2. The Product Is Sold Non-sterile And Is Packaged Either In An Inner Foam Liner Aluminum Metal Casing Or In Plastic Bag. | Ebi L.p. Parsippany Nj | Ebi L.p. Parsippany Nj | March 6, 2002 | Pin migration at the connection of optirom central body and fixator. | 339 | Nationwide and Internationally
2002-5-29 | Devices | II | z-1038-2 | Seprapack-unilateral Application Sterile (bioresorbable Nasal Packing And Sinus Stent). Recall # Z-1038-2. | Genzyme Biosurgery A Division Of Genzyme Corp. Fall River Ma | Genzyme Biosurgery A Division Of Genzyme Corp. Fall River Ma | April 3, 2002 | Product packaging may have voids in the seal compromising sterility of device. | 348 units | TN
2002-5-29 | Devices | II | z-1039-2 | Bayer Immuno 1(r) Troponin I Method Recall # Z-1039-2. Common Name: Immuno 1(r) Troponin I Method. | Bayer Corp. Business Group Diagnostics Tarrytown Ny | Fisher Diagnostics Middletown Va. | 4/24/02 | Complaints received of low recoveries on immuno 1 troponin i reagent lot v60275. | 6488 units | Nationwide and Puerto Rico
2002-5-29 | Devices | II | z-1040-2 | Puritan Bennett-840 Ventilator System With Optional Compressor Recall # Z-1040-2. | Tyco Healthcare Nellcor Puritan Pennett Pelasanton Ca | Nellcor Puritan Bennett Ireland Ltd. Mervue Galway Ireland. | October 22, 2001 | Failure of optional compressor on ventilator. | 2 599 ventilators systems and 299 field replacement units with rev e bd cpu boards | Nationwide and Internationally
2002-5-29 | Devices | II | z-1041-2 | A) Lightcycler Microchemistry Analyzer Catalog Number 2011468 Printers Recall # Z-1041-2; B) Lightcycler Microchemistry Analyzer Catalog Number 2043912 Printers. Recall # Z-1042-2; C) Lumi Imager Microchemistry Analyzer Catalog Number 2012847 Printers. Recall # Z-1043-2. | Roche Diagnostics Corp. Indianapolis In | Hewlett Packard Company Loveland Co. | May 7, 2002 | Printer power cord poses a shock hazard. | 220 | Nationwide
2002-5-29 | Devices | II | z-1044-2 | Linvatec Brand Double-armed Straight Trocar Point 13� (33cm) Suture Needle Polyester Green Braided 36� (914cm) 2-0 U.s.p 3.0. Metric. Recall # Z-1044-2. | Regen Biologics Inc. Redwood City Ca | Regen Biologics Inc. Redwood City Ca | April 16, 2002 | Sterility may be compromised. | 10 760 units | Nationwide
2002-5-29 | Devices | II | z-1045-2 | Synapse Image And Information Management System Recall # Z-1045-2. | Fujifilm Medical Systems U.s.a. Inc. Stamford Ct | Fujifilm Medical Systems U.s.a. Inc. Stamford Ct | April 11, 2002 | Rotated/flipped images not viewed on the screen may not rotate but left / right markers will be flipped. | 70 | Nationwide
2002-5-29 | Devices | II | z-1046-2 | Liebel-flarsheim Angiomat Illumena Media Power Injectors P/n 900001 Using Version 80 Software With New Console. Recall # Z-1046-2. | Mallinckrodt Inc. / Liebel-flarsheim Business Cincinnati Oh | Liebel-flarsheim Co. Cincinnati Oh. | April 22, 2002 | Pushing the scoll button repeatedly / rapidly results in erroneous protocol id. | 62 | Nationwide and Canada Taiwan China SO Africa and Australia
2002-5-29 | Devices | II | z-1055-2 | Stryker Secure Ii Hospital Beds With An Optional 110v Outlet Box Assembly Recall # Z-1055-2. | Stryker Corp. Kalamazoo Mi | Stryker Corp. Kalamazoo Mi | April 26, 2002 | Shock hazard. | 1 4460 beds | United States and Canada
2002-5-29 | Devices | II | z-1053-2 | Duoflo Applicator Dispenser Kit With Tisseal Vh Fibrin Sealant Recall # Z-1053-2. | Baxter Healthcare Corporation Glendale Ca | Hemaedics Inc. Brentwood Ca. | March 18, 2002 | Tip breakage into surgical site. |  | Recalling Firm Manufacturer Recalling Firm Baxter Healthcare Corporation Glendale CA BY Notice ON March 18 2002 Manufacturer Hemaedics inc Brentwood CA Firm Initiated Recall IS Ongoing Reason tip Breakage Into Surgical Site Volume OF
2002-5-29 | Devices | III | z-1036-2 | A) 3t Vent Valves For Perfusion Circuits; Sterile. Recall # Z-1036-2; B) 3t Vent Valves For Perfusion Circuits; Non-sterile. Recall # Z-1037-2. | 3t Medical Systems Llc Dearborn Mi | Mpc/geneva Medical Products Prairie Du Chien Wi. | April 3, 2002 | Inadequate bond allows blood leakage or separation during use. | 7 200 | Nationwide
2002-5-29 | Devices | III | z-1051-2 | Eb-250s And Eb-450s Bronchoscope Recall # Z-1051-2/z-1052-2. | Fujinon Inc. Wayne Nj | Fuji Photo Optical Co. Ltd. Omiya Saitama 300-0036 Japan. | January 31, 2002 | During brochoscopy, suction valve stuck in active position. | 32 | Nationwide and Canada
2002-5-29 | Devices | III | z-1054-2 | Padgett Instruments Inc Roller Cylinder For The Mesh Skin Graft Expander Model P-170 For Use In Producing A Honeycomb Pattern On The Graft So It Will Expand. Recall # Z-1054-2. | Padgett Instruments Inc. Kansas City Mo | Dadson Mfg. Corp. Grain Valley Mo. | March 21, 2002 | The roller assembly might be defective. | 39 p 170 units as of 4 24 02 | FL WV NY and TX and Brazil Portugal Chile Finland England Spain and Ireland