## 2002-9-18
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2002-9-18 | Drugs | II | d-411-2 | Liquid Oxygen Usp Medical Cryogenic Home Units (models Bp-21 And Bp-41). Recall # D-411-2. | Health Care Solutions Inc. Weirton Wv | Health Care Solutions Inc. Weirton Wv | August 15, 2002 | Good manufacturing practice (gmp) deviations including, but not limited to, failure to test for purity and identity. | 5 tanks | WV
2002-9-18 | Drugs | III | d-401-2 | Desyrel Tablets (trazodone Hcl) 100 Mg 100 Count Bottles Rx Only. Recall # D-401-2. | Amerisource Health Services Corp. Columbus Oh | Mead Johnson & Co. Evansville In. | August 20, 2002 | Lack of content uniformity-subpotent tablets (stability 18 month) by manufacturer-mead johnson pharmaceuticals, a bristol-myers squibb co. | 1 857 bottles | Nationwide
2002-9-18 | Drugs | III | d-402-2 | Softsoap Antibacterial Liquid Hand Soap (with Hand Pump) Rainforest Series (triclosan) 75 Fl Oz (221 Ml) Bottles. Recall # D-402-2. | Colgate-palmolive Co. Piscataway Nj | Colgate-palmolive Co. Piscataway Nj | July 2, 2002 | Cross contamination with another soap product (contains undeclared ingredients: aloe vera, fragrance, glycerin, hydrolyzed silk). | 19 293 cases | Nationwide
2002-9-18 | Drugs | III | d-408-2 | Betamethasone Dipropionate Ointment Usp (augmented) 005% 0.64 Mg 15g (0.53 Oz) And 45g (1.59 Oz) Tubes Rx Only. Recall # D-408-2. | Alpharma Uspd Inc. Lincolnton Nc | Alpharma Uspd Inc. Lincolnton Nc | January 31, 2002 | Subpotent. | a 8574 units b 5802 units | Nationwide
2002-9-18 | Biologics | I | b-1832-2 | Corneas Human Tissue For Transplantation Recall # B-1832-2. | Lions Eye Bank Of Oregon Portland Or | Lions Eye Bank Of Oregon Portland OR | June 28, 2002 | Tissue for transplantation was processed from a donor who was found to test positive for hepatitis c virus (hcv) subsequent to distribution. | 2 tissues | Italy
2002-9-18 | Biologics | II | b-0240-2 | Red Blood Cells Recall # B-0240-2. | San Diego Blood Bank San Diego Ca | North Coastal Donor Center Vista Ca. | February 21, 2002 | Blood products, which failed quality control testing for red blood cell volume, were distributed. | 2 units | CA
2002-9-18 | Biologics | II | b-1642-2 | Source Plasma Recall # B-1642-2 | Aventis Bio-services Inc. Kansas City Mo | Aventis Bio-services Inc. Kansas City Mo | November 20, 2001 | Blood products, collected from a donor with a history of using hard drugs, were distributed. | 54 units | IL
2002-9-18 | Biologics | II | b-1843-2 | A) Platelets Pheresis Recall # B-1843-2 B) Platelets Pheresis Irradiated Recall # B-1844-2. | Central Indiana Regional Blood Center Inc. Indianapolis In | Central Indiana Regional Blood Center Inc. Indianapolis In | July 2, 2002 | Platelets, collected from a donor who ingested an aspirin containing product within the past 36 hours, were distributed. | 34 units | IN
2002-9-18 | Biologics | II | b-1845-2 | Platelets Recall # B-1845-2 | Hcsc Blood Center T/a Miller Memorial Blood Center Bethlehem Pa | Hcsc Blood Center T/a Miller Memorial Blood Center Bethlehem Pa | November 14, 2001 | Platelets, collected from a donor who ingested an aspirin containing product, were distributed. | 1 unit | PA
2002-9-18 | Biologics | II | b-1846-2 | Red Blood Cells Recall # B-1846-2 | Nbah Blood Center New Brunswick Nj | Nbah Blood Center New Brunswick Nj | July 24, 2001 | Blood products, that failed quality control testing for red cell volume, were distributed. | 2 units | NJ
2002-9-18 | Biologics | II | b-1847-2 | A) Red Blood Cells Recall # B-1847-2; B) Platelets Recall # B-1848-2; C) Fresh Frozen Plasma Recall # B-1849-2 | Hcsc Blood Center t/a Miller Memorial Blood Center bethlehem Pa | Hcsc Blood Center t/a Miller Memorial Blood Center bethlehem Pa | August 29, 2000 | Blood products, collected from a donor who was taking prednisone and ceftin, were distributed. | 8 units | PA and GA
2002-9-18 | Biologics | II | b-1851-2 | A) Red Blood Cells Recall # B-1851-2 B) Platelets Recall # B-1852-2. | Hcsc Blood Center T/a Miller Memorial Blood Center Bethlehem Pa | Hcsc Blood Center T/a Miller Memorial Blood Center Bethlehem Pa | March 1, 2001 | Blood products, manufactured in a manner that compromised their sterility, were distributed. | 46 units | PA and NJ
2002-9-18 | Biologics | II | b-1860-2 | A) Red Blood Cells Leukocytes Reduced Recall # B-1860-2; B) Recovered Plasma Recall # B-1861-2 | Blood Systems Inc. Scottsdale Az | blood Systems Inc. Cheyenne Wy. | June 7, 2002 | Blood products, that tested negative for hepatitis, but were collected from an ineligible donor due to a reported history of hepatitis, were distributed. | 2 units | WY and Switzerland
2002-9-18 | Biologics | II | b-1895-2 | A) Red Blood Cells Recall # B-1895-2; B) Platelets Pooled Leukocytes Reduced Recall # B-1896-2; C) Fresh Frozen Plasma Recall # B-1897-2 | Hoxworth Blood Center University Of Cincinnati Medical Center Cincinnati Oh | Hoxworth Blood Center University Of Cincinnati Medical Center Cincinnati Oh | March 12, 2002 | Blood products, collected from an unsuitable donor due to a history of jaundice, were distributed. | 2 units 1 pool | OH and KY
2002-9-18 | Biologics | II | b-1910-2 | Red Blood Cells Recall # B-1910-2 | Blood Systems Inc. Scottsdale Az | blood Systems Inc. Tupelo Ms. | February 15, 2000 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | MS
2002-9-18 | Biologics | II | b-1917-2 | A) Red Blood Cells Recall # B-1917-2 B) Recovered Plasma Recall # B-1918-2. | San Diego Blood Bank San Diego Ca | San Diego Blood Bank San Diego Ca | January 22, 2002 | Blood products, collected from a donor with a history of hepatitis, were distributed. | 2 units | CA
2002-9-18 | Biologics | II | b-1923-2 | Saphenous Vein Allografts Tissues Recall # B-1923-2 | Cryolife Inc. Kennesaw Ga | Cryolife Inc. Kennesaw Ga | August 8, 2002 | Tissues for transplant were collected from a donor who had not been properly evaluated. | 3 tissues | MI MN and NJ
2002-9-18 | Biologics | II | b-1926-2 | Red Blood Cells Leukocytes Reduced Recall # B-1926-2 | American Red Cross Blood Services Heart Of America Region Peoria Il | American Red Cross Blood Services Heart Of America Region Peoria Il | June 11, 2002 | Blood products, incorrectly labeled as being crossmatch compatible, were distributed. | 2 units | IL
2002-9-18 | Biologics | II | b-1929-2 | Red Blood Cells Recall # B-1929-2 | Blood Systems Inc. Scottsdale Az | blood Systems Inc. Lafayette La. | May 16, 2000 | Blood product, manufactured from a unit of whole blood that was stored at an improper temperature, was distributed. | 1 unit | LA
2002-9-18 | Biologics | II | b-1930-2 | Platelets Pheresis Leukocytes Reduced Recall # B-1930-2 | Blood Systems Inc. Scottsdale Az | blood Systems Inc. Lafayette La. | March 1, 2001 | Blood product, collected from an ineligible donor due to use of an unknown medication, was distributed. | 1 unit | LA
2002-9-18 | Biologics | II | b-1931-2 | Platelets Pheresis Leukocytes Reduced Recall # B-1931-2 | Blood Systems Inc. Scottsdale Az | blood Systems Inc. Lafayette La. | March 10, 2001 | Blood product, collected from an ineligible donor due to medication with an antibiotic, was distributed. | 1 unit | LA
2002-9-18 | Biologics | II | b-1932-2 | Source Plasma Recall # B-1932-2 | Aventis Bio-services Inc. King Of Prussia Pa | aventis Bio-services Inc. Charlotte Nc. | April 19, 2002 | Blood products, that tested negative for viral markers, but were collected from an ineligible donor due to illegal drug use, were distributed. | 27 units | IL
2002-9-18 | Biologics | III | b-0359-2 | Red Blood Cells Leukocytes Reduced Irradiated Recall # B-0359-2. | Aurora Area Blood Bank Heartland Blood Centers Aurora Il | Aurora Area Blood Bank Heartland Blood Centers Aurora Il | July 8, 2002 | Blood products that were out of controlled storage for more than 30 minutes were distributed. | 2 units | IL
2002-9-18 | Biologics | III | b-1838-2 | A) Red Blood Cells Recall # B-1838-2 B) Platelets Recall # B-1839-2. | Hcsc Blood Center T/a Miller Memorial Blood Center Bethlehem Pa | Hcsc Blood Center T/a Miller Memorial Blood Center Bethlehem Pa | January 25, 2001 | Blood products, collected from a donor who failed to answer the question regarding having had any shots or vaccinations in the past 6 weeks, were distributed. | 2 units | NJ and PA
2002-9-18 | Biologics | III | b-1850-2 | Source Plasma Recall # B-1850-2 | Biolife Plasma Services L.p. Sera-tec Biologicals L.p. Charlotte Nc | Biolife Plasma Services L.p. Sera-tec Biologicals L.p. Charlotte Nc | January 22, 2002 | Blood products, collected from an ineligible donor based on previous elevated testing for alanine aminotransferase (alt), were distributed. | 2 units | NC
2002-9-18 | Biologics | III | b-1853-2 | Source Plasma Recall # B-1853-2 | Biolife Plasma Services L.p. Sera-tec Biologicals L.p. Charlotte Nc | Biolife Plasma Services L.p. Sera-tec Biologicals L.p. Charlotte Nc | February 11, 2002 | Blood product, that tested negative for the antibody to hepatitis c virus (anti-hcv), was collected from a donor that subsequently tested repeatedly reactive to anti-hcv, was not properly quarantined, and was distributed. | 1 unit | NC
2002-9-18 | Biologics | III | b-1854-2 | Red Blood Cells Leukocytes Reduced Irradiated Recall # B-1854-2 | Aurora Area Blood Bank Heartland Blood Centers aurora Il | Aurora Area Blood Bank Heartland Blood Centers aurora Il | July 8, 2002 | Blood products that were out of controlled storage for more than 30 minutes were distributed. | 2 units | IL
2002-9-18 | Biologics | III | b-1901-2 | A) Red Blood Cells Recall # B-1901-2; B) Platelets For Further Manufacture Recall # B-1902-2 C) Recovered Plasma Recall # B-1903-2. | Walter L. Shepeard Community Blood Center Augusta Ga | Walter L. Shepeard Community Blood Center Augusta Ga | August 30, 2002 | Blood products, which were collected from a donor who had received a bone transplant, were distributed. | 3 units | GA and Switzerland
2002-9-18 | Biologics | III | b-1911-2 | Red Blood Cells Recall # B-1911-2 | Blood Systems Inc. Scottsdale Az | blood Systems Inc. Lafayette La. | June 14, 2001 | Blood product, collected from an ineligible donor due to medication with an antibiotic, was distributed. | 1 unit | LA
2002-9-18 | Biologics | III | b-1912-2 | Red Blood Cells Leukocytes Reduced Recall # B-1912-2 | Blood Systems Inc. Scottsdale Az | blood Systems Inc. Lafayette La. | June 6, 2001 | Blood product, collected on an apheresis machine where there was no documentation of evaluation of the filter assemblies as required, was distributed. | 2 units | LA
2002-9-18 | Biologics | III | b-1928-2 | Red Blood Cells Recall # B-1928-2 | Blood Systems Inc. Scottsdale Az | blood Systems Inc. Lafayette La. | June 8, 2001 | Blood product, that tested out of specification for hematocrit, was distributed. | 1 unit | LA
2002-9-18 | Biologics | III | b-1933-2 | Reagent Red Blood Cells Of The Following Types: Recall # B-1933-2 A) Panocell-10; B) Panocell-10 Ficin Treated; C) Panoscreen; D) Panoscreen Ficin Treated. | Immucor Inc. Norcross Ga | Immucor Inc. Norcross Ga | October 30, 2000 | Reagent red blood cells were distributed that may have been contaminated with microorganisms. | 6 lots | Nationwide and Internationally
2002-9-18 | Devices | II | z-1242-2 | Sscor Suction Unit Model 2314. Recall # Z-1242-2; Sscor Suction Unit Model 2314b. Recall # Z-1243-2; Sscor Suction Unit Model 2315. Recall # Z-1244-2. | Sscor Sun Valley Ca | Sscor Sun Valley Ca | June 25, 2002 | Overheats and fails to suck. | 4105 | Nationwide and Saudi Arabia
2002-9-18 | Devices | II | z-1280-2 | Vanish Point Blood Collection Tube Holder Packaged 10 Units Per Sleeve 25 Sleeves Per Case. Recall # Z-1280-2. | Retractable Technologies Inc. Little Elm Tx | Retractable Technologies Inc. Little Elm Tx | May 1, 2002 | Unexpected premature retraction is possible. | 951 750 units | Nationwide and Canada and Africa
2002-9-18 | Devices | II | z-1281-2 | Misys Laboratory. Recall # Z-1281-2. | Misys Healthcare Systems Inc. Tuscon Az | Misys Healthcare Systems Inc. Tuscon Az | April 23, 2002 | Software anomaly regarding cell counts. | 469 | Nationwide and Internationally
2002-9-18 | Devices | II | z-1282-2 | Lifepak 12 Defibrillator/monitor. The Particular Part Is The Therapy Connector - This Connector Allows Hard Paddles Disposable Electrode Cables Or Internal-paddle Cables To Be Easily Connected Or Disconnected To The Device. Recall # Z-1282-2. | Medtronic Physio-control Corp. Redmond Wa | Medtronic Physio-control Corp. Redmond Wa | July 11, 2002 | Potential for interrupted pacing or defibrillator functions. | 5494 | Nationwide
2002-9-18 | Devices | II | z-1284-2 | Model 8870 Software Application Card For The Model 8840 N’vision Handheld Clinician Programmer Recall # Z-1284-2. | Medtronic Inc. Neurological Division Minneapolis Mn | Medtronic Inc. Neurological Division Minneapolis Mn | June 10, 2002 | An incorrect drug administration rate can be programmed into synchromed or synchromed el implantable infusion pumps due to defective software. | 34 model 8870 application cards | Europe and the Middle East
2002-9-18 | Devices | II | z-1285-2 | Mysis Commercial Laboratory Recall # Z-1285-2. | Mysis Healthcare Systems Inc. Plano Tx | Mysis Healthcare Systems Inc. Plano Tx | May 28, 2002 | Software anomaly: a result for an accesion number came across the interface as negative but should have been do not result (dnr). | 44 | Nationwide
2002-9-18 | Devices | II | z-1288-2 | Hp Deskjet 970cxi Printer Connected As An Accessory To The Elan Atac 8000 Random Chemistry Analyzer Recall # Z-1288-2. | Elan Diagnostic Smithfield Ri | Elan Diagnostic Smithfield Ri | June 20, 2002 | Printer power cord may crack and cause electric shock. | 29 | Nationwide
2002-9-18 | Devices | II | z-1291-2 | Vacutainer Brand Luer Adapters (catalog #367290) Recall # Z-1291-2. | Becton Dickinson & Co. Franklin Lakes Nj | Becton Dickinson & Co. Sumter Sc. | April 23, 2002 | Needle separated from the hub. | 3 690 000 units estimated in commerce | Nationwide
2002-9-18 | Devices | II | z-1292-2 | Power Supply Cord Sold With And Used With Spacelabs Medical Models 90342 90344 90346 90348 And 90479 Telemetry Systems/receiver Housings Recall # Z-1292-2/z-1301-2. | Spacelabs Medical Inc. Redmond Wa | Winegard Company Burlington Ia. | June 28, 2002 | Power supply cord not ul or csa approved. | 759 power supplies | Nationwide
2002-9-18 | Devices | II | z-1318-2 | Misys Commercial Laboratory Recall # Z-1318-2. | Mysis Healthcare Systems Inc. Plano Tx | Mysis Healthcare Systems Inc. Plano Tx | May 15, 2002 | Software anomaly. if the deformatter begins to process data prior to all patient result records or orders being extracted from the flat files, the remaining results or orders will not be extracted. this can result in data being processed out of sequence into the mysis commercial laboratory system. | 7 | TX FL NY MN NC and PA
2002-9-18 | Devices | II | z-1319-2 | A) Medisense Exactech Blood Glucose Test Strips (50 Count) Ndc 57599-7103-2 Recall # Z-1319-2; B) Medisense Exactech Blood Glucose Test Strips(100 Count) Ndc 57599-7174-2. Recall # Z-1320-2; C) Medisense Exactech Rsg Blood Glucose Test Strips(50 Count) Ndc 57599-7542-4. Recall # Z-1321-2. | Abbott Laboratories Inc. Medisense Products Bedford Ma | Medisense Uk Limited Abingdon Oxon. | August 5, 2002 | Blood glucose test strip may give false high readings. | 6 241 boxes 50 test strips box | Nationwide
2002-9-18 | Devices | II | z-1326-2 | Optetrak 1/2 Tibial Augmentation Block Implants (classification Name: Knee Joint Patellofemoral Polymer/metal/polymer Semi-constrained) Recall # Z-1326-2. Product Is Intended To Be Implanted During Total Knee Joint Replacement Surgery Where Augmentation Of The Standard Implant Components Is Required. | Exactech Inc. Gainesville Fl | Exactech Inc. Gainesville Fl | May 21, 2001 | Compromise of sterility barrier packaging. | 1828 | Nationwide
2002-9-18 | Devices | III | z-1283-2 | Hill-rom Brand Affinity Three Birthing Bed. Recall # Z-1283-2. | Hill-rom Inc. Batesville In | Hill-rom Inc. Batesville In | June 11, 2002 | Calf support mounting screws may loosen and back out, allowing the calf support to become unstable/fall off. | 4 473 beds | Nationwide and Internationally
2002-9-18 | Devices | III | z-1287-2 | Stryker Howmedica Osteonics V40tm Femoral Head 26mm Diameter (5o40’ Taper) Recall # Z-1287-2/z-1288-2. | Howmedica Osteonics Corp. Rutherford Nj | Howmedica Osteonics Corp. Rutherford Nj | May 15, 2002 | Product mix up. skirted heads in non-skirted packaging. | 125 | NJ
2002-9-18 | Devices | III | z-1289-2 | A) Stryker Howmedica Osteonics Unitrax® C-taper Neck Adjustment Sleeve (adapter For Unipolar Head) Recall # Z-1289-2. B) Stryker Howmedica Osteonics Unitrax® V40tm Std. Sleeve 5o 40’ Modular Adapter (neck Adjustment Sleeve. Recall # Z-1290-2. | Howmedica Osteonics Corp. Rutherford Nj | Howmedica Osteonics Corp. Rutherford Nj | April 1, 2002 | Product package mixup. incorrect taper. | 38 | NJ and Canada
2002-9-18 | Devices | III | z-1302-2/z-1311-2 | Flexima Ureteral Stent System Kit As Follows: See | Boston Scientific Corp./medi-tech Watertown Ma | Medi-tech A Division Of Boston Scientific Corp. Spencer In. | June 5, 2001 | Outer carton multi language label incorrectly identifies the device as biliary instead of ureteral stent. | 946 | the Netherlands
2002-9-18 | Devices | III | z-1312-2 | A) Cryosurgery System-welch Allyn Recall # Z-1312-2; B) Lm-900 Leisegang Cryosurgery System. Recall # Z-1313-2. | Coopersurgical Inc. Trumbull Ct | Coopersurgical Inc. Trumbull Ct | August 1, 2002 | Tip may separate from cryogun when pressure is released during operation. | 767 | Nationwide and Canada Guatamala Costa Rica Mexico Manila and Istanbul
2002-9-18 | Devices | III | z-1314-2 | A) Microstream Smart Capnoline Oral/nasal O2/co2 Cannula Recall # Z-1314-2; B) Microstream Smart Capnoline Nasal O2/co2 Cannula. Recall # Z-1315-2. C) Mac-line Smart Oral Nasal 02/co2 Cannula. Recall # Z-1316-2; D) Mac-line Smart Nasal O2/c02cannula. Recall # Z-1317-2. | Oridion Medical Ltd. Jerusalem | Oridion Medical Ltd. Jerusalem | July 18, 2002 | Oral nasal cannula missing holes for the delivery of supplemental oxygen. | 8668 cases 25 units cs | Nationwide