## 1999-1-27
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-1-27 | Drugs | II | d-072-9 | Rocephin Sterile Powder For Injection In 6 Ml Vials Ceftriaxone Sodium 250 Mg Rx Broad Spectrum Antibiotic | Hoffman La Roche | Hoffman La Roche Inc | July 23 1998 | Label Mix Up Some 250 Mg Units Were Labeled As 500 Mg Units | 55 700 Vials Were Distributed | Nationwide
1999-1-27 | Biologics | III | b-291-9 | Red Blood Cells | Manufacturer | Central Blood Bank Pittsburgh Pennsylvania | November 22 1997 | Unit Of Platelets Implicated In A Transfusion Reaction Was Found To Be Contaminated With Anaerobic Propionibacterium Acnes | 6 Units Were Distributed | Pennsylvania
1999-1-27 | Devices | II | z-268-9 | Medrad Mrinnervu Disposal Endorectal Prostate Coil Catalog Bpx 10 An Endorectal Coil For Mri Hydrogen Imaging Of The Prostate | Manufacturer | Medrad Inc | July 22 1998 | The Coils Were Manufactured With The Incorrect Connector | 25 Units Were Distributed And All Have Been Retrieved | Pennsylvania Indiana Ohio Rhode Island Georgia The Netherlands
1999-1-27 | Devices | II | z-426/462-9 | Synthetic Absorbable Surgical Suture Nonabsorbable Suture And Absorbable Gut | Manufacturer | United States Surgical Corporation North Haven Connecticut | December 14 1998 | Defective Packaging May Compromise Sterility Of Suture | 71 514 Units Were Distributed | Nationwide And International
1999-1-27 | Devices | II | z-463/466-9 | Adjustable Base Unit With Base Unit Handle Assembly Part 41 A 1310 A Mounting Device For The Mayfield Headrests And Mayfield Skull Clamps Used To Provide Rigid Skeletal Fixation In The Prone Supine Tic And Sitting Positions A Catalog A 1000 B A 1001 C 1002 D 2001 | Manufacturer | Ohio Medical Instrument Company Inc | December 30 1998 | The Handle Assembly Casting May Fracture At The Lever Handle Connection Pins | 194 Units Were Distributed | Nationwide And International
1999-1-27 | Devices | II | z-489-9 | Maxxim Procedural Tray Catalog No | Maxxim Medical | Merit Medical Systems South Jordan Utah Syringe Kit Maxxim Medical Temecula California Tray | November 19 1998 | The Control Syringe Barrel May Be Cracked Where It Attaches To The Rotating Adapter Which May Allow Air To Be Aspirated Into The Syringe | 2 Trays Were Distributed | Arizona
1999-1-27 | Devices | II | z-491/492-9 | Small Duracon R Stabilizer Tibial Insert Standard Version With Locking Screw A Component Of The Duracon Total Knee System A Small Duracon Stabilizer Tibial Inserts B Duracon Duration Stabilizer Tibial Inserts | Manufacturer | Howmedica Inc | December 15 1997 | The Locking Screw Was Found To Be Too Short And Has The Potential To Fail | 5 060 Units Were Distributed Firm Estimated That 2 124 Units Remained On Market At Time Of Recall Initiation | Nationwide And International
1999-1-27 | Devices | II | z-493/497-9 | System 98 Intra Aortic Balloon Pumps Cardiac Assist Medical Device Which Provides Temporary Circulatory Support A Model No | Manufacturer | Datascope Corporation Paramus New Jersey | September 25 1998 | The K 6 A Valve Assembly Was Manufactured Incorrectly And May Not Function As Intended | 69 Units Were Distributed | Florida Maryland Michigan Minnesota Mississippi North Carolina New Jersey Ohio Oklahoma Texas Virginia Wisconsin International
1999-1-27 | Devices | II | z-500/501-9 | a) 2 Fr. E.C.C. Neonatal Catheter b) 2Fr. E.C.C. Neonatal Catheter and Tray | Vygon Corporation | Vygon Gmbh Company Kg Aachen Germany | July 30 1998 | Devices Exhibited Cracking At The Catheter Hub During Use Due To A Change In The Product Hub Dimensions And A Change In Material | A 4 752 Units B 1 133 Units Were Distributed | Connecticut New York Pennsylvania Maryland Georgia Florida Ohio Minnesota Illinois Missouri Louisiana Oklahoma Texas Colorado Arizona California Hawaii Washington State Puerto Rico Canada
1999-1-27 | Devices | II | z-502/504-9 | Haemotronic Arterial Venous Blood Tubing Sets Sterile Device Used In Conjunction With Dialyzers During Hemodialysis A Product Code 53505 H 2 B Product Code 53505 2 C Product Code 505 H 2 | Haemotronic | Haemotronic Ltd S | April 26 1996 | The Devices Sometimes Leak Blood During Use | 11 688 Sets Were Distributed Firm Estimates None Remains On The Market | Nationwide
1999-1-27 | Devices | II | z-505/506-9 | Haemotronic Arterial Venous Blood Tubing Sets Used In Conjunction With Dialyzers During Hemodialysis A Product No | Haemotronic | Haemotronic Ltd S | June 26 1998 | Devices Have The Potential To Leak Blood During Use | 5 510 Sets Were Distributed | Nationwide
1999-1-27 | Devices | II | z-507/508-9 | Ventilator And Keyboards Field Replacement Units A Model No | Nellcor Puritan Bennett | Board Manufacturer Praegitzer Dallas Oregon Board Assembler Sci Rapid City South Dakota | June 23 1998 | Devices Do Not Consistently Meet Performance Specifications | 90 Ventilators And 21 Keyboards Were Distributed | Nationwide And International
1999-1-27 | Devices | II | z-509/511-9 | Syringes A 1 Ml Insulin Syringe W Permanently Attached Needle Size 29 G X � U 100 Ultra Fine Reorder No | Becton Dickinson And Company | Becton Dickinson Consumer Products Holdrege Nebraska | June 6 1998 | The Devices May Have A Cracked Hub Which Could Result In The Safety Shield Separating From The Syringe During Activation | A 28 909 150 Units B 10 299 470 Units C 9 991 800 Units Were Distributed | Nationwide And International
1999-1-27 | Devices | III | z-393-9 | Columbia Cna With Vancomycin Agar Plates In Vitro Diagnostic | Manufacturer | Remel Limited Partnership Lenexa Kansas | October 14 1998 | Ent. Faecalis ATCC No. 29212 may show some growth | 240 Units Were Distributed | Massachusetts New Jersey Iowa New York
1999-1-27 | Devices | III | z-394-9 | Potassium Hydroxide 20 With Glycerol 25 Ml Bottle For Use In Qualitative Procedures To Detect Fungal Elements In Clinical Specimens By Microscopic Examination | Manufacturer | Remel Limited Partnership Lenexa Kansas | August 14 1998 | Product Was Discolored With A Precipitate Floating In It | 3 Units Were Distributed | Oregon And Texas
1999-1-27 | Devices | III | 395-9 | Lysostaphin Reagent Set Test Kit Containing 4 Ml Vial Of Phosphate Buffer And | Manufacturer | Remel Limited Partnership Lenexa Kansas | February 23 1998 | Positive Reactions Were Not Observed With Staphylococcus Quality Control Stains | Approximately 118 Units Were Distributed | Nationwide Italy Spain Australia Canada
1999-1-27 | Devices | III | z-396-9 | Lysostaphin Reagent Set Test Kit Containing 4 Ml Vial Of Phosphate Buffer And | Manufacturer | Remel Limited Partnership Lenexa Kansas | May 14 1998 | The Phosphate Buffer Component Failed The Microbial Load Analysis | 3 Units Were Distributed | California And Connecticut
1999-1-27 | Devices | III | z-397-9 | Middlebrook 7 H 11 Agar Slant A Medium Recommended For Use In Qualitative Procedures For The Isolation And Cultivation Of Mycobacterium Sp | Manufacturer | Remel Limited Partnership Lenexa Kansas | October 14 1998 | The Product Failed The Microbial Load Analysis | 1 400 Units Were Distributed | Missouri New Mexico Arkansas Nebraska Ohio Texas Illinois
1999-1-27 | Devices | III | z-399-9 | R B 1 In Vitro Diagnostic Tubes For Presumptive Identification Of Enterobacteriaceae | Manufacturer | Remel Limited Partnership Lenexa Kansas | August 25 1998 | Quality Control Lactose Fermenting Microorganisms May Not Give The Appropriate Lactose Reaction | 67 Units Were Distributed | Maryland New York California Michigan Florida Hawaii Illinois North Carolina
1999-1-27 | Devices | III | z-400-9 | Tryptic Soy Broth 4 Ml Media Tube A General Purpose Enrichment Broth For Cultivation And Isolation Of Microorganisms | Remel Limited Partnership | Remel Formerly Dimed Corp | May 27 1998 | Product Does Not Support Expected Growth Of Microorganisms | 2 200 Units Were Distributed | North Dakota Missouri Pennsylvania Illinois Nebraska Rhode Island Georgia
1999-1-27 | Devices | III | z-468-9 | Hmp Triumph 1 Low Profile Port Catalog Psd 10 1 | Manufacturer | Horizon Medical Products Inc | June 30 1998 | The Devices Have The Product Contained A 12 Fr | 49 Units Were Distributed | Florida Georgia Kentucky Mississippi New York Tennessee
1999-1-27 | Devices | III | z-490-9 | Acs Centaur Automated Chemiluminescence System Used To Conduct Various Laboratory Diagnostic Tests | Manufacturer | Chiron Diagnostics Corporation Oberlin Ohio | August 35 1998 | The Test Results Will Be Inaccurate If The User Changes The Reporting Units And Or Slope And Intercept For A Test | 29 Analyzers Were Distributed | International
1999-1-27 | Devices | III | z-498-9 | Acs Centaur Automated Chemiluminescence System Used To Conduct Various Laborataory Diagnostic Tests | Chiron Diagnostics Corporation | Chiron Diagnostics Corporation Oberlin Ohio Colder Products Company St | November 3 1998 | The O Rings Are Made Of The Wrong Material | 49 Centaurs With Incorrect O Rings | Nationwide And International
1999-1-27 | Devices | III | z-499-9 | Acs Centaur Automated Chemiluminescence System Used To Conduct Various Laboratory Diagnostic Tests | Manufacturer | Chiron Diagnostics Corporation Oberlin Ohio | November 42 1998 | The Device May Go Into A Premature Ready State With Bleach Still Remaining In The Analyzer Lines Due To A Software Error In Version 1 | 244 Units Were Distributed | Nationwide And International