## 1999-10-6
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-10-6 | Drugs | II | d-424-9 | Pre Penæ Skin Test Antigen Benzylpenicilloyl Polylysine Injection Usp In Single Dose Ampuls 5 Per Carton Rx Used In Assessing A Patient's Allergy Status To Penicillin | Manufacturer | Hollister Stier Laboratories Llc Spokane Washington | September 3 1999 | Subpotency 30 Month Stability Testing | 500 Units Of Lot 33911 4 716 Units Of Lot 33912 And 200 Units Of Lot 33913 Were Distributed | Nationwide And International
1999-10-6 | Devices | II | z-1242-9 | Visualizer 2000 Diagnostic X Ray System | Manufacturer Fda Approved The Firm's Corrective Action Plan On September 27 | Vf Works Inc | September 27 1999 | All Units Are In Noncompliance With 21 Cfr 1020 | 62 Units | Nationwide
1999-10-6 | Devices | II | z-1254-9 | Aztech 70 X Ray System Intended For Use In Dental Radiography | The Aztech Group | Villa Sistemi Medicali S | September 27 1999 | The Diagnostic X Ray Devices Were Found Defective Under 21 Cfr 1003 | 19 Units Were Distributed | Nationwide
1999-10-6 | Devices | II | z-1260-9 | Codman Surgical Patties Size 1 2 X 1 2 Inch Sterile Indicated Use Is Protection Of Tissue Including Brain And Other Tissues Of The Central Nervous System During Surgery | Codman A Johnson Johnson Company | Codman A Johnson Johnson Company Norton Massachusetts | August 20 1999 | Surgical Patties Incorrectly Assembled Without A Radiopaque Marker And String | 67 200 Patties Were Distributed | Nationwide And International
1999-10-6 | Devices | II | z-1261-9 | Model 35040 Keithley Therapy Dosimeter Intended Use For Calibration Of Dosimetry Of Therapeutic Radiation Treatment Machine For High Energy Accelerators Cobalt 60 And Brachytherapy Equipment | Manufacturer | Inovision Radiation Measurements Cleveland Ohio | July 8 1999 | An Incorrect Fuse Was Installed On Units Causing Power Failures From Flown Fuse | 89 Units | Nationwide And International
1999-10-6 | Devices | II | z-1262-9 | The Tracker Display Model 35360 A Is Sold With The Detector Model 35300 A And Marketed Together As The Keithley Model 90100 Tracker System A Radiation Measurement System Intended For Use In Quality Assurance Programs For High Energy Accelerators And Cobalt 60 Machines | Manufacturer | Inovision Radiation Measurements Cleveland Ohio | July 8 1999 | An Incorrect Fuse Was Installed On Units Causing Power Failures From Blown Fuse | 40 Units | Nationwide And International
1999-10-6 | Devices | III | z-1239-9 | The Kid Kart 19 Inch Lap Belts A Component Of Mechanical Chair With Casters | Sunrise Medical | Sunrise Mobility Products Division Kid Kart Operations Belgrade Montana | August 17 1999 | The Lap Belts Were Assembled Incorrectly | 68 Units Were Distributed | Nationwide And International
1999-10-6 | Devices | III | z-1259-9 | Port A Cath Implantable Access System Designed To Permit Repeated Access To The Vascular System For The Parenteral Delivery Of Medications Nutritional Solutions And Other Fluids And For The Sampling Of Venous Blood | Manufacturer | Sims Deltec Inc | August 30 1999 | Product Equipped With An Incorrect Size Catheter Introducer Component | 122 Units Were Distributed | Europe