## 1999-12-15
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-12-15 | Drugs | I | d-058-0 | Warrick Pharmaceuticals Brand Albuterol Usp Inhalation Aerosol 17 G 200 Metered Inhalations Rx Indicated For The Prevention And Relief Of Bronchospasm In Patients With Reversible Obstructive Airway Disease And For The Prevention Of Exercise Induced Bronchospasm | Manufacturer | Schering Laboratories Inc | August 28 1999 | Some Units Fail To Contain Active Ingredient | 190 679 Units Were Distributed Firm Estimates None Remains On The Market | Alabama Connecticut Florida Georgia Kentucky Maryland Massachusetts New Jersey New York North Carolina Ohio Pennsylvania Rhode Island Tennessee Virginia West Virginia
1999-12-15 | Drugs | II | d-113-0 | Rugby Hemorrhoid Preparation Suppositories In Cardboard Box Containing 12 Suppositories Otc Used To Temporarily Shrink Hemorrhoidal Tissue And Relieve The Itching Burning And Discomfort Associated With Hemorrhoids | Rugby Laboratories | Hi Tech Pharmacal Inc | August 26 1999 | Labeling Product Lacks Pregnancy Nursing Warning | 1 182 Boxes Were Distributed Firm Estimated That 250 Boxes Remained On Market At Time Of Recall Initiation | Georgia Indiana Kentucky Michigan North Carolina New Jersey Ohio Oregon Pennsylvania Texas
1999-12-15 | Drugs | II | d-114/127-0 | Various Human Drugs 1 | Manufacturer | Steris Laboratories Inc | October 8 1999 | Current Good Manufacturing Practice Deviations Lack Of Data To Support Process Validation S And Defect Investigations | 1 64 689 Units 2 71 930 Units 3 30 797 Units 4 64 151 Units 5 10 494 Units 6 91 684 Units 7 1 322 117 Units 8 9 439 139 Units 10 1 015 520 Units 11 876 375 Units 12 150 242 Units 13 854 561 Units 14 72 130 Units | Nationwide And International
1999-12-15 | Drugs | II | d-130-0 | Diabeta Glyburide 5 Mg 100 Tablet Bottles Rx For Use As An Adjunct To Diet To Lower The Blood Glucose In Patients With Non Insulin Dependent Diabetes Mellitus Type Ii Packaged In 24 Bottles Intermediate Box 4 Intermediate Boxes Shipping Case | Repacker | Med Pro Inc | September 27 1999 | Immediate Bottle Label Shows Two Strengths 5 Mg And 25 Mg | 840 100 Tablet Bottles Were Distributed | New York
1999-12-15 | Drugs | II | d-142-0 | Compressed Medicinal Oxygen In Steel Tanks E D And M Size Rx Drug For Breathing Therapy | Manufacturer | Option Care Covington Georgia | November 5 1999 | Current Good Manufacturing Practice Deviations Including But Not Limited To Lack Of Oxygen Assays | 6 000 Cylinders Were Distributed | Georgia
1999-12-15 | Drugs | II | d-144-0 | MVI Pediatric Multiple Vitamins For Infusion | Astrazeneca Inc | Catalytica Pharmaceuticals Greenville North Carolina | November 18 1999 | Subpotent Vitamin A K Dexpanthenol And Or Pyridoxine | 9 163 Units Of Lot 9 F 3009 And 9 143 Units Of Lot 9 F 3011 Were Distributed | Tennessee Arizona
1999-12-15 | Devices | II | z-215-0 | Cms Accuprobe 530 A Cryosurgical System Used For Controlled Ablation And Destruction Of Malignant Benign Tissue In The Body | Manufacturer | Cryomedical Sciences Inc | April 29 1999 | Device Wiring Found To Be Corroded Burned Or Fatigued | 19 Systems Were Distributed | Nationwide
1999-12-15 | Devices | II | z-219/220-0 | Toxo Igm Enzyme Linked Immunosorbent Assay Elisa A Product No | Manufacturer | Zeus Scientific Inc | April 9 1999 | Device May Produce High Rates Of False Positive Test Results | A 30 Kits B 25 Kits Were Distributed Firm Estimates None Remains On The Market | Washington State
1999-12-15 | Devices | II | z-221/224-0 | Procedure Based Delivery Systems Module Used In Surgery Composed Of Subassembly Kits Including The Set Up Subassembly Kit Which Contains A Skin Scrub Prep Tray That Had Latex Gloves Packaged In The Tray Packaged By Allegiance Healthcare Corporation | Allegiance Healthcare Corporation | Allegiance Healthcare Corporation Montgomery New York | November 12 1999 | Kits Labeled As Latex Free Contain Latex Gloves | 138 Modules | Nationwide
1999-12-15 | Devices | II | z-227/229-0 | Paceart Cardiovoice Telephones Include A Cardiovoice Speaker Phone Model No | Manufacturer | Paceart Associates L | March 9 1999 | The Devices Fail To Comply With The Performance Standard For Electrode Lead Wires And Patient Cables 21 Cfr 898 | Undetermined | A California Florida Georgia Missouri New York Ohio Washington State China B Alabama Delaware Kansas Kentucky Missouri Michigan New Jersey New York Ohio Texas China And England C California District Of Columbia Florida Kentucky Louisiana Massachusetts Maryland Missouri New Jersey New York Oregon Pennsylvania Virginia Washington State Australia
1999-12-15 | Devices | II | z-230/231-0 | Medtronic Gem Implantable Cardioverter Defibrillators A Medtronic Gem Model No | Medtronic | Medtronic Med Rel Inc | October 15 1999 | Improper P Wire Routing And Less Than Required Silicone Adhesive Insulation On The P Wire In The Connector Module | A 9654 B 44 Units Were Distributed | Nationwide And International
1999-12-15 | Devices | II | z-232/233-0 | Cryolife Allograft Heart Valve A Model Avoo B Model Pvoo | Manufacturer | Cryolife Inc | October 15 1999 | The Liver From The Donor Of The Allografts Had Been Diagnosed With Cancer | 2 Units | Ohio And California
1999-12-15 | Devices | II | z-234/237-0 | K 1 Infant Transport Incubators A Transport Incubator 100 Globetrotter Gt 67 B Transport Incubator 100 Trailblazer Tb 67 C Transport Incubator 100 Roadrunner Rr 67 D Transport Incubator 500 Globetrotter Gt 500 | Manufacturer | Hill Rom Air Shields Hatboro Pennsylvania | October 15 1999 | The Devices Have A Faulty Design Of The Hand Ventilator Which Does Not Indicate The True Pressure In The Incubator | 568 Units Were Distributed | Nationwide And International
1999-12-15 | Devices | II | z-238-0 | Captia Rubella M Product No | Manufacturer | Trinity Biotech Plc Bray Co | October 22 1999 | The High Titre Positive Htp Control Is Reading Below The Stated Optical Density Value Of 0 | 296 Kits | Nationwide And International
1999-12-15 | Devices | II | z-240-0 | Sarns 3 M Centrifugal Pump Catalog No | Terumo Cardiovascular Systems Corporation | Of Plastic Pouches Kenpak City Of Commerce California | November 9 1999 | Some Of The Pouches Had Weak Areas Near The Seams And Post Sterilization Sampling Found Some Pouches Had Opened Up | 960 Units Were Distributed | Arizona California Florida Indiana Kansas Louisiana Massachusetts Michigan Mississippi Missouri New Hampshire New Jersey Pennsylvania Pureto Rico Rhode Island Texas Utah District Of Columbia Wisconsin
1999-12-15 | Devices | II | z-244/245-0 | Abbott Acclaim Infusion Pump And Abbott Acclaim Encore Infusion Pump Model 12032 04 And 12237 04 | Manufacturer | Abbott Laboratories Inc | November 17 1999 | Failure Of The Temperature Compensation Sensor Circuit Can Lead To Inaccurate Delivery | 2 005 Units | Nationwide
1999-12-15 | Devices | II | z-248/249-0 | Allograft Heart Valves | Manufacturer | Cryolife Inc | November 8 1999 | Donors Do Not Meet Current Guidelines Regarding Serodilution Of Plasma | 7 Units | California Massachusetts Michigan Nebraska New Hampshire Tennessee Texas
1999-12-15 | Devices | III | z-225-0 | Cryolife Allograft Heart Valve Model No | Manufacturer | Cryolife Inc | October 7 1999 | Additional Donor Information Not Available At The Time Of Initial Donor And Tissue Review By Quality Assurance Indicates The Donor Had Viral Mycocarditis At The Time Of Death | 1 Unit | Nevada
1999-12-15 | Devices | III | z-239-0 | Datascope Safety Guidewire Size | Manufacturer | Datascope Corporation Cardiac Assist Division Fairfield New Jersey | September 21 1999 | Size .030" guidewire was found in the .020" guidewire package | 46 10 Packs Were Distributed | Nationwide And International
1999-12-15 | Devices | III | z-241/242-0 | Disposable Argon Plasma Coagulation Apc Probe For Flexible Endoscopy Single Use Sterile Probes A Part Number 20132 071 B Part Number 20132 072 | Erbe Usa | Erbe Tubingen Germany | October 26 1999 | Some Of Apc Probes May Have An Incorrect Label On The Pouch | 2 031 Probes Were Distributed | Nationwide