## 1999-3-17
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-3-17 | Drugs | I | d-134-9 | Blue Nitro Vitality 2 3 H Furanone In 32 Fluid Ounce Bottles | Manufacturer | Alpha Earth Inc | February 5 1999 | Product Is An Unapproved New Drug | Approximately 25 000 Bottles Were Distributed | Georgia And Florida
1999-3-17 | Drugs | II | d-132-9 | Lorazepam Tablets Usp 2 Mg In 100 Tablet Bottles Rx Antianxiety Agent | Manufacturer | Watson Laboratories Inc | February 25 1999 | Misbranding Product Bears Incorrect Expiration Date Of February 2001 Exceeding The True Date Of February 2000 | 21 459 Bottles Were Distributed | Nationwide
1999-3-17 | Drugs | III | d-133-9 | E 2 Sanitizing Hand Soap Water Quanternary Ammonium Chlorides | Manufacturer | Carroll Company Walbridge Ohio | March 1 1999 | Lack Of Current Good Manufacturing Practice Compliance | Firm Estimated That A Maximum Of 520 Gallons Of Product Remained On Market At Time Of Recall Initiation | Pennsylvania North Carolina Kentucky Michigan Minnesota Missouri Illinois Maine Virginia Ohio
1999-3-17 | Biologics | II | b-477-9 | Source Plasma | Manufacturer | Sera Tec Biologicals Limited Pittsburgh Pennsylvania | May 1 1996 | Blood Product Tested Repeatedly Reactive For Anti Hcv And Was Not Subject To Additional Testing | 1 Unit | Units Were Returned Before They Reachedd Their Destination
1999-3-17 | Biologics | II | b-568-9 | Platelets | Bloodcare | Bloodcare Dallas Texas | September 30 1998 | Blood Product Corresponded To A Unit Of Red Blood Cells That Was Implicated In A Transfusion Reaction And Found To Be Contaminated With Staphylococcus Coagulase Negative | 1 Unit Was Distributed | Texas And Switzerland
1999-3-17 | Biologics | II | b-570-9 | Platelets Pheresis | Manufacturer | American Red Cross Tucson Arizona | November 11 1998 | Blood Products Were Collected From Donors Who Had Not Been Asked All Of The Required Donor Screening Questions | 134 Units Were Distributed | Arizona And Oklahoma
1999-3-17 | Biologics | II | b-573-9 | Platelets | Manufacturer | American Red Cross Blood Services Cleveland Ohio | December 1 1998 | Blood Product Was Prepared From An Overweight Whole Blood Unit | 1 Unit Was Distributed | Ohio
1999-3-17 | Biologics | II | b-575-9 | Red Blood Cells | Manufacturer | Community Blood Center Dayton Ohio | April 3 1998 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Ohio
1999-3-17 | Biologics | II | b-576-9 | Red Blood Cells | Manufacturer | Community Blood Center Dayton Ohio | March 30 1998 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Ohio
1999-3-17 | Biologics | II | b-580-9 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Roanoke Virginia | January 4 1999 | Blood Products Had High Platelet Counts | 2 Units Were Distributed | Virginia
1999-3-17 | Biologics | II | b-581-9 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Louisville Kentucky | December 8 1998 | Blood Products Were Mislabeled As Cmv Antibody Negative | 6 Units Were Distributed | Kentucky Indiana Pennsylvania
1999-3-17 | Biologics | II | b-587-9 | Source Plasma | Manufacturer | Centeon Bio Services Inc | July 23 1998 | Blood Product Was Collected From Donors Who Were Deferred For Receipt Of Tattoos Or A History Of Bleeding Ulcers | 10 Units Were Distributed | Indiana Illinois Germany
1999-3-17 | Biologics | III | b-563/564-9 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Fort Wayne Indiana | November 19 1998 | Blood Products Were Collected From A Donor Who Took The Drug Propecia | 1 Unit Of Each Component Was Distributed | Indiana
1999-3-17 | Biologics | III | b-569-9 | Recovered Plasma | Bloodcare | Bloodcare Dallas Texas | September 30 1998 | Blood Product Corresponded To A Unit Of Red Blood Cells That Was Implicated In A Transfusion Reaction And Found To Be Contaminated With Staphylococcus Coagulase Negative | 1 Unit Was Distributed | Texas And Switzerland
1999-3-17 | Biologics | III | b-574-9 | Red Blood Cells | Manufacturer | Community Blood Center Dayton Ohio | April 15 1998 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Ohio
1999-3-17 | Biologics | III | b-577/579-9 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Community Blood Center Dayton Ohio | March 19 1998 | Blood Products Were Collected From A Donor Who Had A History Of Ulcerative Colitis | 1 Unit Of Each Component Was Distributed | Ohio California Switzerland
1999-3-17 | Biologics | III | b-584-9 | Platelets Pheresis | Manufacturer | National Institute Of Health Warren Grant Magnuson Clinical Center Nih Clinical Center Bethesda Maryland | October 14 1997 | Blood Product Tested Negative For Anti Hcv But Was Collected From A Donor Who Previously Tested Repeatedly Reactive For The Antibody Riba Negative | 1 Unit Was Distributed | District Of Columbia
1999-3-17 | Biologics | III | b-585/586-9 | A Platelets B Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Detroit Michigan | October 22 1998 | Blood Products Were Collected By Apheresis Using Lactated Ringer's Solution For Priming Instead Of Normal Saline | A 23 Units B 2 Units Were Distributed | Michigan
1999-3-17 | Biologics | III | b-588-9 | Source Plasma | Manufacturer | Centeon Bio Services Inc | July 23 1998 | Blood Products Were Collected From Donors Who Were Deferred For Receipt Of Tattoos Or A History Of Bleeding Ulcers | 10 Units Were Distributed | Indiana Illinois Germany
1999-3-17 | Devices | I | z-693/698-9 | Aluminum Oxygen Regulators For Use In Portable And Fixed Oxygen Cylinders A Model No | Manufacturer | Allied Healthcare Products Inc | February 4 1999 | Fires And Explosions Have Been Associated With Use Of Aluminum Regulators | Approximately 137 000 Units Were Distributed | Nationwide And International
1999-3-17 | Devices | II | z-691/692-9 | A External Ventricular Monitoring Drainage Set B Drainage Accessory Kit | Manufacturer | Nmt Neurosciences Duluth Georgia | January 12 1999 | The Male Luer Lock Fitting Is Deformed And Does Not Fit The Drainage Bag Therefore Is Not Functioning As Intended | 77 Sets Were Distributed | California Colorado Connecticut Florida Georgia Hawaii North Carolina Ohio Tennessee Texas Washington State
1999-3-17 | Devices | II | z-713/714-9 | Crow River Models 7684 La 7684 Laff Vangater Personal Transit Lifts An Electro Mechanical Wheelchair Lift For American Made Full Sized Vans With Side Doors | Manufacturer | Crow River Industries Inc | February 5 1999 | Weld Failure Could Allow The Device Platform To Free Fall Or Deploy Rapidly From The Vertical Stowed Position To The Horizontal Unstowed Position | 192 Units Were Distributed | Nationwide Canada Kuwait Spain Quantity 192 Units Were Distributed
1999-3-17 | Devices | II | z-717/726-9 | Microvasive Urology Products Protegen Collagen Impregnated Sling And Vesica Sling Kits With Protegen A Catalog No | Boston Scientific Corporation | Meadox Division Boston Scientific Corporation Wayne New Jersey | January 22 1999 | Use Of Protegen In The Treatment Of Female Urinary Incontinence Is Associated With Higher Than Expected Rate Of Vaginal Erosion And Dehiscence And Does Not Appear To Function As Intended | 16 931 Protegen Standard Size Slings And 6 466 Protegen Large Size Slings Were Distributed | Nationwide And International
1999-3-17 | Devices | II | z-729/730-9 | All Boehringer Mannheim Elecsys 2010 Immunoassay Analyzers With Software Versions 01 39 02 13 02 14 03 08 03 09 And 05 05 Clas Connected System A Boehringer Mannheim Elecsys 2010 Immunoassay Systems Analyzer With Disk System Catalog No | Roche Diagnostics Corporation | Hitachi Ltd | January 18 1999 | The Test Results May Be Mismatched And Reported Under The Wrong Sample Number Due To A Software Problem | 160 Analyzers Were Distributed | Nationwide And Canada
1999-3-17 | Devices | II | z-731-9 | Zoll M Series Defibrillator Pacemaker Used To Convert Ventricular Fibrillation To Sinus Rhythm Or Other Cardiac Rhythms Capable Of Producing Hemodynamically Significant Heart Beats | Manufacturer | Zoll Medical Corporation Burlington Massachusetts | February 1 1999 | Failure Of A Memory Chip Resulted In The Failure Of The Unit To Power On When Turned To The On Position | 452 Units Were Distributed | Nationwide And International
1999-3-17 | Devices | III | z-715-9 | Abbott Cell Dyn 3000 Series Hematology Systems Cell Dyn Reticulocyte Reagent When Used In Combination With Cell Dyn 3500 Reticulocyte Software Enables A Whole Blood Specimen To Be Analyzed For Reticulocytes | Manufacturer | Abbott Laboratories Santa Clara California | February 25 1999 | These Lots May Exhibit Elevated Reticulocyte Results | 1 780 Kits Were Distributed | Nationwide And International