## 1999-5-26
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-5-26 | Biologics | II | b-784-9 | Source Plasma | Interstate Blood Bank | Plasma Biologicals Services Owensboro Kentucky Collection Facility | March 20 1998 | Blood Products Were Collected From An Unsuitable Donor | 3 Units Were Distributed | California
1999-5-26 | Biologics | II | b-785/786-9 | A Red Blood Cells Leukocytes Removed B Fresh Frozen Plasma | Manufacturer | Blood Bank Of Alaska Inc | October 22 1998 | Blood Products Were Collected From A Donor Taking The Drug Proscar | 1 Unit Of Each Component Was Distributed | Alaska
1999-5-26 | Biologics | II | b-787-9 | Red Blood Cells | Manufacturer | Inland Northwest Blood Center Spokane Washington | March 23 1998 | Blood Product Was Labeled As Cmv Negative Was Not Tested For Cmv In Accordance With The Test Kit Manufacturer's Instructions | 1 Unit Was Distributed | Washington State
1999-5-26 | Biologics | II | b-788/789-9 | A Red Blood Cells B Recovered Plasma | Manufacturer | Blood Bank Of Alaska Inc | November 17 1998 | Blood Products Were Collected From A Donor Taking The Drug Proscar | 4 Units Of Each Component Were Distributed | Alaska
1999-5-26 | Biologics | II | b-792-9 | Whole Blood | Manufacturer | Houchin Community Blood Bank Bakersfield California | November 4 1996 | Blood Product Was Not Labeled As Having Tested Positive For Cmv Antibodies | 1 Unit Was Distributed | California
1999-5-26 | Biologics | III | b-783-9 | Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Columbus Ohio | March 9 1999 | Blood Product Was Inappropriately Prepared From A Potentially Traumatic Collection | 1 Unit Was Distributed | Ohio
1999-5-26 | Devices | II | z-916-9 | Carpal Tunnel Release System Handpiece | Microaire Surgical Instruments | 3 M Health Care Irvine California | April 16 1999 | Units Exhibited Sticking Trigger Linkage Pins Due To Rust | 196 Units Were Distributed | Nationwide France Germany
1999-5-26 | Devices | II | z-921-9 | Chiron Diagnostics Rapidpoint 400 Blood Gas Analyzer System Critical Care Diagnostic Information System That Provides Rapid Blood Analysis For Bedside Near Patient Or Alternate Site Testing | Manufacturer | Chiron Diagnostics Corporation Medfield Massachusetts | March 24 1999 | Rapidpoint 400 Measurement Cartridges For Po 2 May Calibrate At An Incorrect Level And Result In Understating Overstating Patient P 02 Values | 24 Units Were Distributed | California Florida Georgia Illinois New York New Hampshire Oklahoma Oregon Texas And International
1999-5-26 | Devices | II | z-922-9 | Yasargil Titanium Aneurysm Clips Model Ft 728 T Used For Permanent Occlusion Of Cerebral Aneurysms | Aesculap | Aesculap Ag Company Kg Germany | April 30 1999 | Blades May Have A Potential For Not Being Properly Aligned Scissoring | 58 Units Were Distributed | Nationwide And Canada
1999-5-26 | Devices | II | z-924-9 | E 2608 6 Handswitching Suction Coagulator Intended For Use In Surgical Procedures Requiring Controlled Fluid Evacuation Coupled With Electrosurgical Coagulation | Manufacturer | Valleylab Inc | April 16 1999 | The Coagulator Remained Activated After The Activation Button Was Released | 507 Cases 25 Units Per Case Were Distributed | Nationwide And International
1999-5-26 | Devices | II | z-925-9 | Modified Leveen Needle Electrode Model Le 3515 | Manufacturer | Radiotherapuetics Corporation Mountain View California | April 27 1999 | Product Has The Potential To Abrade The Tissue | 71 Units Were Distributed | Nationwide Italy Japan