## 1999-6-29
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-6-29 | Drugs | II | d-272-9 | Compressed Medical Oxygen Usp Rx Product Stored In D N And M 6 Size Metal Type Cylinders | Manufacturer | Homecare Concepts Inc | May 13 1999 | Incomplete Testing For Strength And Identity | 65 Cylinders Were Distributed | New York
1999-6-29 | Drugs | II | d-274-9 | Cephradine Capsules Usp 250 Mg In Bottles Of 100 Rx Indicated In The Treatment Of Respiratory Tract Infection Otitis Media Skin And Skin Structure Infections And Urinary Tract Infections | Manufacturer | Teva Pharmaceuticals Usa Inc | June 15 1999 | Subpotency Stability | Approximately 10 852 Bottles Were Distributed Firm Estimated That 2 700 Bottles Remained On Market At Time Of Recall Initiation | Nationwide
1999-6-29 | Drugs | III | d-269/271-9 and d-273-9 | Rx Controlled Substance Cough Syrups A Endotuss Hd Tm Syrup Hydrocodone Bitartrate 1 | Manufacturer | Signature Pharmaceuticals Inc | June 8 1999 | Lack Of Data To Support Labeled Expiration Date | A Endotuss Hd 16 165 One Pint 473 Ml Bottles B Polytine D 9 103 One Pint 473 Ml Bottles C Polytine Cs 5 293 One Pint 473 Ml Bottles D Cotussin 13 410 One Pint 473 Ml Bottles Were Distributed | Nationwide
1999-6-29 | Drugs | III | d-275-9 | Supac Analgesic Tablets Acetaminophen 160 Mg Aspirin 230 Mg Caffeine 33 Mg In 100 And 1 000 Tablet Bottles Otc Analgesic | Manufacturer | Mission Pharmacal Company Mpc San Antonio Texas | April 6 1999 | Free Salicylic Acid Values Exceed Usp Limit And Or Content Uniformity Failures For Caffeine | 7 703 100 Tablet Bottles And 784 1 000 Tablet Bottles Were Distributed | Nationwide
1999-6-29 | Drugs | III | d-276-9 | Tilade Inhaler Nedocromil Sodium Inhalation Aerosol 1 | Rhone Poulenc Rorer | Fisons Plc Pharmaceutical Division United Kingdom | April 27 1999 | Failure To Meet Dose Uniformity Requirements | 16 Inhalers Were Distributed Firm Estimates None Remain On The Market | Missouri And Arkansas
1999-6-29 | Biologics | II | b-892-9 | Red Blood Cells | Manufacturer | Healthcare Provider Services Inc | January 13 1999 | Blood Product Was Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 Unit Was Distributed | Rhode Island
1999-6-29 | Biologics | II | b-893/894-9 | A Red Blood Cells B Platelets | Manufacturer | Healthcare Provider Services Inc | January 4 1999 | Blood Products Were Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Rhode Island
1999-6-29 | Biologics | II | b-896-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Dedham Massachusetts | February 3 1999 | Blood Product Was Collected From A Donor With No Hemoglobin Results Documented During Screening | 1 Unit Was Distributed | Massachusetts
1999-6-29 | Biologics | II | b-898-9 | Red Blood Cells Leukocytes Reduced | Manufacturer | American Red Cross Blood Services Madison Wisconsin | March 20 1998 | Blood Product For Which Documentation Of Irradiation Was Incomplete | 1 Unit Was Distributed | Wisconsin
1999-6-29 | Biologics | II | b-899-9 | Platelets | Manufacturer | American Red Cross Blood Services Madison Wisconsin | August 10 1998 | Blood Product Was Collected From A Donor Who Had Traveled To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Wisconsin
1999-6-29 | Biologics | II | b-918/919-9 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Atlanta Georgia | February 27 1999 | Blood Products May Have Been Contaminated During Collection Of Sample Tubes | 1 Unit Of Each Component Was Distributed | Georgia And Pennsylvania
1999-6-29 | Biologics | II | b-922-9 | Platelets Pheresis | Manufacturer | Long Island Blood Services Melville New York | May 23 1999 | Blood Product Had An Unacceptable Platelet Yield | 1 Unit Was Distributed | New York
1999-6-29 | Biologics | II | b-923/924-9 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Columbia South Carolina | November 16 1998 | Blood Products Were Collected From A Donor Taking The Drug Methotrexate | A 3 Units B 1 Unit Was Distributed | South Carolina North Carolina Georgia
1999-6-29 | Devices | II | z-985-9 | Synthes Sterile Drill Bits Part 356 | Synthes Usa | Synthes Usa Monument Colorado | April 1 1998 | Package Insert Was Not Placed In Packaging When The Product Was Sent Out | 283 Units Were Distributed | Nationwide Canada Switzerland
1999-6-29 | Devices | II | z-986-9 | Synthes Mandibular Modular Fixation System Part 449 | Synthes Usa | Synthes Usa Monument Colorado | March 25 1998 | Package Insert Was Not Placed In Packaging When The Product Was Sent Out | 21 Units Were Distributed | California Pennsylvania North Carolina New York Tennessee Texas
1999-6-29 | Devices | II | z-987-9 | Synthes Spine Anterior Thoracolumbar Rod Clamp | Synthes Usa | Synthes Usa West Chester Pennsylvania | August 25 1998 | The Connector Is Not Compatible With Ventrofix System | 46 Units Were Distributed | California Colorado Florida Georgia Illinois Massachusetts Maryland Minnesota North Carolina New Hampshire New Jersey New York Pennsylvania Texas Utah Virginia Washington State
1999-6-29 | Devices | II | z-990/993-9 | Sk Sterile Kits Kits Consisting Of Replacement Seals And Valves For Cannulas Model Sk 1 Sk 2 Sk 3 Sk 4 | Manufacturer | Gibbons Surgical Corporation Virginia Beach Virginia | May 17 1999 | Devices Were Dosed At A Different Level Than That Documented In Validation Study | 17 439 Kits Were Distributed | Alabama California Pennsylvania Texas Michigan Massachusetts Missouri Austria Germany
1999-6-29 | Devices | II | z-1003/1004-9 | Liftmaster Patient Hoist Models 160 And 190 Catalog Numbers Aa 8940 Aa 8945 | Smith Nephew | Smith Nephew Homecraft Ltd | June 7 1999 | A Bolt Attaching The Load Spreader To The Boom Of The Lift Can Fracture Due To Metal Fatigue Over Time And Allow The Patient To Fall To The Floor | 24 Lifts | Nationwide
1999-6-29 | Devices | II | N/A | Bard Cardiopulmonary Extracorporeal Cannulae Intended For Use In Cardiovascular Surgery To Cannulate Vessels Or Perfuse Arteries Z 1012 9 Models 007300 007301 007302 007303 | C R Bard | C R Bard Puerto Rico | June 7 1999 | Sterile Barrier May Be Compromised | 46 539 Units Were Distributed | Nationwide
1999-6-29 | Devices | II | z-1019-9 | Argyle Delee Suction Catheter W Mucous Trap Intended To Aspirate Liquids Or Semisolids From A Patient's Upper Airway | Kendall Healthcare Products Company | Kelsar S | May 28 1999 | Product May Be Non Sterile | 85 Cases 50 Units Per Case Were Distributed | Nationwide And Canada
1999-6-29 | Devices | II | z-1022/1024-9 | Laser Systems And Communication Lasers A Model No | Manufacturer Fda Approved The Firm's Corrective Action Plan On June 15 | Power Technology Inc | June 15 1999 | The Model Dy And Dyh Laser Systems Were Introduced Into Commerce Uncertified And Did Not Comply With The Performance Standard Section 538 Of The Federal Food Drug And Cosmetic Act And 21 Cfr 1010 | 23 Units Were Distributed | Nationwide
1999-6-29 | Devices | II | z-1025-9 | Vitros Eci Immunodiagnostic System A Random Access Immunodiagnostic Analyzer For Use In Clinical Laboratories | Manufacturer | Ortho Clinical Diagnostics Rochester New York | March 22 1999 | The Shear Valves In The Reagent Monitoring System May Seize And Stop Dispensing Reagent | Approximately 105 Units Are Affected | Nationwide And International
1999-6-29 | Devices | II | z-1026-9 | Mhs Manual Hexdriver Part 10150 Used To Screw In Or Out The Appropriate 10010 Xx Size Bone Screws That Secure The Alphatec Modular Barrel Plate Extensions Against The Proximal Femur | Manufacturer | Alphatec Manufacturing Inc | May 21 1999 | The Hexdriver Shaft Was Not Heat Treated As Indicated In The Specifications | 27 Units | Michigan Georgia Florida
1999-6-29 | Devices | II | z-1027-9 | Ivac Medsystem Iii Infusion System A Three Channel Microprocessor Based Fluid Delivery Device For Use To Control And Monitor Infusion Via Intravenous Intra Arterial Or Subcutaneous Routes A Model 2860 Three Channel General Purpose Infusion Pump 110 V B Model 2863 Three Channel General Purpose Infusion Pump 110 V C Model 2866 Three Channel General Purpose Infusion Pump 220 V International And A Power Supply Board Kit For Use As A Replacement Power Supply Board For The Medsystem Iii Pump | Manufacturer | Alaris Medical Systems Inc | May 28 1999 | Capacitors In The Power Supply Board Are Failing Causing The Pumps To Shut Down Stop Infusing Without An Alarm Notifying The User | 2 851 Pumps And 466 Power Supply Board Kits Were Distributed | Nationwide Canada The Netherlands Japan American Somoa
1999-6-29 | Devices | III | z-988/989-9 | 1 5 Mm Ti Cortex Screw Self Tapping 8 Mm And 12 Mm | Synthes Usa | Synthes Usa Monument Colorado | April 8 1998 | Product Was Mislabeled | 496 Units Were Distributed | Nationwide
1999-6-29 | Devices | III | z-999-9 | Ortho Chlamydia Antigen Elisa Test Diagnostic Test Kits | Meridian Diagnostics | Meridian Diagnostics Inc | October 6 1998 | Opd Substrate Tablets Have Deteriorated Resulting In Inaccurate Test Results | 310 Kits Were Distributed | Nationwide
1999-6-29 | Devices | III | z-1000-9 | Ortho Hsv Antigen Elisa Test Modification Diagnostic Test Kits For The Detection Of Herpes Simplex Virus | Manufacturer | Meridian Diagnostics Inc | October 6 1998 | The Opd Substrate Tablets Have Deteriorated Resulting In Inaccurate Test Results | 433 Kits Were Distributed | Nationwide And Italy
1999-6-29 | Devices | III | z- 1005/1006-9 | Synthes Usa Midfacial System Part Numbers 446 | Synthes Usa | Synthes Usa Monument Colorado | July 22 1998 | Product Was Mislabeled | 27 Units Were Distributed | California Florida Michigan Oregon Texas
1999-6-29 | Devices | III | z-1011-9 | One Shots Hdl Precipitating Reagent For In Vitro Diagnostic Use In 0 | Manufacturer | Data Medical Associates Inc | October 2 1997 | The Reagent Tubes Contain Less Reagent Volume Than Indicated On The Label | 2 241 Pails Were Distributed | Nationwide And International
1999-6-29 | Devices | III | z-1020-9 | Acufex Tibial Anchor Screw Spiked Washer Indicated For Use In Fixation Of Soft Tissue In Orthopedic Procedures | Manufacturer | Smith Nephew Inc | May 17 1999 | The Head Of The Screw May Break During Insertion | 182 Units Were Distributed | Arkansas Colorado Massachusetts Pennsylvania Texas Wisconsin Africa Belgium Singapore France Denmark
1999-6-29 | Devices | III | z-1021-9 | Imx Estradiol Reagent Pack List 2215 22 100 Tests An In Vitro Diagnostic Microparticle Enzyme Immunoassay For The Quantitative Measurement Of Estradiol In Human Serumand Plasma On The Imx Analyzer | Manufacturer | Abbott Laboratories Abbott Park Illinois | June 11 1999 | Lots May Show Underrecovery Of Estradiol With Undiluted Patient Specimens | 3 037 Packs Were Distributed | Nationwide And International