## 1999-7-14
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-7-14 | Drugs | II | d-280-9 | Medicap Pharmacy Peri Colace Stool Softener With Laxative Containing 100 Mg Of Docusate Sodium And 30 Mg Of Casanthranol Per Softgel 100 Softgels Per Bottle | Apothecary Products | Time Cap Labs | June 8 1999 | Mislabeling Bottles Actually Contain 325 Mg Aspirin Tablets | 12 Bottles In 2 Boxes Of 6 Bottles Each Were Distributed | Undetermined
1999-7-14 | Drugs | III | d-281-9 | Calcionate Syrup In 16 Fluid Ounce Pint Bottles Otc Calcium Supplement | Manufacturer | Hi Tech Pharmacal Company Inc | June 14 1999 | Presence Of White Precipitate And Cloudiness Calcium Is Precipitating Out Of Formulation | 3 564 Units Were Distributed | Georgia
1999-7-14 | Biologics | II | b-905/914-9 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Plasma Cryoprecipitate Reduced E Cryoprecipitate Ahf F Cryoprecipitate Ahf Pooled G Platelets Pheresis H Granulocytes Pheresis I Recovered Plasma For Manufacturing Non Injectable Use J Recovered Plasma | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | November 6 1998 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Western Blot Indeterminate | A 15 Units B 6 Units C 2 Units D 1 Unit E 1 Unit F 1 Unit G 32 Units H 1 Unit I 2 Units J 13 Units Were Distributed | California Connecticut Florida Massachusetts Minnesota North Carolina Pennsylvania Switzerland
1999-7-14 | Biologics | II | b-927/928-9 | A Red Blood Cells Leukoreduced B Red Blood Cells | American Red Cross | American Red Cross Gainesville Georgia | October 16 1998 | Blood Products Were Collected From A Donor Who Had Traveled To An Area Designated As Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Georgia
1999-7-14 | Biologics | II | b-931/932-9 | A Red Blood Cells B Recovered Plasma | American Red Cross Blood Services | American Red Cross Blood Services Durham North Carolina | July 17 1998 | Blood Products Tested Negative For Anti Hcv But Was Collected From A Donor Who Previously Tested Reactive For Hepatitis C | 1 Unit Of Each Component Was Distributed | North Carolina Switzerland
1999-7-14 | Biologics | II | b-933-9 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | August 27 1998 | Blood Products Had High Platelet Counts | 1 Split Unit Was Distributed | North Carolina
1999-7-14 | Biologics | II | b-934-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Atlanta Georgia | December 24 1998 | Blood Product Was Exposed To Unacceptable Shipping Temperatures | 1 Unit Was Distributed | Georgia
1999-7-14 | Biologics | II | b-938/942-9 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Recovered Plasma For Manufacturing Non Injectable Products E Recovered Plasma | Manufacturer | American Red Cross Blood Services Cleveland Ohio | December 7 1998 | Blood Products Tested Negative For Anti Hcv But Was Collected From A Donor Who Previously Tested Reactive For Anti Hcv | A 6 Units B 5 Units C 2 Units D 1 Unit E 3 Units Were Distributed | Ohio And Massachusetts California
1999-7-14 | Biologics | II | b-943-9 | Allergenic Extract Gs Ragweed Mix | Manufacturer | Greer Laboratories Inc | April 6 1999 | Allergenic Extract Labeled With The Incorrect Concentration | 1 Vial Was Distributed | Florida
1999-7-14 | Biologics | II | b-944-9 | Platelets | Manufacturer | Central Kentucky Blood Center Ckbc Lexington Kentucky | April 27 1999 | Platelets Were Prepared From A Whole Blood Unit Which Was Collected From A Donor Who Had Taken Aspirin Within Three Days Of Donation | 1 Unit Was Distributed | Kentucky
1999-7-14 | Biologics | II | b-945-9 | Red Blood Cells | Blood Systems | Blood Services Inc | October 3 1998 | Blood Product Was Not Quarantined After Receiving Information Concerning A Post Donation Illness | 1 Unit Was Distributed | Nevada
1999-7-14 | Biologics | II | b-946/947-9 | A Red Blood Cells B Recovered Plasma | Manufacturer | Central Illinois Community Blood Bank Springfield Illinois | May 25 1999 | Testing For Syphilis Not Performed In Accordance With Manufacturer's Insert In That The Age Of The Sample Exceeded The 48 Hour Requirement | 62 Units Were Distributed | Illinois California Switzerland
1999-7-14 | Biologics | II | b-964-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Peoria Illinois | May 28 1999 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Illinois
1999-7-14 | Biologics | II | b-965-9 | Red Blood Cells | Manufacturer | Department Of The Navy Naval Hospital Blood Bank Great Lakes Illinois | June 7 1999 | Blood Products Were Collected From Donors Who Had Not Been Properly Questioned Regarding Malarial Risk | 33 Units Were Distributed | New Jersey
1999-7-14 | Biologics | II | b-966-9 | Platelets | Manufacturer | American Red Cross Blood Services Madison Wisconsin | November 12 1998 | Blood Product Was Collected From A Donor Who Previously Tested Positive For Human Leukocyte Antigen | 1 Unit Was Distributed | Wisconsin
1999-7-14 | Biologics | II | b-974/975-9 | A Red Blood Cells B Plasma | Manufacturer | American Red Cross Blood Services St | August 12 1998 | Blood Products Tested Positive For Hbsag But Were Collected From A Donor Who Previously Tested Reactive For Hepatitis B | 1 Unit Of Each Component Was Distributed | New Jersey And California
1999-7-14 | Biologics | II | b-976/977-9 | A Red Blood Cells B Plasma | Manufacturer | American Red Cross Blood Services St | December 31 1997 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 2 Hiv 1 2 But Were Collected From A Donor Who Previously Tested Reactive For The Antibody | 1 Unit Of Each Component Was Distributed | Missouri And California
1999-7-14 | Biologics | II | b-991/993-9 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Lifesource Glenview Illinois | March 11 1999 | Blood Products Were Collected From A Donor With A History Of Cancer | 1 Unit Of Each Component Was Distributed | Illinois And Switzerland
1999-7-14 | Biologics | III | b-640-9 | Sterile Diluent For Allergenic Extract In 9 | Manufacturer | Allergy Laboratories Inc | March 2 1999 | Discoloration Was Observed In Some Vials Of Sterile Diluent Marketed For Use With Allergenic Extracts | 2 800 Vials Were Distributed | Nationwide
1999-7-14 | Biologics | III | b-901-9 | Red Blood Cells | Manufacturer | Riverview Hospital Association Wisconsin Rapids Wisconsin | April 28 1998 | Blood Products Were Labeled With Extended Expiration Dates | 14 Units Were Distributed | Wisconsin And California
1999-7-14 | Biologics | III | b-902/903-9 | Red Blood Cells And Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Madison Wisconsin | October 29 1998 | Blood Products Were Collected From A Donor Whose Arm Inspection And Skin Disease Status Had Not Been Accurately Documented | 1 Unit Of Each Component Was Distributed | Wisconsin
1999-7-14 | Biologics | III | b-915-9 | Allergenic Extract Mold Mix | Manufacturer | Greer Laboratories Inc | April 6 1999 | Allergenic Extracts Were Labeled With An Extended Expiration Date | 3 Vials Were Distributed | New Jersey
1999-7-14 | Biologics | III | b-917-9 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Atlanta Georgia | October 9 1998 | Blood Products Which Were In Transit Greater Than 24 Hours Were Redistributed Without Swirl Testing Being Performed | 1 Split Unit Was Distributed | Georgia
1999-7-14 | Biologics | III | b-929/930-9 | Platelets And Fresh Frozen Plasma | American Red Cross Blood Services | American Red Cross Blood Services Durham North Carolina | January 30 1999 | Blood Products Were Collected From A Donor Taking The Drug Propecia | 1 Unit Of Each Component Was Distributed | North Carolina And Puerto Rico
1999-7-14 | Biologics | III | b-935/936-9 | A Platelets B Platelets Pheresis | Manufacturer | American Red Cross Blood Services Madison Wisconsin | May 13 1998 | Blood Products Were Stored At Unacceptable Temperatures | A 28 Units B 27 Units Were Distributed | Illinois
1999-7-14 | Biologics | III | b-937-9 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Atlanta Georgia | February 5 1999 | Blood Product Was Distributed Without Having Performed A Platelet Count | 1 Unit Was Distributed | Georgia
1999-7-14 | Biologics | III | b-948/949-9 | Red Blood Cells And Recovered Plasma | Manufacturer | Central Illinois Community Blood Bank Springfield Illinois | May 25 1999 | Blood Products Were Incorrectly Tested For Syphilis | 26 Units Were Distributed | Illinois California Switzerland
1999-7-14 | Biologics | III | b-963-9 | Red Blood Cells Leukocytes Reduced | Manufacturer | American Red Cross Blood Services St | August 14 1998 | Red Blood Cells Leukoreduced By Filtration Greater Than Five Days Past The Time Of Collection Were Distributed For Transfusion | 13 Units Were Distributed | Missouri
1999-7-14 | Biologics | III | b-967/973-9 | A Red Blood Cells B Red Blood Cells Leukocytes Reduced C Platelets D Platelets Pooled E Fresh Frozen Plasma F Recovered Plasma For Manufacturing Injectables G Recovered Plasma For Manufacturing Non Injectables | Manufacturer | Carter Blood Center Fort Worth Texas | December 3 1998 | Blood Products Were Collected From Donors Who Were Offered Monetary Payment For Donating And Were Mislabeled As Volunteer Donations | A 14 Units B 2 Units C 12 Units D 4 Units E 1 Unit F 10 Units G 1 Unit | Texas California Switzerland
1999-7-14 | Biologics | III | b-988/990-9 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | Lifesource Glenview Illinois | January 14 1999 | Blood Products Were Collected From A Donor Who Received A Tissue Transplant Surgery Within 1 Year Of Donation | 1 Unit Of Each Component Was Distributed | Illinois
1999-7-14 | Devices | II | z-1051/1052-9 | Cvis Insight Imaging Catheter For Intraluminal Coronary Interventional Procedures 2 | Manufacturer | Boston Scientific Corporation San Jose California | June 15 1999 | The Product May Separate From The Proximal Segment | 44 841 Units Were Distributed | Nationwide And International
1999-7-14 | Devices | II | z-1053-9 | Midmark 73018 Attachment Accessories For The Midmark Magnum General Table Hydraulic Sold As Kits And Are Designed For Use In The Support Of Patients During Orthopedic Surgery Procedures | Manufacturer | Midmark Corporation Versailles Ohio | June 14 1999 | Defects Of Table Accessories Cause Unintended Motion During Orthopedic Surgery | 14 Units | New Jersey Florida Michigan Louisiana Minnesota Texas Missouri District Of Columbia
1999-7-14 | Devices | II | z-1054/1055-9 | Henley Healthcare Fluidotherapy Unit Air Fluidized Beds Employing Dry Heat That Is Intended To Treat Local Pain Range Of Motion And Blood Flow Insufficiency In The Body Extremities A Henley Healthcare Fluidotherapy Model 110 D B Henley Healthcare Fluidotherapy Model 110 De Recall Z 1054 1055 9 | Manufacturer | Henley Healthcare Inc | January 15 1998 | Excessively Long Metal Bolts Securing Metal Legs To The Wooden Base Of The Device Protruded Too Far Into The Housing Contacting The Electrical Connection To The Heater After Collapsing A Metal Heater Schroud Causing 13 Amps Of Electrical Current To Be Delivered To The Metal Legs | A 369 Units B 6 Units Were Distributed | Nationwide And International
1999-7-14 | Devices | II | z-1056-9 | Doctors Review System Oblink Software Releases Prior To 9 | Manufacturer | Digisonics Inc | March 29 1999 | Y 2 K Software Error May Produce An Incorrect Estimated Delivery Date Edd | 39 Units Were Distributed | Nationwide
1999-7-14 | Devices | II | z-1058-9 | Qtest R Strep An Ivd Kit For P | Manufacturer | Becton Dickinson Microbiology Systems Cockeysville Marland | June 10 1999 | The Vol Pak Pouch Sealer Failed To Provide An Adequate Seal And The Quali Pak Leak Tester Failed To Detect The Inadequate Seal | 1 044 Kits Were Distributed | Nationwide
1999-7-14 | Devices | II | z-1059-9 | Directigen 1 2 3 Group A Strep Test Device Listing 702228 An Ivd Kit Used By Hospitals For Detection Of Group A Streptococcus Using A Sample Of Throat Swabs Or Bacterial Colonies | Manufacturer | Becton Dickinson Microbiology Systems Cockeysville Maryland | June 10 1999 | The Volpak Pouch Sealer Failed To Provide An Adequate Seal And The Qualipak Leak Tester Failed To Detect The Inadequate Seal | 1 230 Kits Were Distributed | Washington State Tennessee Florida Georgia Connecticut Utah Kentucky New Jersey Pennsylvania Indiana Alaska Illinois Minnesota Arkansas California Virginia District Of Columbia
1999-7-14 | Devices | II | z-1061/1063-9 | Quest Myocardial Protection System Mps A Sterile Single Use Prescription Device A Model No | Manufacturer | Quest Medical Inc | May 6 1999 | The Delivery Sets May Develop A Leak In The Main Pump Cassette During Use | 3 430 Units Were Distributed | Nationwide
1999-7-14 | Devices | II | z-1064/1065-9 | Ampilcor Hbv Monitor Tm Kit An Ivd Test That Utilizes Pcr Nucleic Acid Amplification And Dna Hybridization For The Detection And Quantitative Measurement For Hepatitis B Viral Dna In Human Serum Or Plasma A Catalog No | Roche Molecular Systems | Ab Sangtec Medical Bromma Sweden | February 8 1999 | The Is Values For The Standards Are Low Which Results In Hbv Is Od Ratios Which Are High And Outside Of The Kit Specified Acceptance Criteria Causing Invalid Runs | 91 Kits Were Distributed | New Jersey Pennsylvania Maryland North Carolina Indiana Michigan Texas California
1999-7-14 | Devices | III | z-1048-9 | Steris Process Biological Indicator The Kit Includes 20 Biological Indicators B | Manufacturer | Steris Corporation Mentor Ohio | August 26 1998 | Product Failed Stability Testing At Three 3 Months | 8 553 Kits Were Distributed | Nationwide And International
1999-7-14 | Devices | III | z-1057-9 code lot/serial nos | Kodak Digital Science Medical Film Eir 11 Laser Imaging Film Intended For Secondary Imaging Of Radiographs Packed 150 Sheets Per Box | Manufacturer | Eastman Kodak Company Health Imaging Division Rochester New York | April 26 1999 | The Film Was Exposed To Light During The Rewind Process And Has An Elevated Background Fog | 32 Cases 450 Sheets Per Case Were Distributed | Arizona Kansas North Carolina Nebraska Ohio Pennsylvania
1999-7-14 | Devices | III | z-1060-9 | Has A Dmin Of 0 | Manufacturer | Abbott Laboratories Abbott Park Illinois | June 29 1999 | The Architect Estradiol Reagents May Show Under Recovery Of Estradiol With Undiluted Patient Specimens | 245 400 Test Kits And 68 100 Test Kits Were Distributed | Nationwide And International
1999-7-14 | Devices | III | v-070-9 | S Class Ii Product Agri Cillin Penicillin G Procaine Injectable Suspension Usp Injectable Antibiotic In Aqueous Suspension 300 000 Units Per Ml Otc | Agri Laboratories | Norbrook Laboratories Ltd | May 26 1999 | Product Contains Glass Unidentified Foreign Material Fiber Clumps And Hair | 3 618 Bottles Were Distributed | Nebraska South Dakota California Idaho Oklahoma Ohio Texas Louisiana Kansas New York Colorado