## 1999-7-28
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-7-28 | Drugs | II | d-282-9 | Rowasa Rectal Suppositories Mesalamine 500 Mg In Cartons Of 12 24 And Physician Sample Of 2 S Rx Indicated For The Treatment Of Active Ulcerative Proctitis | Solvay Pharmaceuticals | G W Laboratories Plainfield New Jersey Contract Manufacturer | May 18 1999 | Dissolution Failure And Or Lack Of Assurance Of Stability Through Labeled Expiry Date | 307 137 Cartons Of 12 254 946 Cartons Of 24 And 100 281 Pyhysician Samples Were Distributed | Nationwide And Puerto Rico
1999-7-28 | Drugs | II | d-283-9 | M V I Pediatric | Astrazeneca Lp | Catalytica Pharmaceuticals Inc | July 2 1999 | Folic Acid And Vitamin B 12 Levels Below Potency Specification Prior To Expiration | 8 392 Were Manufactured Firm Estimated That 5 10 Percent Remained On Market At Time Of Recall Initiation | Nationwide
1999-7-28 | Drugs | II | d-184/285-9 | Nystatin Oral Suspension Usp 100 000 Units Per Ml Fruit Flavored Rx In 2 Ounce And 1 Pint Units Used For The Treatment Of Candidiasis Of The Oral Cavity Under The Morton Grove Ndc 60432 537 16 60432 537 60 And Schein Labels Ndc 0364 2075 58 B Generlac Solution Lactulose Solution Usp 10 G 15 Ml For Oral Or Rectal Administration Rx In One Pint 473 Ml Containers An Rx Oral Colonic Acidifier For The Prevention And Treatment Of Portal Systemic Encephalopathy Under The Morton Grove Label | Morton Grove Pharmaceuticals | A Morton Grove Pharmaceuticals Inc | June 14 1999 | Microbial Contamination Acinetobacter Baumanii | A 26 136 Pints And 50 263 2 Fluid Ounce Bottles Were Distributed B 21 105 Pints Were Distributed Firm Estimated That 10 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1999-7-28 | Drugs | II | d-286-9 | Prednisolone Acetate Ophthalmic Suspension Usp Sterile 1 In 10 Ml Units Under The Alcon Ndc 0998 0637 05 And Falcon Ndc 61314 637 10 Labels | Alcon Laboratories | Alcon Puerto Rico Inc | June 3 1999 | Loose Clumping Agglomeration Of Active Ingredient | 64 175 Units Were Distributed | Nationwide
1999-7-28 | Drugs | II | d-287/289-9 | Atenolol Tablets Usp Packaged In A 25 Mg B 50 Mg C 100 Mg | Wyeth Ayerst Laboratories | Wyeth Ayerst Pharmaceuticals Inc | June 16 1999 | Content Uniformity Failure | 583 586 Bottles Were Distributed August 1997 To May 1999 As Follows A 25 Mg 347 824 Bottles Total 330 463 Bottles Of 100 And 17 361 Bottles Of 1000 B 50 Mg 196 773 Bottles Total 126 098 Bottles Of 100 And 70 675 Bottles Of 1000 C 100 Mg 38 989 Bottles Total 33 919 Bottles Of 100 And 5 070 Bottles Of 1000 | Nationwide Puerto Rico Virgin Islands Taiwan
1999-7-28 | Biologics | II | b-1006/1007-9 | A Red Blood Cells B Platelets | Manufacturer | Aurora Area Blood Bank Aurora Illinois | May 18 1999 | Blood Products Tested Negative For The Antibody To The Human T Lymphotropic Virus Type I And Ii Anti Htlv I Ii But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Htlv 1 Ii Product A Red Blood Cells B Platelets C Recovered Plasma | 1 Unit Of Each Component Was Distributed | Illinois
1999-7-28 | Biologics | II | b-1019/1021-9 | S Were Collected From A Donor Who Had Used Injectable Drugs | Manufacturer | American Red Cross Blood Services Portland Oregon | March 24 1999 | Blood Products Were Collected From A Donor Whose Husband Had Sex With Another Male | 1 Unit Of Each Component Was Distributed | Arizona Washington State Switzerland
1999-7-28 | Biologics | II | b-1029/1032-9 | A Red Blood Cells B Platelets C Source Leukocytes D Recovered Plasma | Manufacturer | American Red Cross Blood Services Rochester New York | December 11 1997 | Blood Products Were Incorrectly Tested For Syphilis | A 3 Units B 1 Unit C 3 Units D 2 Units Were Distributed | New York Georgia New Jersey California
1999-7-28 | Biologics | II | b-1036/1037-9 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Huntington West Virginia | March 2 1999 | Blood Products Were Collected From A Donor With A History Of Cancer | 1 Unit Of Each Component Was Distributed | West Virginia And California
1999-7-28 | Biologics | II | b-1041-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Madison Wisconsin | November 18 1998 | Blood Products Were Prepared From Overweight Units Of Whole Blood | 3 Units Were Distributed | Illinois And Oklahoma
1999-7-28 | Biologics | II | b-1048/1051-9 | A Red Blood Cells B Red Blood Cells Leukocytes Removed C Platelets D Cryoprecipitated Ahf | New York Blood Center | New York Blood Services Center West New York New York | September 8 1998 | Blood Products Initially Tested Negative For The Hepatitis B Core Antigen Anti Hbc But Retrospectively Tested Repeatedly Reactive For Anti Hbc | A 6 Units B 1 Unit C 2 Units D 2 Units Were Distributed | New York
1999-7-28 | Biologics | II | b-1053-9 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Rochester New York | July 2 1998 | Blood Products Had Insufficient Volumes To Support The Platelet Yields | 2 Units Were Distributed | New York
1999-7-28 | Biologics | II | b-1054/1056-9 | A Red Blood Cells B Platelets C Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | December 3 1998 | Blood Products Were Collected From A Donor Who Had Received An Experimental Vaccine Within One Year Of Donation | 1 Unit Of Each Component Was Distributed | Maryland And District Of Columbia
1999-7-28 | Biologics | III | b-998-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Portland Oregon | April 7 1999 | Blood Products Were Labeled With An Extended Expiration Date | 17 Units Were Distributed | Oregon Washington State Massachusetts
1999-7-28 | Biologics | III | b-999-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Portland Oregon | April 9 1999 | Blood Product Was Collected From A Donor Who Was Previously Deferred For An Elevated Alt | 1 Unit Was Distributed | California
1999-7-28 | Biologics | III | b-1052-9 | Platelets | Manufacturer | American Red Cross Blood Services Rochester New York | November 16 1998 | Blood Product Was Distributed After Receipt Of Information Concerning A Post Donation Illness | 1 Unit Was Distributed | New York
1999-7-28 | Devices | II | z-1041-9 | Via Low Volume Mode Lvm Monitor An In Line Beside Medical Device Used On Volume Restricted Patients | Manufacturer | Via Medical Corporation San Diego California | May 21 1999 | The Device Has A Software Problem That Can Cause The Monitor Under Unusual Circumstances To Display And Print A Chemistry Value From A Previous Sampling Instead Of The Blood Chemistry Value From The Current Sampling | 59 Units Were Distributed | California Iowa Missouri New Jersey Texas
1999-7-28 | Devices | II | z-1073/1074-9 | Advia 120 Hematology System A Quantitative Automated Hematology Analyzer That Provides A Leukocyte Differential Count And Reticulocyte Analysis For In Vitro Diagnostic Use In Clinical Laboratories A Catalog 453 0024 03 B Catalog 453 0024 04 | Bayer Corporation | Bayer Diagnostics Mfg | April 30 1999 | When Running The Advia 120 System In The Manual Mode Using The Host Query Feature And The Timeout Is Set To 13 Second It Is Possible For The System To Report Incorrect Patient Results | Approximately 1 000 Units | Nationwide And International
1999-7-28 | Devices | II | z-1075/1076-9 | Labeling Instructs Users To Verify That The Correct Sample Identification Number Appears On The Status Line Before Using Either Of The Manual Samplers | Bayer Corporation | Bayer Diagnostics Mfg | June 15 1999 | The Sample Needle Can Be Activated While The System Is In Stand By Mode During Needle Chamber Cleaning Procedure | Approximately 1 000 Units | Nationwide And International
1999-7-28 | Devices | II | z-1085/1086-9 | Labeling Warns That The System Must Be Either Off Or In The Stand By Mode To Perform Routine Maintenance Or Personal Injury From The May Occur | Manufacturer | Perclose Inc | July 8 1999 | The Needle Tips May Be Misaligned During Deployment | 55 794 Units Were Distributed | Nationwide And International
1999-7-28 | Devices | II | z-1088/1089-9 | Viscoelastic Systems Indicated For Use As A Surgical Aid In Anterior Segment Procedures Including Cataract Extraction And Intraocular Lens Implantation A Viscoat Viscoelastic Solution Catalog No | Manufacturer | Alcon Puerto Rico Inc | June 18 1999 | The Product Labeling Refers To A Viscoat Cannula Locking Ring Which Is Not Present In All Packages | 36 390 Units Were Distributed | Nationwide
1999-7-28 | Devices | II | z-1094-9 | Sterile Micro Kover For Wild With Or Without Observer Tubes And Photographic System Part 09 Mk 953 40 | Manufacturer | Advance Medical Designs Inc | June 2 1999 | The Lot Contained Open Package Seals Thereby Compromising The Sterility Of The Device | 420 Units Were Distributed | New York Tennessee Australia Portugal
1999-7-28 | Devices | II | z-1095-9 | Sterile Micro Kover For Wild Part No | Manufacturer | Advance Medical Designs Inc | June 2 1999 | The Lot Contained Open Package Seals Thereby Compromising The Sterility Of The Device | 375 Units Were Distributed | Montana New Jersey Texas Canada
1999-7-28 | Devices | II | z-1096-9 | Sterile Custom Kover Part No | Manufacturer | Advance Medical Designs Inc | June 2 1999 | The Lots Contained Open Package Seals Thereby Compromising The Sterility Of The Device | 925 Units Of Lot 07267 C 0572 And 800 0797 C 1076 Units Of Lot Were Distributed | Alabama And North Dakota
1999-7-28 | Devices | II | z-1098/1104-9 | Modified Leveen Needle Electrode For Use In Coagulation Necrosis Of Soft Tissue Model Numbers Le 212 Le 215 Le 312 Le 315 Le 3512 Le 3515 Le 3525 | Manufacturer | Radiotherapeutics Corporation Mountain View California | June 30 1999 | Sterility May Be Compromised As Evidenced By A Loss Of Package Integrity | 2 139 Units Were Distributed | Nationwide And International
1999-7-28 | Devices | III | z-1070/1071-9 | Bayer Immuno I Automated Clinical Analyzer Reagents A Carbamazepine Parameter Intended To Measure Carbamazepine An Anticonvulsant Drug In Serum Or Plasma B Valproic Acid Parameterm Intended To Measure Valproic Acid An Anticonvulsant Durg In Human Serum Or Plasma | Bayer Corporation | Dade Behring San Jose California | April 1 1999 | The Above Lots Do Not Meet The On System Stability Claim | A 3 630 B 3 561 Were Distributed | N/A
1999-7-28 | Devices | III | z-1072-9 | Bayer Technicon Setpoint Chemistry Calibrator Intended For In Vitro Diagnostic Use | Bayer Corporation | Bayer Corporation Business Group Diagnostics Middletown Virginia | June 22 1999 | During Review Of The Value Assignment Procedure It Was Learned That The Operator Manually Entered Intercept Corrected Setpoint Values Into An Excel Spreadsheet Rather Than Letting The Spreadsheet Calculate The Corrections From The True Setpoint | Approximately 3 767 Units Were Distributed | Michigan Massachusetts Missouri New York Pennsylvania International
1999-7-28 | Devices | III | z-1087-9 | Bayer Dca 2000 Microalbumin Creatinine Intended For Professional Use In The Measurement Of Microalbumin Creatinine And Albumin Creatinine Ratio In Urine | Bayer Corporation | Bayer Corporation Business Group Diagnostics Mishawaka Indiana | June 16 1999 | The Above Lot Can Produce Erratic Results High And Low For Both Albumin Creatinine And The Ratio Of Albumin To Creatinine | 688 Units Were Distributed | California Colorado Michigan Texas International
1999-7-28 | Devices | III | z-1090/1091-9 | Vitros 250 Chemistry System Used To Perform Clinical Tests On Serum Urine And Cerebral Spinal Fluid Specimens A Catalog No | Manufacturer | Ortho Clinical Diagnostics Rochester New York | February 24 1999 | The Devices May Give Negatively Biased Results For Digoxin Phenytoin And C Reactive Protein | Approximately 3 886 Units Were Distributed | Nationwide And International
1999-7-28 | Devices | III | z-1092/1093-9 | Titanium Flexible Humeral Nail A Part Nos | Synthes Usa | Synthes Usa West Chester Pennsylvania | November 19 1998 | The Central Wires May Be Undersized Which Could Cause Disengagement At The Proximal End | 538 Units | Alabama California Maryland Minnesota North Carolina Oregon Washington State Canada Switzerland