## 2000-03-22
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-03-22 | Drugs | III | d-251-0 | Voltaren R Xr Extended Release Tablets Diclofenac Sodium 100 Mg In 100 Count Bottles Rx Used For Chronic Therapy Of Osteoarthritis And Rheumatoid Arthritis And For The Treatment Of Ankylosing Spondylitis | Novartis Pharmaceuticals Corporation | Novartis Pharma Ag Stein Switzerland Bulk | December 29 1999 | Dissolution Failure Release Rate At 4 And 8 Hour Time Period S | 9 750 Bottles Were Distributed | Nationwide
2000-03-22 | Drugs | III | d-250-0 | Antacid Calcium Regular Strength 500 Mg Otc In 150 Tablet Bottles | Manufacturer | A Z Pharmaceutical Inc | November 4 1999 | Mislabeling Supplement Facts Labeling Panel Incorrectly Lists Calcium Level Per Serving At 4000 Mg | 10 336 Bottles Of Lot 9 D 02410 And 3 510 Bottles Of Lot 9 K 02413 Were Distributed | Nationwide
2000-03-22 | Drugs | III | d-252-0 | Oxygen Usp Compressed In Size H Cylinders | Manufacturer | Air Products Chemicals Inc | January 26 2000 | Mislabeling Incorrect Lot Number | 20 Cylinders Were Distributed | Puerto Rico
2000-03-22 | Drugs | III | d-253-0 | Decadron R Phosphate Injection Dexamethasone Sodium Phosphate Usp 4 Mg Per 5 Ml Injection Rx | Manufacturer | Merck And Company West Point Pennsylvania | February 17 2000 | Product Degradation At 12 Month Stability Single Degradate | 51 691 Vials Were Distributed | Nationwide And Canada
2000-03-22 | Biologics | II | b-454-0 | Corneas | Manufacturer | Lions Medical Eye Bank And Research Center Of Eastern Virginia Norfolk Virginia | February 22 1999 | Corneas Collected From Donors Who Tested Repeatedly Reactive For Either The Antibody To The Hepatitis B Core Antigen Anti Hbc Hbsag Or Anti Htlv I Ii Or Hiv P 24 Antigen Which Was Not Confirmable By Pcr | 29 Corneas | Virginia Illinois Florida South Carolina Missouri Georgia North Carolina South Dakota Texas Minnesota Ohio Washington State Nebraska California And International
2000-03-22 | Biologics | II | b-508/509-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Cleveland Ohio | November 15 1999 | Blood Products Were Collected From A Donor With A History Of Hepatitis A And Jaundice | 1 Unit Was Distributed | Ohio And California
2000-03-22 | Biologics | II | b-510/511-0 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Boise Idaho | December 21 1999 | Blood Products Were Collected From A Donor Who Had Traveled To An Area Designated As Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Utah
2000-03-22 | Biologics | II | b-512/514-0 | A Red Blood Cells B Red Blood Cells Leukocytes Reduced C Platelets Pooled | Manufacturer | Puget Sound Blood Center And Program Seattle Washington | September 8 1999 | Blood Products Were Collected From A Donor Who Lived In An Area Designated As Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Washington State
2000-03-22 | Biologics | III | b-455-0 | Corneas | Manufacturer | Lions Medical Eye Bank And Research Center Of Eastern Virginia Norfolk Virginia | February 22 1999 | Corneas Collected From Donors Who Tested Repeatedly Reactive For Either The Antibody To The Hepatitis B Core Antigen Anti Hbc Hbsag Or Anti Htlv I Ii Or Hiv P 24 Antigen Which Was Not Confirmable By Pcr | 7 Corneas | Virginia Illinois Florida South Carolina Missouri Georgia North Carolina South Dakota Texas Minnesota Ohio Washington State Nebraska California And International
2000-03-22 | Biologics | III | b-540-0 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Dedham Massachusetts | August 26 1999 | An Overweight Unit Of Red Blood Cells Was Distributed | 1 Unit | New Hampshire
2000-03-22 | Devices | II | z-426/427-0 | Elecsys Troponin T Immunoassay For The In Vitro Quantitative Determination Of Troponin T In Human Serum And Plasma A Catalog 2017423 Elecsys Tronponin T Stat Immunoassay 100 Tests B Catalog 2017644 Elecsys Tronponin T Immunoassay 100 Test | Roche Diagnostics Corporation | Roche Diagnostics Corporation Germany | December 13 1999 | The Devices May Give Test Results Lower Than Actual Troponin T Results When Heparinized Plasma Samples Are Used | Approximately 13 000 Units | Nationwide
2000-03-22 | Devices | II | z-444/446-0 | Strep A Tests An In Vitro Diagnostic Medical Device Intended For The Qualitative Detection Of Group A Streptococcal Antigen From Throat Swabs Or Confirmation Of Presumptive Group A Streptococcal Colonies Recovered From Culture A Osom Strep A Test Brand For Wyntek B Signify Strep A Test Brand For Abbott Labs | Manufacturer | Wyntek Diagnostics Inc | February 10 2000 | The Devices May Sporadically Show Color Trace With The Negative Control Producing A False Positive Reading On An External Negative Control | Osom 50 Count 1 565 Osom 10 Count 33 Signify 20 435 Acceava 50 Count 13 695 Acceava 10 Count 250 Were Distributed | The Osom Product Name Was Distributed Nationwide
2000-03-22 | Devices | II | z-447/448-0 | Blood Collection Reservoirs Indicated For Use With Patients Undergoing Cardiopulmonary Bypass Or Autotransfusion Procedures A Blood Collection Reservoirs Models El 240 And El 2120 B Cardiotomy Reservoirs Models El 400 El 402 And El 404 | Medtronic Perfusion Systems | Medtronic Mexico S | March 8 2000 | There Are Holes In Some Of The Sterile Packages | 380 477 Units Were Distributed Firm Estimated That 5 000 Units Remained On Market At Time Of Recall Initiation | Nationwide And International
2000-03-22 | Devices | III | z-443-0 | Light Diagnostics Simulfluor Hs Vzv Immunofluorescence Assay Intended For The Simultaneous Detection And Identification Of Herpes Simplex Hsv 1 And 2 And Varicella Zoster Virus Vzv Form Patients With Vesicular Oral Or Skin Lesions Using Direct Specimens And Culture Confirmation | Light Diagnostics | Chemicon International Inc | February 16 2000 | Labeling Error The Primary Reagent Labeled In Part Simuflour Hsv Vzv Exp 12 00 Should Bear The Expiration Date 02 01 As Indicated On The Box End Label | 12 Kits Were Distributed | Arizona California Connecticut Florida Kansas Maryland United Kingdom Canada Switzerland