## 2000-03-29
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-03-29 | Biologics | II | b-515/517-0 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American Red Cross Blood Services Louisville Kentucky | December 8 1999 | Blood Products Were Collected From A Donor With A History Of Having Tested Positive For Hepatitis | A 2 Units B 1 Unit C 2 Units Were Distributed | Kentucky Indiana California
2000-03-29 | Biologics | II | b-518/520-0 | A Red Blood Cells B Cryoprecipitated Ahf C Recovered Plasma | Manufacturer | American Red Cross Portland Oregon | November 16 1999 | Blood Products Were Collected From A Donor With A History Of Exposure To Hepatitis | 1 Unit Of Each Component Was Distributed | Oregon California Switzerland
2000-03-29 | Biologics | II | b-524-0 | Red Blood Cells Leukocytes Removed | Manufacturer | Blood Centers Of The Pacific San Francisco California | May 1 1998 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | California
2000-03-29 | Biologics | II |  | A Red Blood Cells B Platelets | Manufacturer | Community Blood Center Dayton Ohio | October 14 1999 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | A 2 Units B 1 Unit | Ohio
2000-03-29 | Biologics | III | b-497-0 | Fenwall Sepacell Pls 10 A Leukocyte Reduction Filter For Platelets | Baxter Healthcare Corporation | Baxter S | October 18 1999 | Filters Used For Leukocyte Reduction Of Platelets Were Assembled With The Filter Inverted | 4 284 Units Were Distributed | Nationwide
2000-03-29 | Biologics | III | b-521-0 | Cryoprecipitated Ahf | Manufacturer | American Red Cross Portland Oregon | November 5 1999 | Blood Product Was Prepared From A Unit Of Whole Blood With An Extended Collection Time | 1 Unit Was Distributed | California
2000-03-29 | Biologics | III | b-522-0 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Missoula Montana | February 4 1999 | Blood Product Was Stored At Unmonitored Temperatures | 1 Unit Was Distributed | Idaho
2000-03-29 | Biologics | III | b-547-0 | Olympus Pk Cmv Pa System Control Set | Manufacturer | Scimedx Corporation Denville New Jersey | May 4 1999 | Reagent Test Kit Controls Exhibit False Positive Results When Used With The Olympus Pk Cmv Pa Test Systems | 66 Kits Were Distributed | Nationwide And Canada
2000-03-29 | Devices | II | z-449-0 | Literature For Biosorb Fx 2 | Bionx Implants | Bionx Implants Ltd | September 20 1999 | Device Is Labeled For Unintended Use | 2 550 Units Were Distributed | Of Literature And Any Copies Remaining In Sales Representatives Stock Were Removed And Any Copies Remaining In Distributors Stock Will Be Returned
2000-03-29 | Devices | II | z-452/453-0 | Implantable Cardiovascular Defibrillators Used To Detect Ventricular Arrhythmias And Deliver Therapy For The Detected Arrhythmia | Medtronic | Medtronic Inc | February 11 2000 | A Fracture Of A Soldered Connection In The Devices Could Result In Loss Of Telemetry And Device Output | 1 628 Defibrillators Were Distributed From December 1998 To November 1999 | Model 7229 Cx Pjj 200000 H Pjj 200001 H Pjj 200002 H Pjj 200021 H Pjj 200024 H Pjj 200025 H Pjj 200026 H Pjj 200027 H Pjj 200034 H Pjj 200035 H Pjj 200036 H Pjj 200037 H Pjj 200039 H And Pjj 200040 H
2000-03-29 | Devices | II | z-454/461-0 | Various Heart Valves And Annuloplasty Rings A St | Manufacturer | St | January 21 2000 | There Is A Statistically Significant Higher Rate Of Paravalvular Leaks With The Silver Ion Silzone Coated Sewing Cuffs Leading To Valve Explants | 47 283 Mechanical Heart Valves 963 Epic Porcine Valves And 3 083 Annuloplasty Rings Were Distributed | Nationwide And International
2000-03-29 | Devices | II | z- 462/463-0 | Alycon Analyzers Automated Chemistry Analyzers For In Vitro Diagnostic Use A Alycon Analyzer 300 B Alycon Analyzer 300 I | Manufacturer | Abbott Laboratories Inc | January 13 2000 | Software Program Errors Cause Incorrect Association Between Patient And The Patient Results | 535 Analyzers Distributed In The United States From 5 1 98 To 12 1 99 | Nationwide And Puerto Rico
2000-03-29 | Devices | II | z-464/465-0 | Cobas Integra Ammonia Nh 3 L Cassettes Contains An In Vitro Diagnostic Reagent Intended For Use On Cobas Integra 400 And 700 For The Quantitative Determination Of The Ammonia Concentration In Plasma A Catalog 0766682 B Catalog 0737453 | Roche Diagnostics Corporation | Roche Diagnostics Gmbh Mannheim Germany | February 9 2000 | Lithium Heparin Plasma May Give Erratic Results Compared To Edta Plasma Using The Ammonia Assay | Undetermined | Nationwide
2000-03-29 | Devices | II | z-469/470- 0 | Ventak Prism Automatic Implantable Cardioverter Defibrillator Vr Models 1850 And 1855 And Dr Models 1851 And 1856 | Manufacturer | Guidant Corporation St | February 13 2000 | Defect In An Integrated Circuit That Can Result In Device Failure | 364 Units | Nationwide Australia Canada Israel New Zealand Europe
2000-03-29 | Devices | III | z-450/451-0 | Software For Pulmonary Function Testing System A Breezepf V 3 | Manufacturer | Medical Graphics Corporation St | January 8 2000 | An Anomaly Has Been Discovered In The Software That Can Cause Confusion On The Selection Of Which Fev 1 Fvc Ratio Is Selected For Diagnostic Reporting | 657 Software Disks Were Distributed | Nationwide And International
2000-03-29 | Devices | III | z-466-0 | Vdrl Venteral Disease Research Laboratory Test Kit 5 | Manufacturer | Avanti Polar Lipids Inc | February 1 2000 | The Device Was Labeled With An Incorrect Expiration Date | 2 Test Kits Were Distributed | Minnesota
2000-03-29 | Devices | III | z-467/468-0 | Steri Oss Hl Threaded Implant Ha Coated Endosseous Dental Implant Part 5612 Hl 5 Mm X 12 Mm B Part 4610 Hl 4 | Manufacturer | Nobel Biocare Usa Inc | January 19 2000 | Healing Screws Were Mismatched Between The Two Sizes During Production Assembly | A 144 Units B 26 Units Were Distributed | Nationwide Japan Argentina South Korea Hong Kong