## 2000-11-22
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-11-22 | Drugs | I | d-026-1 | Rich's Msm Eye And Ear Drops Methylsufonylmethane In 1 Ounce Bottles | Manufacturer | Rich Distributing Portland Oregon | August 1 2000 | Microbial Contamination Pseudomonal Fluorescens | Undetermined | Nationwide And International
2000-11-22 | Drugs | I | d-027-1 | Tia Cutz Capsules Thyroid Stimulator 1000 Mcg Tiratricol In 90 Count Containers Otc Indicated For Use In Weight Loss And In Conditions Of Obesity | Gentech Llc | Ultra Health Products Phoenix Arizona | May 18 2000 | Product Is An Unapproved New Drug | 1 569 Bottles Were Distributed Firm Estimates None Remains On The Market | Nationwide
2000-11-22 | Drugs | I | d-028-1 | Sterile Talc Powder In 100 Ml Vials Used To Treat Malignant Pleural Effusion Mpe | Bryan Corporation | Sciarra Laboratories Hicksville New York | September 11 2000 | Non Sterile Product | Lot 9 H 010 545 Cases 10 Each 4 Each Lot 9 K 012 847 Cases 10 Each 119 Each Estimated At Approximately 5 568 Cases Of The Remaining 8 Lots Were Distributed | Began Lot Number 10 14 97 2 Yr
2000-11-22 | Drugs | I | d-029/030-1 | A Eyewash Emergency Eye Face Body Wash Eyewash Concentrate And Normal Saline As Follows Lavoptik Brand Manufactured By H | Manufacturer | H L Bouton Company | September 28 2000 | Microbial Contamination Bulkholderia Cepacia | 40 000 50 000 Units Were Distributed | Nationwide
2000-11-22 | Drugs | II | d-015-1 | Heparin Sodium Injection Usp 5000 Usp Units Per 0 | Amerisource Health Services Corporation | Wyeth Ayerst Laboratories Philadelphia Pennsylvania Responsible Firm | September 26 2000 | Lack Of Assurance Of Sterility | 60 Bags 1 500 Vials Were Distributed | Ohio New Jersey Tennessee Florida Minnesota Kentucky
2000-11-22 | Drugs | II | d-016-1 | Zagam R Tablets Sparfloxacin 200 Mg In 55 Count Bottles Rx Broad Spectrum Antimicrobial Agent | Bertek Pharmaceuticals | Aventis Pharma Ltd | June 1 2000 | Dissolution Failure 6 Months Stability Station Testing | 105 Bottles Were Distributed Firm Estimates None Remains On The Market | Nationwide
2000-11-22 | Drugs | II | d-018/019-1 | A Meperidine Hcl Injection Usp 75 Mg Per Ml 1 Ml Fill In 2 Ml Size Used For The Relief Of Moderate To Severe Pain Preoperative Medication Support Of Anesthesia And Obstetrical Analgesia | Manufacturer | Wyeth Ayerst Laboratories West Chester Pennsylvania | September 18 2000 | Current Good Manufacturing Practice Deviations Lack Of Assurance Of Sterility | A 350 490 Tubexes B 186 390 Tubexes Were Distributed | Nationwide
2000-11-22 | Drugs | III | d-010-1 | Allegra R Tablets Fexofenadine Hcl 60 Mg Physician Sample Units Rx For The Releif Of Symptoms Associated With Seasonal Allergic Rhinitis In Adults And Children 6 Years Of Age And Older And For The Treatment Of Uncomplicated Skin Manifestations Of Chronic Idiopathic Urticaria In Adults And Children 6 Years Of Age And Older | Manufacturer | Aventis Pharmaceuticals Inc | June 28 2000 | Mislabeling The Label Bears Unapproved Dosage Instructions For Patients Other Than Adults | 207 878 30 2 Tablet Card Boxes Were Distributed | Nationwide
2000-11-22 | Drugs | III | d-014-1 | Estratab R Tablets Esterified Estrogens Tablets Usp 2 | Solvay Pharmaceuticals | Solvay Pharmaceuticals Baudette Minnesota | August 23 2000 | Firm Withdrawal Of Application Stability Data | 16 418 Units Were Distributed | Nationwide
2000-11-22 | Drugs | III | d-017-1 | Nortriptyline Hydrochloride Capsules Usp 25 Mg In 500 Count Bottles Rx | Manufacturer | Danbury Pharmacal Of Puerto Rico Inc | September 12 2000 | Dissolution Failure Stability | 6 756 Bottles Were Distributed | Nationwide
2000-11-22 | Drugs | III | d-020/022-1 | Pipracil Rx Indicated For The Treatment Of Serious Infections Caused By Susceptible Strains Of Designated Organisms Zosyn 3 Gram 0 | Wyeth Ayerst Laboratories | Lederle Piperacillin Inc | October 13 2000 | Vial Breakage | Approximately 21 422 Units Were Distributed Between July 1999 September 2000 Pipracil 3 Gram 5 022 Units Pipracil 4 Gram 15 566 Units And Zosyn 5 424 Units | Nationwide
2000-11-22 | Drugs | III | d-023-1 | Pueblo Xtra Brand Isopropyl Alcohol 70 Rubbing Alcohol In 16 Fluid Ounce Bottles | Manufacturer | Omega Inc | October 3 2000 | Mislabeling Product Bears Both The Correct Label Strength Of 70 And An Incorrect Label Declaration Of 50 | 7 200 Units Were Distributed | Puerto Rico
2000-11-22 | Drugs | III | d-024/025-1 | A Duphalac R Lactulose Solution Usp 10 G 15 Ml In 8 16 And 32 Fluid Ounce Units B Duphalac R Lactulose Solution Usp 20 G 30 Ml In 30 Ml Unit Dose Cups | Solvay Pharmaceuticals | Solvay Pharmaceuticals Inc | August 23 2000 | Firm Withdrawal Of Application Stability Data | 1 814 103 Units Were Distributed | Nationwide
2000-11-22 | Biologics | II | b-177/181-1 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Recovered Plasma | Manufacturer | Central Kentucky Blood Center Lexington Kentucky | August 23 2000 | Blood Products Were Collected From A Donor Who Traveled To An Hiv Group O Risk Area | A 5 Units B 1 Unit C 2 Units D 3 Units E 3 Units Were Distributed | Kentucky And Maryland
2000-11-22 | Biologics | II | b-243/252-1 | A Red Blood Cells B Red Blood Cells Leukoreduced C Platelets D Cryoprecipitated Ahf E Fresh Frozen Plasma F Plasma Cryoprecipitate Removed G Platelets For Use In Manufacturing Non Injectable Products H Recovered Plasma For Manufacturing Non Injectable Use I Recovered Plasma J Red Blood Cells For Manufacturing Use Only | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | June 15 1999 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Or Anti Hiv 1 2 | 59 Units B 6 Units C 48 Units D 11 Units E 27 Units F 4 Units G 8 Units H 23 Units I 38 Units J 1 Unit Distributed | N/A
2000-11-22 | Biologics | II | b-284/289-1 | A Red Blood Cells B Red Blood Cells Leukocytes Reduced C Platelets Pooled D Platelets Pheresis Leukocytes Reduced E Fresh Frozen Plasma F Recovered Plasma | Manufacturer | The Blood Center Of Southeastern Wisconsin Inc | August 15 2000 | Blood Products Were Collected From A Donor Having Been Diagnosed With Sarcoidosis | A 3 Units B 1 Unit C 1 Unit D 1 Unit E 1 Unit F 2 Units Were Distributed | Wisconsin And Switzerland
2000-11-22 | Biologics | II | b-290-1 | Platelets Pheresis Leukocytes Reduced | Manufacturer | The Blood Center Of Southeastern Wisconsin Inc | August 11 2000 | Blood Products Had Unacceptable Platelet Counts | 8 Units Were Distributed | Wisconsin
2000-11-22 | Biologics | II | b-299-1 | Indicator Red Cells | Manufacturer | Immucor Inc | May 12 2000 | Indicator Red Cells Exhibited Loss Of Anti Igm Activity | 405 Test Kits Were Distributed | Nationwide Canada Italy Spain
2000-11-22 | Biologics | III | b-220-1 | Source Plasma | Community Bio Resources | Community Bio Resources Inc | December 22 1998 | Blood Product Was Collected From A Donor Who Had A Hepatitis B Immunization One Day Prior To The Date Of Donation | 1 Unit Was Distributed | Austria
2000-11-22 | Biologics | III | b-293/294-1 | A Platelets B Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Detroit Michigan | July 23 1998 | A Unit Of Red Blood Cells Implicated In A Transfusion Reaction Was Found To Be Contaminated With Gram Positive Cocci | 1 Unit Of Each Component Was Distributed | Michigan
2000-11-22 | Biologics | III | b-298-1 | S Were Distributed | Manufacturer | Immucor Inc | May 12 2000 | Reactive Control Serum Exhibit Loss Of Reactivity | 585 Test Kits Were Distributed | Nationwide Italy Spain Republic Of Georgia
2000-11-22 | Biologics | III | b-300-1 | Reagent Red Blood Cells Panocell 10 Ficin Treated | Manufacturer | Immucor Inc | July 29 1998 | Ficin Solution Have A Shorter Expiration Date Than The Accompanying Reagent Red Blood Cells | 197 Sets Were Distributed | Nationwide Canada Italy Germany
2000-11-22 | Devices | II | z-001-1 | Hydrajust Iv Urological Table | Mallinckrodt | Mallinckrodt Inc | June 12 2000 | A Mechanical Failure May Allow The Table And Tube Arm To Freely Rotate Downward And Injure A Patient | 450 Units Were Distributed | Nationwide And International
2000-11-22 | Devices | II | z-027-1 | Steri Oss Brand Non Hexed Cylindrical Implants Endosseous Implants Ha Coated 3 | Manufacturer | Nobel Biocare Usa Inc | August 16 2000 | Some Of The Inner Vial Labels Were Incorrectly Placed On The 3 | 59 Units Were Distributed | California Florida Kentucky Louisiana Ohio New Jersey New York Utah
2000-11-22 | Devices | II | z-028/029-1 | Ecg Electrodes Intended For Use During Electrocardiographic Procedures A Invisatrace 1680 Radiotranslucent Clear Tape Ecg Electrode Sold As Follows Catatalog 1680 001 1 Per Pouch 30 Per Box 600 Per Case Catatalog 1680 005 5 Per Pouch 50 Per Box 600 Per Case Cat | Conmed Corporation | Conmed Corporation Rome New York | September 20 2000 | Some Electrodes In These Lots May Exhibit A Separation Of The Sensing Element From The Body Of The Electrode Causing The Electrode Not To Function | A 737 Cases B 1 911 Cases | Nationwide Australia Canada Germany Japan The Netherlands Spain Taiwan
2000-11-22 | Devices | II | z-030-1 | Escort E 300 Series Patient Monitor Intended Use Is As An Electrocardiograph And Respiration Monitor | Manufacturer | Medical Data Electronics Arleta Georgia | July 7 2000 | It Is Possible For The High Breath Rate Alarm To Function Incorrectly Under Certain Conditions | 483 Units Were Distributed | Nationwide Belgium Canada Czech Republic England Finland France Greece Hong Kong India Italy Korea Kuwait Netherlands Norway Russia South Africa Sweden Switzerland Taiwan Roc Turkey United Arab Emirates United Kingdom
2000-11-22 | Devices | II | z-031/035-1 | Pulse Generators Intended For The Treatment Of Bradycarcdia A Meta Ddr Model No | St Jude Medical | Teletronics Pacing Systems Miami Lakes Florida | N A | Dendritic Growth At The Battery Hybrid Connection Could Cause A Short Circuit Which In Turn Could Result In Premature Battery Depletion | 10 345 Devices Were Distributed | Nationwide And International
2000-11-22 | Devices | II | z-038-1 | Thoracentesis Paracentesis Kits Sterile Catalog Tpk 1001 Intended Use Is To Perform Thoracemtesis And Paracemtesis Procedures Using A Needle To Remove Thoracic Fluid | Manufacturer | Allegiance Healthcare Corporation El Paso Texas | September 8 2000 | Unsterilized Kits Labeled As Sterile | 156 Kits Were Distributed | Nationwide
2000-11-22 | Devices | II | z- 039/040-1 | Cryovalve Allograft Human Heart Valve Replacement Implant | Manufacturer | Cryolife Inc | July 21 2000 | Donors Did Not Meet Current Guidelines Regarding Serodilution Of Plasma Because Of The Amount Of Transfused Infused Fluids | 5 Valves Were Distributed | Pennsylvania Texas Maryland California Kentucky
2000-11-22 | Devices | II | z-041- 1 | Custom Procedure Trays For Use In Cardiopumonary Bypass | Manufacturer | Edwards Life Science L | July 19 2000 | The Sterility Of The Product Cannot Be Assured Due To Reports Of Some Open Seals | Firm Estimates None Remains On The Market | Alabama Arkansas Arizona California Colorado Connecticut Florida Illinois Indiana Kentucky Maryland Michigan Missouri North Carolina New York Ohio Pennsylvania Tennessee Texas Washington State District Of Columbia
2000-11-22 | Devices | II | z- 048/049-1 | A Sdl Fl 10 20 Series Fiber Laser B Sdl Fd 25 Fiber Coupled Laser Systems Diode Laser Systems Used As Laser Marking Systems | Manufacturer Fda Approved The Firm's Corrective Action Plan On November 2 | Sdl Inc | November 2 2000 | The Laser Product Failed To Comply With The Federal Laser Product Performance Standard 21 Cfr 10 40 | A 293 Units B 40 Units Were Distributed | Nationwide And International
2000-11-22 | Devices | II | z-050/058-1 | Various Models Of Sscor Powered Suction Pumps Used Exclusively By Professional Personnel Trained In The Techniques Of Constant Suctioning To Clear The Airway By Removing Bodily Fluids And Particulate Matter A Suction Unit Model No | Manufacturer | Sscor Inc | June 28 2000 | Presence Of Hairline Cracks In The Plastic Fuse Holders Which House A Fuse Required To Recharge The Suction Unit | 6 354 Units Were Distributed | Nationwide Mexico Canada Philippines Chili
2000-11-22 | Devices | III | z-037-1 | Cardiac T Rapid Assay Catalog 5740200 Intended For Use In The Qualitative Determination Of Cardiac Troponin T In Anticoagulated Venous Or Arterial Whole Blood | Roche Diagnostics Corporation | Roche Diagnostics, GmbH | September 29 2000 | Sodium Fluoride Interferes With The Assay And Results In Falsely Low Values | Undetermined | Nationwide
2000-11-22 | Devices | III | z-042/043-1 | A) Cardiac M Assay Catalog 1893840 Intended For Use With The Cardiac Reader Analyzer To Provide Rapid And Quantitative Measurements Of Cardiac Troponin T B) Cardiac T Quantitative Assay Catalog 1894307 For Use With The Cardiac Reader Analyzer To Provide Rapid And Quantitative Measurements Of Cardiac Troponin T | Roche Diagnostics Corporation | Roche Diagnostics Gmbh Mannheim Germany | September 29 2000 | The Use Of Blood Collection Devices Containing Sodium Fluoride Cause Falsely Low Results | Undetermined | Massachusetts
2000-11-22 | Devices | III | z-044/046-1 | Precical | Manufacturer | Roche Diagnostics Corporation Indianapolis Indiana | May 15 2000 | A Negative Bias Was Observed When Using The Calcium Setpoint Associated With These Lots Of Calibrators | 58 086 Precial | Nationwide