## 2001-8-01
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2001-8-01 | Drugs | II | d-265-1 | Eco Dent Ultimate Natural Daily Rinse Tangy Orange-clove Labeled In Part "eco-dent***premium Oral Care Products***tangy Orange-clove Ultimate Essential Mouthcare Natural Daily Rinse***mer- Flu-an*** 8 Fl. Oz/237 Ml** Code: Lots 9431 0002 0376. | Manufacturer | Truett Laboratories Inc. Ca | July 9, 2001 | Bacteria contamination; pseudomonas alcaligenes & pseudomonas baleurica | 14 209 8 oz bottles | AR, AZ, CA, CO, FL, IA, IN, NH, NJ, NY, OH, OR, TX, VT, WI AND INTERNATIONALLY TO CANADA AND AUSTRALIA
2001-8-01 | Biologics | I | NOT-FOUND | Crushed Cancellous Chips Tissue Id #s 990078-003 990078-004 990078-005 990078-006 990078-007 990078-008 990078-009 990078-012 990078-014 990078-019 990078-021 990078- 022 990078-023 Fascia Lata Tissue Id #990078-024 990078-025 Achilles Tendon Tissue Id #990078-027 Cortical Cancelleous Unprocessed Tissue Id #990078-028 Unprocessed Cartilage Tissue Id #990078-002 | Telephone On October 10 | South Texas Blood And Tissue Center San Antonio Texas | October 10, 2000 | Tissues for transplant, that were contaminated with e.coli, or corresponded to a donor whose tissue was implicated in the transmission of e-coli, were distributed. | 18 | TX AND CA
2001-8-01 | Biologics | II | b-1725-1 | Source Plasma Units | Alpha Therapeutic Corporation | Alpha Therapeutic Corporation Tacoma Wa | February 6, 2001 | Blood products, collected in manner that compromised the sterility of the units, were distributed. | 2 units | CA
2001-8-01 | Biologics | II | b-1726-1 | Red Blood Cells Unit H68034 Platelets Unit H68034 Frozen Recovered Plasma Unit H68034 | Manufacturer | Nueces County Medical Society Community Corpus Christi Tx | September 29, 2000 | Blood products, which tested negative for antibody to hepatitis c virus (anti- hcv), but collected from a donor that previously tested repeatedly reactive, were distributed | 3 units | TX AND CA
2001-8-01 | Biologics | II | b-1729-1 | Source Plasma Units 31608961 28487654 27826591 27627884 27460436 27458808 27453704 27451076 27375105 27372883 23366787 23364462 23198203 23195417 23498259 23495678 23108882 23106291 23101180 22294265 22291639 26087191 23520394 23514430 23511798 23793279 23790773 23693180 19870236 43802562 | Manufacturer | Sera-tec Biologicals Limited Partnership Toledo Ohio | March 30, 2001 | Blood products, which tested negative for antibody to hepatitis c virus (anti- hcv), but collected from a donor that previously tested repeatedly reactive, were distributed | 30 units | CA AND NY
2001-8-01 | Biologics | II | b-1730-1 | Red Blood Cells Units 42fw79310 42y10050 Platelets Unit 42y10050 Recovered Plasma Unit 42y10050 | Manufacturer | American Red Cross Blood Services Northern Ohio Region Cleveland Oh | March 26, 2001 | Blood products, collected from a donor taking the drug purinethol for crohn's disease, were distributed | 4 units | OH AND CA
2001-8-01 | Biologics | II | b-1735-1 | Recovered Plasma Frozen Unit 12fk28839 | Manufacturer | American Red Cross Blood Services Carolinas Region Charlotte Nc | April 30, 2001 | Blood product, collected from an unsuitable donor based on a history of hepatitis, was distributed | 1 unit | CA
2001-8-01 | Biologics | II | b-1758-1 | Source Plasma Units 38624582 38653087 | Manufacturer | Nabi Biomedical Center Corpus Christi Tx | September 13, 2000 | Blood product, collected from a donor who had not completed the cjd/nvcjd increased risk questions, were distributed | 2 units | CA
2001-8-01 | Biologics | II | b-1759-1 | Platelets Unit 2105657 | Manufacturer | Lifeshare Inc. Elyria Oh | March 16, 2001 | Blood product, collected from an ineligible donor, was distributed | 1 unit | OH
2001-8-01 | Biologics | II | b-1761-1 | Red Blood Cells Unit 4168875 Fresh Frozen Plasma Unit 4168875 | Manufacturer | Blood Center Of New Jersey East Orange Nj | February 24, 2000 | Blood products, collected from a donor with a history of having tested positive for hepatitis b core antigen (anti-hbc), were distributed | 2 units | NJ
2001-8-01 | Biologics | III | b-1640-1 | Red Blood Cells Unit 3567383 Platelets Unit 3567383 Source Leukocytes Unit 3567383 | Manufacturer | Gulf Coast Regional Blood Center Houston Tx | September 11, 2001 | Blood products, collected from a donor who had lived in an area designated as endemic for malaria, were distributed. | 3 units | TX AND NJ
2001-8-01 | Biologics | III | b-1685-1 | Red Blood Cells Unit M30637 Platelets Unit M30637 Recovered Plasma Unit M30637 | Michigan Community Blood Center | Michigan Community Blood Center Saginaw Valley Blood Program Saginaw Michigan | November 28, 2000 | Blood products, collected from a donor who lived in an hiv group o risk area, were distributed michigan community blood center, saginaw valley blood program, saginaw, michigan | 3 units | MI AND SWITZERLAND
2001-8-01 | Biologics | III | b-1689-1 | Red Blood Cells Units 04c03680 04c12090 Platelets Unit 04c12090 Recovered Plasma Units 04c03680 04c12090 | Manufacturer | American Red Cross New England Region Dedham Ma | February 27, 2001 | Blood products, collected from a donor who engaged in high-risk behaviors, were distributed | 5 units | MA
2001-8-01 | Biologics | III | b-1723-1 | Red Blood Cells Unit Fk23676 Cryoprecipitate Unit Fk23676 | Manufacturer | Healthcare Provider Services Inc. Rhode Island Blood Center Providence Ri | January 4, 2001 | Blood products, collected from a donor who was taking the drug amantadine for parkinson's disease, was distributed | 2 units | RI AND MS
2001-8-01 | Biologics | III | b-1733-1 | Source Plasma Units S0020r S0021r S0022r S0023r S0024r S0021b S0022 S0023 S0024 | Indianapolis Blood Plasma | Indianapolis Blood Plasma Inc. Indianapolis In | March 6, 2001 | Blood products, which were exposed to an unacceptable storage temperature and not relabeled as source plasma, salvaged, were distributed | 9 units | NC
2001-8-01 | Biologics | III | b-1734-1 | Platelet Pheresis Leukoreduced Unit 12lt50607 | Manufacturer | American Red Cross Carolina Region Charlotte Nc | June 19, 2000 | Unlicensed blood product was distributed in interstate commerce | 1 unit | SC
2001-8-01 | Devices | II | z-639-1 | - Castle Model Gcl 500 Surgical Light; - Castle Model Gcl 550 Surgical Light; - Castle Model Gcl 750 Surgical Light; - 500 Series Lamp Head Serial #gl 9911017 - Gl 0003051. | manufacturer | Getinge/castle Inc. North Charleston Sc | March 27, 2001 | Excessive force on the surgical lamp head may cause one of the welded joints in the suspension yoke to fail. | 182 | NATIONWIDE AND CANADA, SWEDEN, SOUTH AFRICA, EGYPT, MALAYSIA AND MEXICO
2001-8-01 | Devices | II | z-709-1 | H-tronplusv100 Insulin Infusion Pump | Manufacturer | Disetronic Medical Systems St. Paul Mn | March 14, 2001 | Labeling claims insulin pump is waterproof but some pumps malfunctioned when exposed to water | 30 000 | NATIONWIDE
2001-8-01 | Devices | II | z-0665-2 | Medtronic Membrane Oxygenator With Integral Heat Exchangers Model Number A Medtronic Membrane Oxygenator With Integral Heat Exchangers Model Number A Code: The Firm Distributed 7 Units From Lot 0103002433 (model A) For Clinical Use And 46 Units Of Lot 0103002707(model A) For Non-clinical Use. | Manufacturer | Medtronic Inc. Minneapolis Mn 55432 | May 11, 2001 | Shorter than specified forced aeration has resulted in higher eto levels. | 53 units | MI, MO, NC AND CA
2001-8-01 | Devices | II | z-0717-1 | Silhouette Five-sided Nut Driver (part 7010-0021-00) For The Sulzer Spine-tech Silhouette Spinal Fixation System The Five-sided Nut Driver Is Distributed In A Case Of Instruments Labeled "silhouette Screw Instrument Generic Case Complete Set: 7050-0000-00". Code: All Lots. | Sulzer Spine-tech | Beere Precision Racine Wi; Metal Craft Machine & Engineering Inc. Elk River Mn; And Houck Machine Company Minneapolis Mn. | September 15, 2000 | The socket of a tool used for locking nuts for a spinal fixation device can slip. beere precision, racine, wi; metal craft machine & engineering, inc., elk river, mn; and houck machine company, minneapolis, mn. recalled by: sulzer spine-tech , minneapolis, mn, sent a september 15, 2000 "confidential memorandum", which gave the reason for the recall and requested that the five- sided nut drivers be removed from the instrument kits in distribution and returned to the firm. | 304 tools estimated 240 in possession of company representatives | 1 TO U.S. AND 53 DISTRIBUTED TO AUSTRALIA, CHINA, JAPAN, SOUTH KOREA AND SWITZERLAND.
2001-8-01 | Devices | II | z-0720-1 | Zomega Iv Angiographic Table (angiographic X-ray System) Model: 2120637; Zomega Iv Angiographic Table (angiographic X-ray System) Model: 2219154; Zomega Iv Angiographic Table (angiographic X-ray System) Model: 2154474; Zomega Iv Angiographic Table (angiographic X-ray System) Model: 2219155; Zomega Iv Angiographic Table (angiographic X-ray System) Model: 2252036; Zomega Iv Angiographic Table (angiographic X-ray System) Model: 2252037 Code Information: Model Numbers: 2120637 2219154 2154474 2219155 - All Units Manufactured Are To Be Corrected Model Numbers 2252036 2252037 - All Units Manufactured Prior To May 2001 Are To Be Corrected. | General Electric Medical | Ge Medical Systems Europe France | 2001-04-30 15:00 | Cable that controls table movement could break resulting in uncontrolled motion ge medical systems europe, france | 512 nationwide and 700 worldwide | NATIONWIDE AND CANADA, EUROPE, LATIN AMERICA AND ASIA
2001-8-01 | Devices | II | z-0726-1 | Medtronic Micro Jewel Ii Implantable Cardioverter Defibrillator Model 7223cx Code: There Are About 8000 Mostly Non-consecutive Serial Numbers Which Are Not In One Or A Few Ranges The Devices Were Made And Distributed In The Last Month Of 1996 And The First Half Of 1997. | Medtronic | Medtronic Inc. Minneapolis Mn 55432-3576 Medtronic Med Rel Inc. Rd Puerto Rico 00791 Medtronic B.v. European Service And Technology Center The Netherlands | November 72, 7223 | Extended charge times, which can delay the delivery of cardioversion and defibrillation therapies, and allow the extension of ventricular fibrillation or other tachyarrhythmia event. | 8000 defibrillators | NATIONWIDE AND WORLDWIDE
2001-8-01 | Devices | III | z-687-1 | X-100 Suspension System For Carl Zeiss Dental Surgical Microscope Catalog Numbers: 000000-1080-347 000000-1080-344 000000-1080-324. Serial Numbers: 346526 346422 346522 346517 346505 346501 346518 349893 351941 351972 351932 351971 346418 346518 349893 351941 351972 351932 351971 346 418 350201 346558 350308 350373 351921 And 351924 | On 5/8/01 | Carl Zeiss Inc. Thornwood N.y. 10594 | 2001-05-07 15:00 | A tertiary screw in the microscope-to-stand coupling may not secure the coupling of two components. | 19 | NATIONWIDE
2001-8-01 | Devices | III | z-707-1 | Roche Hbalc Calibrator Code: Catalog No 0755664/47110 | Manufacturer | Roche Diagnostics Corps Indianapolis In | 2001-06-21 15:00 | A negative bias of up to 10% may be observed in patient results. | 1320 | NATIONWIDE AND CANADA
2001-8-01 | Devices | III | z-712-1 | Havel's Brand 5-0 Plain Gut Sterile Absorbable Surgical Suture Us.p. With Cc-77 Needle Or C-3 Needle. One Needle With Suture Is Packaged In A Sterile Pouch 12 Pouches Per Carton. Code: Lot Numbers: #mg02540 And #mg03830. | Havel's Inc. 3726 Lonsdale Street Cincinnati | Surgical Specialties Corp. 100 Dennis Drive Reading Pa | 2000-11-06 15:00 | The sterile suture needles may be defective with rust-like corrosion. | 154 cartons | NATIONWIDE
2001-8-01 | Devices | III | z-0713-1 | Architect Anti-hbs Reagent Kitlist 7c18-30 This Is An In Vitro Diagnostic Chemiluminescent Microparticle Immunoassay (cmia) For The Quantitative Determination Of Antibody To Hepatitis B Surface Antigen (anti-hbs) In Human Serum And Plasma Used To Monitor The Success Of Hepatitis B Vaccination And To Monitor The Convalescence And Recovery Of Hepatitis B Infected Individuals Code: List 07c18-30 Lot 71120m300 | Abbott's Japanese Subsidiary | Abbott Laboratories Inc. Abbott Park Il 60064 | 2001-02-28 15:00 | Microbial growth | 62 kits | JAPAN
2001-8-01 | Devices | III | z-0718-1 | Scanlan Diethrich-potts Scissors Micro Fine Tips Super Cut And Ultra Sharp Codes: O94 P91 P92 P93 P94 Q91 Q92 Q93 Q94 R91 And R92 | Manufacturer | Scanlan Intl. Inc. St Paul Mn 55107 | 2000-10-12 15:00 | Scissors blades could break in high stress situations (e.g. sterilization). | 1505 scissors | NATIONWIDE AND WORLDWIDE
2001-8-01 | Devices | III | z-0719-1 | Focus Dailies Spherical Contact Lenses Lot No 1096004 | Manufacturer | Ciba Vision Corp. Duluth Ga | 2001-05-09 15:00 | The primary label indicated focus dailies spherical, while the secondary label indicates focus dailies progressive. | 10 15 packs were shipped | AZ, FL, MA, MO, NM, NC, PA