## 2001-9-19
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2001-9-19 | Drugs | I | d-299-1 | A) Good Sense Brand Children's Pain Reliever Acetaminophen Suspension Liquid Great Tasting Rich Cherry Flavor 4 Fl Oz (118 Ml) 80mg Per 1/2 Teaspoon Otc Ndc #01130-175-26 Perrigo Allegan Mi B) Kroger Brand Children's Pain Reliever Acetaminophen Pain Reliever Fever Reducer Suspension Liquid Rich Cherry Flavor 4 Fl Oz (118 Ml) 80 Mg Per 1/2 Teaspoon Otc Ndc #30142-175-26 Distributed By The Kroger Co. Cincinnati Ohio C) Hy-vee Brand Children's Non-aspirin Pain Relief Suspension Liquid Acetaminophen Rich Cherry Flavor 80 Mg Per 1/2 Teaspoon (160 Mg Per 5 Ml) 4 Fl Oz (118 Ml) Otc Ndc #42507-175-26 Distributed By Hy-vee Inc. West Des Moines Ia Codes: A) B) And C) Lot #1ad0228 | Manufacturer | Perrigo Company Allegan Mi | 6/25/01 | Super-potent (acetaminophen) | a b and c 7 788 units total | UNITED STATES
2001-9-19 | Drugs | II | d-059-1 | Tegretol® (carbamazepine Usp) 200 Mg Tablets In Bottles Of 100 And 1000 Tablets Rx Product Initial 10 Lots Recalled On 9/18-11/27/00: 150b2289 (10/2002) 155b2289 (10/2002) 121b9991 (4/2002) 128b1120 (6/2002) 137b1238 (6/2002) 144b1825 (8/2002) 156b3063 (10/2002) 158b3063 (10/2002) 170d4247 (1/2003) 1t237018 (9/2001). First Extension (2/2001):179d5121 (2/2003) - Bottles Of 100s 179d5216 (2/2003) - Bottles Of 1000s Second Extension (8/9/01):lot 232e9126 (exp. 3/2004) - Bottles Of 1000s Third Extension (9/6/01):lot 205d6684 (9/2003) � Bottles Of 1000s Lot 206d6684 (9/2003) � Bottles Of 1000s | Manufacturer | Novartis Pharmaceuticals Corp. Suffern New York | 9/6/01 | Dissolution failure< | recall now covers a total of 15 lots | NATIONWIDE AND PUERTO RICO.
2001-9-19 | Drugs | II | d-297-1 | Temodar Capsules (temozolomide) 250mg 20 Capsules Per Bottle Lot Number 9-pht-4 Exp Date August 2002. Rx Only Each Bottle Packaged In An Individual Folding Carton For Oral Administration Rx Only. Codes: Lot# 9-pht-4 Exp. August 2002 | Schering Corp. Kenilworth | University Of Iowa - College Of Pharmacy Iowa City Ia | 7/2/01 | Under filled capsules | 738 bottles of 20 capsules | NATIONWIDE
2001-9-19 | Drugs | III | d-041-1 | Premarin Tablets (conjugated Estrogen Tablets Usp) 1.25 Mg. Bottles Of 5 000. New Lot Numbers Codes: Lot 9010249 Exp. Sept. 2003 Lot 9010403 Exp. Sept. 2003 | Wyeth Ayerst Pharmaceuticals Richmond | Ayerst Laboratories Rouses Point Ny | August 8, 2001 | Dissolution failure | 2 070 bottles | AL, FL, NJ, NY, OH, TN, AND TX
2001-9-19 | Drugs | III | d-298-1 | Trav-l-tabs (meclizine Hcl) 25 Mg Per Tablet 60 Tablets Per Bottlecodes: Lots: 191002 Exp 9-01; 191111 Exp 10-01 | Manufacturer | Wendt Laboratories Inc Belle Plaine Mn | July 20, 2001 | Production validation deviation (extended holding times for powdered ingredients) | 770 bottles | ID, IL, NE, WI
2001-9-19 | Biologics | II | b-1595-1 | Red Blood Cells Leukocytes Reduced Unit Number 2210864 Cryoprecipitated Ahf Unit Number 2210864 | Manufacturer | Lifeshare Inc. Elyria Oh | February 15, 2001 | Blood products, corresponding to a unit of plasma possibly contaminated with staphylococcus epidermidis bacteria, were distributed. | 2 units | OH AND MS
2001-9-19 | Biologics | II | b-1897-1 | Red Blood Cells (4 Units) Unit Numbers 2104363 2204393 2140793 And 2206400 Fresh Frozen Plasma (2 Units) Unit Numbers 2104363 And 2204393 | Manufacturer | Lifeshare Inc. Elyria Oh | February 15, 2001 | Blood products, corresponding to units of platelets which were pooled and possibly contaminated with coagulase negative staphylococcus sp bacteria, were distributed. | 6 units | OH
2001-9-19 | Biologics | II | b-1903-1 | Red Blood Cells Unit Number 21gw18707; Recovered Plasma Unit Number 21gw18707 | Manufacturer | The American National Red Cross Pacific Northwest Region Portland | July 18, 2000 | Blood products, collected from an unsuitable donor due to a history von willebrand�s disease and medication with clotting factor concentrates, were distributed | 2 units | WA AND NY
2001-9-19 | Biologics | II | b-1905-1 | Platelets Pheresis Leukocytes Reduced Unit Number 10708-3157 | Manufacturer | Blood Systems Inc. Scottsdale Az | February 21, 2001 | Blood product, that was labeled leukoreduced but had an elevated white blood cell count, was distributed | 1 unit | AZ
2001-9-19 | Biologics | III | b-1594-1 | Platelets Pheresis Unit Number Lt12515 | Institute For Transfusion Medicine Clinical Services | Central Blood Bank Pittsburgh Pa | August 22, 2000 | An investigational blood product was distributed and transfused to an individual that was not part of the clinical study. | 1 unit | PA
2001-9-19 | Biologics | III | b-1899-1 | Red Blood Cells Leukocytes Reduced Unit Numbers 15387-4761 And 15387-4762 | Manufacturer | Blood Systems Inc. Lubbock Center Lubbock Tx | March 22, 2001 | Blood products, labeled with the incorrect expiration date, were distributed | 2 units | TEXAS
2001-9-19 | Biologics | III | b-1900-1 | Red Blood Cells Irradiated Unit Number 49fe03081; Red Blood Cells Leukocytes Reduced Irradiated (9 Units) Unit Numbers 49ll08111 49lh46709 49lq13934 49fj77288 49fj77301 49lg52436 49gr30383 49ff41676 And 49ff41683 | Manufacturer | The American National Red Cross Southwest Region Wichita Falls Tx | August 31, 2000 | Blood products, labeled with the incorrect expiration date, were distributed | 10 units | TX
2001-9-19 | Biologics | III | b-1902-1 | Platelets Unit Number 4792509 | Manufacturer | Coffee Memorial Blood Center Inc. Amarillo Tx. | June 5, 2001 | Blood product, labeled with the incorrect expiration date, was distributed | one unit | TX
2001-9-19 | Biologics | III | b-1906-1 | Red Blood Cells Leukocytes Reduced Unit Number Fm34636 | Manufacturer | /healthcare Provider Services Inc. Dba Rhode Island Blood Center Providence Ri | May 23, 2001 | Blood product, that was labeled as leukoreduced but failed quality control testing due to an elevated white blood cell count, was distributed. | 1 unit | RI
2001-9-19 | Devices | II | z-1041-1 | Valleylab Ligasure Vessel Sealing System Codes: Catalog Number: Ls1000 Lot Anh000503. | Manufacturer | Valleylab Inc. Boulder Co | 05/04/2001 | Previously recalled product, not released for distribution, was distributed. | 18 units | CA, CO, AND PA.
2001-9-19 | Devices | II | z-1106-1 | - Programmable Multi-axis Controller (pmac 2 Lite) Circuit Board Installed In Ecam Emission Imaging Computed Tomography Systems Used For All Common Nuclear Medicine Procedures; Codes: A) Model 4380213 - E.cam Gantry Single Head Serial Numbers 0001 Through 2016 B) Model 4380221 - E.cam Gantry Dual Head Serial Numbers 0005 Through 2038 And 31827 C) Model 5242826 - E.cam Gantry Dual Head Serial Numbers 1001 Through 2012 | Manufacturer | Siemens Medical Systems Inc. Hoffman Estates Il | 12/4/98 | Resistor packs installed backward causes software errors. | 229 units | NATIONWIDE AND WORLDWIDE
2001-9-19 | Devices | II | z-1116-1 | / Various Sterile Surgical Convenience Kits And Trays Including Biopsy Pacemaker And Cardiac Catheterization Procedural Trays Manufactured And Labeled By Avid Medical Inc Identified By Catalog Lot Number And Date Of Manufacture On Each Product And Containing Vialed Injectables: Ephedrine Sulfate 1 Ml/50mg Heparin Sodium 10 Ml Vial Heparin Injection 10 Ml 1000 Unit/ml Heparin Lock 10 Ml 100 U/ml Z Heparin Lock 1 Ml 100 Units Lidocaine 1% 30 Ml Mdv Lidocaine 50 Ml 2% Vial M-dose Lidocaine 30 Ml 2% Vial Lidocaine 30ml 1% Vl Sng Dose Lidocaine 2%hcl 20 Ml Lidocaine 50 Ml 1% Multidose Lidocaine 20 Ml 1% Multidose Polocaine 50 Ml 2% Vial Sensorcaine .5% W/epi 30 Ml Sodium Bicarbonate 4% 5ml Vl Sodium Chloride 30 Ml .9% Vial Sodium Chloride 5cc Vial Codes:cat # Lot # Kit Description Plas0001 #301893 Hair Transplant Av011303-02 #307827 Needle Core Breast Biopsy Av011225 #306259 307312 Breast Pack Sube0007-01 #308133 Angio Sube0003 #308006 U.s/c.t. Biopsy Fohf0010-02 #307711 307832 Biopsy Myelogram Fohf0011-02 #307553 308271 Angio Mghm0002 #306109 306644 Biopsy Navy001 #306554 307816 Cardiac Cath Sube0002 #303596 Breast Biopsy Ambl0002 #307750 Vasectomy Ambl0004 #307597 Vasectomy Smhc0001 #307015 307658 Cardiac Cath Stmh0001-01 #306586 307891 Angio Mghm0001 #307763 Angio Smhc0005-01 #308245 Suture Tray Smhc0004-01 #306815 307821 Angio Minn0005-04 #307559 Angio Ac010928-01 #307275 E-p Tray Av010929 #308036 Pacemaker Napo0035-01 #306481 Av Fistula Napo0036-01 #306482 307489 Carotid Endart Av010913-01 #308024 Arthroscopy Vmcc0001 #306904 307594 Cardiac Cath Av010767 #307051 Femoral Av010992-02 #307795 Angio Tucp0012-03 #307018 Neuro Angio Tucp0020-03 #307975 Angio Tucp0022-02 #307022 306475 Vascular Pmcp0002 #307543 307818 Special Angio Av010892-01 #307394 Cardiac Cath Hous0030-02 #304837 Heart Tray Mede0015 #307477 Cardiac Cath Each Containing One Or More Of Following Lot Numbers Of Injectables: Vial Injectable Description: All Expiry Between May 2001-sep 2003 Lidocaine Vial 30ml Lot 69-303-dk Lidocaine 20ml Vial Lot 63-249-dk 69-03-dk 52-572-dk Lidocaine Vial 30ml Lot 63-264-dk Ephedrine Sulfate 1ml Lot 50-218-dk-01 Lidocaine Vial 30ml+ Lot 59-275-dk-01 61-061-dk-01 59-220- Sodium Bicarbonate 5ml Vl Dk-01 Sodium Chloride Vial 5cc Lot 9k003 Sodium Chloride Vial 10cc Lot 66-394-dk Sodium Chloride Vial 10cc Lot 67-021-dk Sodium Chloride Vial 10cc Lot K150061 Ephedrine Sulfate 1ml Lot K150050 Ephedrine Sulfate 1ml Lot 46-349-dk Ephedrine Sulfate 1ml Lot 46-349-dk-01 Ephedrine Sulfate 1ml Lot 64-510-dk-01 Hep Sodium 10ml Vial Lot 089138 66-394-dk Lidocaine Vial 30ml Lot 65-364-dk Hep Sodium 10ml Vial Lot 089138 66-394-dk Lidocaine 20ml Vial+ Lot 50-298-dk 58-691-dk 58-465-dk Sodium Chloride 30ml Vial Lidocaine 30ml Vial Lot 040025 Lidocaine Vial 30ml Lot 64-411-dk-01 Lidocaine 50ml Vial Lot 65-290-dk-01 Lidocaine Vial 30ml Lot 65-364-dk Lidocaine 50ml Vial Lot 59-113-dk Heparin Inj 10ml Vial Lot 030091 Heparin Inj 10ml Vial Lot 030093 Lidocaine Vial 30ml Lot 66-637-dk Lidocaine Vial 30ml Lot 66-636-dk Lidocaine Vial 30ml Lot 65186-dk01 66636-dk01 Lidocaine 30ml 2% Vial Lot 070128 Lidocaine Vial 30ml Lot 66-636-dk-01 64-568-dk-01 Lidocaine 50ml Vial Lot 68-690-dk01 68-690-dk02 Lidocaine Vial 30ml Lot 65-061-dk 65-364-dk Lidocaine 30ml 2% Vial Lot 040150 Lidocaine Vial 30ml Lot 66-636-dk 66-673-dk Polocaine 50ml Vial+ Lot 001098 030119 119035 Hep Lock 10ml Sodium Bicarbonate 5ml Vl Lot 67-129-dk-01 Lidocaine 20ml Vial Lot 68-364-dk 61-046-dk Lot 67-027-dk-01 Lidocaine 50ml Vial Lot 69-201-dk01 Lidocaine 50ml Vial Lot 66-506-dk Sodium Bicarbonate 5ml Vl+ Lot 67-129-dk-01 Sodium Chloride 10ml Vial Lot 65-230-dk Lidocaine Vial 30ml Lot 66-636-dk 68-567-dk Lidocaine 20ml Vial Lot 69-233-dk-01 Lidocaine Vial 30ml Lot 68-583-dk Heparin Inj 10ml Vial Lot 080082 Lidocaine 50ml Vial Lot 69-201-dk 63-157-dk Lidocaine Vial 30ml Lot 68-657-dk-01 68-867-dk-01 66-636-dk-01 Lidocaine 30ml 2% Vial Lot 070128 080184 Lidocaine 20ml Vial+ Lot 69-048-dk Sodium Bicarbonate 5ml Vl Lot 67-129-dk Lidocaine 50ml Vial Lot 68-690-dk-01 69-203-dk-02 Lidocaine 20ml Vial Lot 69-233-dk Lidocaine 20ml Vial Lot 69-233-dk-01 Lidocaine 30ml 2% Vial Lot 070128 Lidocaine 30ml 2% Vial Lot 040150 Lidocaine Vial 30ml Lot 69-303-dk 68-583-dk Heparin Lock 1ml Lot 050147 Sensorcaine 30ml Vial Lot 004031 Lidocaine 50ml Vial Lot 68-690-dk Sodium Bicarbonate 5ml Vl Lot 69-258-dk-01 67-129-dk-01 Lidocaine Vial 30ml Lot 69-303-dk Sodium Bicarbonate 5ml Vl+ Lot 61-044-dk-01 Sodium Chloride 10ml Vial Lidocaine 50ml Vial Lot 69-159-dk Lidocaine 50ml Vial Lot 69-265-dk-01 Lot 69-338-dk-01 Lidocaine Vial 30ml Lot 69-293-dk | Manufacturer | Avid Medical Inc. Toano Va | 1/24/2001 | Stability and potency of kit injectable components cannot be assured after sterilization | 3408 kits and or trays | NATIONWIDE
2001-9-19 | Devices | II | z-1149-1 | Bvs 5000i Bi-ventricular Support Console S/n's: 1599 1601 1602 1609 1611-1646 Codes: Bvs 5000i Bi-ventricular Support Console S/n's: 1599 1601 1602 1609 1611-1646 | Manufacturer | Abiomed Inc Danvers Ma. | 5/25/01 | Leaking compressor gaskets may cause low flow | 40 | NATIONWIDE; FOREIGN: AUSTRALIA, NETHERLANDS, (HOSPITAL LAVAL, QUEBEC) CANADA, SPAIN, MEXICO
2001-9-19 | Devices | II | z-1150-1 | - Cryovalve Allograft (heart Valve) Codes: Model Av00 - Serial Number 3936694 Model Pv00 - Serial Number 3936708 | Manufacturer By Letters On 12/12/00 | Cryolife Inc. Kennesaw Ga | 12/12/00 | Does not meet current guidelines regarding serodilution of plasma | 2 values | NC AND OK
2001-9-19 | Devices | II | z-1152-1 | - Olympic Medical Vac Pac - Primarily Used To Assist In Maintaining Patient Position During Surgery Codes: Catalog #51630 Size 30 Serial #s 69862 Through 70114 Catalog #51635 Size 35 Serial #s 69787 Through 69830 | Manufacturer | Olympic Medical Corp. Seattle Wa | 6/14/01 | Weak seam seal - product not remaining firm as intended. | catalog 51630 209 catalog 51635 33 | NATIONWIDE AND CANADA, IRELAND, KOREA, NEW ZEALAND, THAILAND, THE NETHERLANDS, UNITED KINGDOM AND GERMANY
2001-9-19 | Devices | II | z-1154-1 | Roche/hitachi Modular P Laboratory Clinical Chemistry Analyzer Catalog No 766-4019 All Serial Numbers; | Manufacturer | Roche Diagnostics Corp. Indianapolis In | August 1, 2001 | Incorrect results are obtained if the wash rack is placed on the instrument before placing the instrument in standby or stop mode. | 150 | NATIONWIDE
2001-9-19 | Devices | II | z-1170-1 | - Intravenous Administration Sets For Use With Gemstar Infusion Pumps : 13009-01 Latex-free Gemstar Pump Set-sl Non-vented 110 " (w/ Yellow Striped Tubing) : 13012-01 Gemstar Pump Set With 0.2 Micron Filter Lifeshield Prepierced Reseal Y Site Non-vented 96 Inch- Sl : 13013-01 Gemstar Nonphthalate Pump Set With 1.2 Micron Filter Lifeshield Prepierced Reseal Y Site Nonvented 96"-sl : 13014-01 Gemstar Primary Pump Piggyback Set With Convertible Piercing Pin 110 Inch With Backcheck Injection Site Prepierced/prepierced Y-injection Site Sl : 13015-01 Lifeshield Latex-free Gemstar Pump Set-sl Nonvented 96 Inch (with Orange Polyethylene-lined Resistant Tubing) : 13016-01 Latex-free Gemstar I.v. Pump Set W/ Pca Extension-sl Nonvented 110 Inch : 13030-01 Gemstar Hema Ii Y-type Blood Pump Set : 13042-01 Lifeshield Latex-free Microdrip Soluset Gemstar 150 Ml Burette Pump Set - Sl Convertible Pin 110 Inch : 13043-01 Gemstar Primary Pump Set : 13044-01 Gemstar Pump I.v. Set : 13046-01 Latex-free Gemstar Pump Set-sl Nonvented 96 Inches : 13242-01 Lifeshield Latex-free Microdrip Soluset Gemstar 150 Ml Burette Pump Set-ol Convertible Pin 110 Inch With 3 Clave Ports : 13243-01 Lifeshield Latex-free Gemstar Piggyback Pump Set- Ol Convertible Pin 110 Inch With 0.2 Micron Filter And 3 Claves : 13245-01 Lifeshield Latex-free Gemstar Primary Piggyback Pump Set - Ol Convertible Pin 110 Inch With 2 Claves Codes: List No. 13009-01 Lots 45307hg 70011hg 75084hg 77070hg 78090hg List No. 13012-01 Lots 79099hg 75105hg 73141hg 70136hg 68165hg 45295hg List No. 13013-01 Lots 76068hg 75088hg 73151hg 70224hg 68144hg 46256hg List No. 13014-01 Lots 68148hg 60303hg 47205hg 43289hg 75094hg List No. 13015-01 Lots 69172hg 48246hg 74076hg List No. 13016-01 Lots 45308hg 77158hg List No. 13030-01 Lots 63127hg 70268hg 75061hg List No. 13042-01 Lots 70107hg 63107hg List No. 13043-01 Lots 68247hg 74070hg 78120hg List No. 13044-01 Lots 70226hg 68229hg List No. 13242-01 Lot 76211hg List No. 13243-01 Lot 77262hg List No. 13245-01 Lots 78233hg 77263hg List No. 13046-01 Lots 75108hg 76140hg 73146hg 70204hg 71117hg 53128hg 50352hg 67212hg | Abbott Laboratories | Abbott Laboratories Inc. Laurinburg Nc | July 30, 2001 | Sets over infuse with user error during setup | 89 468 | NATIONWIDE AND TO UNITED KINGDOM, FRANCE, CANADA, AUSTRALIA
2001-9-19 | Devices | II | z-1184-1 | - Axsym Troponin-i; A Microparticle Enzyme Immunoassay (meia) For The Quantitative Determination Of Cardiac Troponin-i In Human Serum Or Plasma On The Axsym System Troponin-i Values Are Used To Assist In The Diagnosis Of Acute Myocardial Infarction (ami). Abbott Laboratories Diagnostics Division Abbott Park Il 60064 Codes: Reagent Lots - List 3c29-20; Lots 69644m300 69644m301 70246m300 70246m301 70974m300 70974m301 71096m200 71096m201 71112m200 71112m201 71113m200 71113m201 71115m200 71115m201 71214m100 71214m101 71215m100 71215m101 Calibrator Lots - List 3c29-01: Lots 70525m100 70525m101 70525m102 | Manufacturer | Abbott Laboratories Inc. Abbott Park Il | 2/20/01 | Falsely high results | 35523 reagent 3241 calibrator | NATIONWIDE, AND INTERNATIONAL
2001-9-19 | Devices | III | z-1115-1 | Disposable Glass Tip (p/n 10 010 142) A Single Use Component Used With Dermabrader Dms1000 Handpiece For Scar Revision And Tattoo Removal. Instrument Is Classified As A Dermatome Class I Device. Disposable Tips Packaged In Cartons 24 Pieces/carton. Codes: Lots 637 691 11 And 39 | Mattioli Engineering Corporation | Mattioli Engineering Corporation Sra Firenze Italy. | 4/3/2001 | Burr on plastic tip of dermabrasion instrument could cause injury to skin. | 3032 pieces | CA, SC, FL, NY, TX, AND CO, AND CANADA
2001-9-19 | Devices | III | z-1155-1 | Steris Quick Connect Model C1665 Is Designed To Process The Olympus 20d Series And Bf-xt20 Bronchoscopes In Steris System I Sterile Processing System With C1160 Universal Processing Tray Codes: Lot Number: Ca22900. Catalogue Number: #qc 1665. | Manufacturer | Steris Corp. Mentor Oh | 9/15/2000 | The tubing in the kits are labeled with an incorrect endoscope model number. | 2 units end of enforcement report for september 19 2001 fda news page fda home page office of public affairs hypertext uploaded by tg 2001 sept 20 | GA