## 2002-3-27
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2002-3-27 | Drugs | I | d-205-2 | Weider's Eyedrops (aloeflex) Net Wt. 1 Fl. Oz. (aloe Vera Juice). Recall # D-205-2. | Aloe Flex Enterprises Dickinson Tx | Tennis Elbow Corporation Dickinson Tx. Fda Initiated Recall Is Complete. | December 11, 2001 | Microbial contamination (acinetobacter calcoaceticus-baumannii). | 28 | TX
2002-3-27 | Drugs | I | d-206-2 | Sanpharma Brand Mucor Drops 4x (homeopathic Medicine Eyedrop) 034 Fl Oz Bottles. Recall # D-206-2. | Bioresourse Inc. Cotati Ca | Bioresourse Inc. Cotati Ca | December 11, 2001 | Microbial contamination (stenotrophomonas maltophilia). | 55 bottles | CA and WI ID NM MT MI CO FL TX WA and HI
2002-3-27 | Drugs | I | d-207-2 | Pharmacy Compounded Inhalation Solutions In 3 Ml Plastic Squeeze Dispensers As Follows: A) Albuterol 25 Mg/ipratropium 0.5 Mg/dexamethasone 0.4 Mg/3ml Recall # D-207-2; B) Albuterol 2.0 Mg/ipratropium 0.5 Mg/3ml Recall # D-208-2; C) Albuterol 2.5 Mg/cromolyn 20 Mg/3ml Recall # D-209-2; D) Albuterol 1.0 Mg/ipratropium 0.5 Mg/3ml Recall # D-210-2; E) Albuterol 5.0 Mg/ipratropium 0.5 Mg/3ml. Recall # D-211-2. | Med-mart Pharmacy Bakersfield Ca | Med-mart Pharmacy Bakersfield Ca | December 10, 2001 | Microbial contamination (serratia species bacteria). | 4 200 units | CA and CO
2002-3-27 | Drugs | II | d-213-2 | Eye-saver Concentrate Sodium Chloride(eye Wash) Plastic Bottles 121.5 Fl. Oz. (0.95 Gallons) Per Bottle 1/case Packaged Under The Speakman Brand Label. Recall # D-213-2. | Chester Labs Inc. Cincinnati Oh | Chester Labs Inc. Cincinnati Oh | February 22, 2002 | Lack of assurance of sterility. | 50 346 cases bottles | DE
2002-3-27 | Drugs | II | d-215-2 | Exelon Capsules (rivastigmine Tartrate) 45 Mg 60 Capsule Bottles Rx Only Labeled As Manufactured By: Novartis Famaceutica S.a. Barcelona Spain For Novartis Pharmaceuticals Corporation East Hanover New Jersey. Recall # D-215-2. | Novartis Pharmaceuticals Corporation Suffern Ny | Novartis Pharma Ag Stein Switzerland. | February 27, 2002 | Mis-packaging - (3.0mg capsule in 4.5 mg labeled bottle). | 10 069 bottles | Nationwide and Puerto Rico
2002-3-27 | Drugs | III | d-038-2 | Allegra (fexofenadine Hydrochloride) Tablets 60-mg. 100-ct. Bottles Packaged In 24-bottle Shipping Containers Rx Ndc 0088- 1107-47. The Responsible Firm On The Label Is Aventis Pharmaceuticals Inc. Kansas City Mo. This Recall Is Being Extended To Add Two Additional Lot Numbers -1038814 And 0138816. Recall # D-038-2. | Aventis Pharmaceuticals Inc. Kansas City Mo | Aventis Pharmaceuticals Inc. Kansas City Mo | September 27, 2001 | Mis-labeling - shipping carton bears incorrect ndc bar code. | 79 049 100 ct bottles | Nationwide
2002-3-27 | Drugs | III | d-212-2 | Allegra Tablets (fexofenadine Hcl) 60 Mg 2-tablet Blister Packages (30-ct. Boxes)physician Samples Rx Only The Responsible Firm On The Label Is Aventis Pharmaceuticals Inc. Kansas City Mo. Recall # D-212-2. | Aventis Pharmaceuticals Inc. Kansas City Mo | Aventis Pharmaceuticals Inc. Kansas City Mo | July 3, 2001 | Product was not manufactured in conformance with its new drug application (nda) specifications, lacking particle size and friability testing | 117 071 30 ct boxes | Nationwide
2002-3-27 | Drugs | III | d-214-2 | Compazine Tablets 5 Mg (prochloperazine) Bottles Of 100 Tablets And Blister Packages Of 100 Tablets (2x5 Blister Cards) Smithkline Beecham Pharmaceuticals Philadelphia Pa Recall # D-214-2. | Skb Pharmaceutical Co Cidra Puerto Rico | Skb Pharmaceutical Co Cidra Puerto Rico | March 15, 2002 | Subpotent | 13 025 bottles of 100 tabs and 2 400 ctns 100 s | Nationwide
2002-3-27 | Drugs | III | d-216-2 | Premarin Tablets (conjugated Estrogens Tablets Usp) 0625 Mg Rx Only Ayerst Laboratories Inc. Philadelphia Pa. Recall # D-216-2. Bottles Of 100 - Ndc #0046-0867-81 Bottles Of 1000 - Ndc #0046-0867-91 Bottles Of 5000 - Ndc #0046-0867-95. | Wyeth-ayerst Laboratories Richmond Va | Ayerst Laboratories Inc. Rouses Point Ny. | February 21, 2002 | Failure to meet dissolution specifications. | 47 024 btls of 100 9 255 btls of 1000 and 1 408 btls of 5000 | Nationwide
2002-3-27 | Biologics | I | b-0920-2 | Red Blood Cells Recall # B-0920-2. | The Blood Center New Orleans La | The Blood Center New Orleans La | March 20, 2001 | Blood product, which tested repeatedly reactive for the hepatitis b surface antigen (hbsag), positive by confirmatory (neutralization) test for hbsag, and repeatedly reactive for the antibody to the hepatitis b core antigen (anti-hbc), was distributed. | 1 unit | LA
2002-3-27 | Biologics | II | b-0921-2 | A) Red Blood Cells Recall # B-0921-2; B) Red Blood Cells Leukoreduced Irradiated Recall # B-0922-2. | The Blood Center New Orleans La | The Blood Center New Orleans La | March 20, 2001 | Blood products, which tested repeatedly reactive for the antibody to the hepatitis b core antigen (anti-hbc), were distributed. | 3 units | LA
2002-3-27 | Biologics | III | b-0858-2 | Immune Globulin Intravenous (human); Venoglobulin?-s 10% Solution; (10 G 100 Ml). Recall # B-0858-2. | Alpha Therapeutic Corporation Los Angeles Ca | Alpha Therapeutic Corporation Los Angeles Ca | November 26, 2001 | Human immunoglobulin, with anti-complementary activity (aca) levels that exceeded specifications, were distributed. | 1 351 vials | FL and GA
2002-3-27 | Biologics | III | b-0904-2 | Ragweed Mix - Giant/short Allergenic Extract 50 Milliliter Bottle 20 000 Pnu/ml Recall # B-0904-2 | Allergy Laboratories Of Ohio Inc. Columbus Oh | Allergy Laboratories Of Ohio Inc. Columbus Oh | December 10, 2001 | Allergenic extract, labeled with an incorrectly low antigen e concentration, was distributed. | 1 lot | PA
2002-3-27 | Devices | I | z-0587-2 | Brand Name: Olympus Bronchoscope 15 Model Numbers: Bf-40 Bf-p40 Bf-1t40 Bf-3c40 Bf-xp40 Bf-xt40 Bf-240 Bf-p240 Bf-1t240 Bf-6c240 Bf-160 Bf-p160 Bf-1t160 Bf-3c160 Bf-xt160. Common Name: Video Bronchoscope Classification Name: Bronchoscope (flexible Or Rigid). Recall # Z�573-2/z-0587-2. | Olympus America Inc. Melville Ny | Olympus Optical Co. Ltd. Shinjuku-ku Tokyo Japan. | November 30, 2001 | Loosened bronchoscope biopsy channel port & microbial contamination of the port. | 5157 units | Nationwide and Internationally
2002-3-27 | Devices | I | z-0597-2 | Various Ob/gyn Surgical Devices Labeled As Sterile Or Processed By Eto Recall # Z-0597-2. | A & A Medical/rocket Usa Alpharetta Ga | A & A Medical/rocket Usa Alpharetta Ga | March 13, 2002 | Gmp deficiencies. | unknown at this time | Nationwide and Worldwide
2002-3-27 | Devices | II | z-0588-02 | Intro-flex Percutaneous Introducer Kits With Amc Thromboshield An Antimicrobial Heparin Coating. Size 8.5 F (model 1652bf85h) And 6f (model 1500f6). Recall # Z-0588-02/z-0589-02. | Baxter Edwards Anasco Puerto Rico | Edwards Lifesciences Llc Anasco Puerto Rico. | December 5, 2001 | Product may have inadequate tray seal strength to ensure the sterility of the product for its stated life shelf. | 100 units | MI NJ MD ME and London and ST Asaph
2002-3-27 | Devices | II | z-0590-2 | Becton Dickinson's Directigen(tm) Flu A+b In-vitro Diagnostic Test Kit Packaged In Papercard Boxes Each Box Containing Instructions Reagents And Controls To Perform 20 Tests Recall # Z-0590-2. | Becton Dickinson Diagnostic Systems Sparks Md | Becton Dickinson Diagnostic Systems Sparks Md | December 19, 2001 | Directigen (tm) test kit for influenza may give false positive result. | 7853 kits | Nationwide and Internationally
2002-3-27 | Devices | II | z-0592-2 | A) Angio-seal Vascular Closure Device 6f Sts Platform Product Re-order Number 610110; B) Angio-seal 6f Vascular Closure Device Product Re-order Number 610092 Recall # Z-0592-2. | St. Jude Medical Inc. Daig Div. Minnetonka Mn | St. Jude Medical Inc. Daig Div. Minnetonka Mn | February 7, 2002 | There are missing drip and blood inlet holes from the arteriotomy locator of some of the devices. | 7 800 units | Nationwide
2002-3-27 | Devices | II | z-0593-2 | Bci Handheld Pulse Oximeter Catalog Number 3303 Recall # Z-0593-2. | Bci Inc. Waukesha Wi | Bci Inc. Waukesha Wi | February 21, 2002 | Inappropriate restart of the device can occur in about 10% of the devices if the audio alarm is set to the highest volume. restart is a 2 minute period without alarms. | 99 units | Nationwide and Brazil Qatar and Saudi Arabia
2002-3-27 | Devices | II | z-0594-2 | Aeroset System Software V100er005.2 And V1.0er005 Catalog Numbers: 2-8996-02 And 2-89996-01. Recall # Z-0594-2/0595-2. | Abbott Laboratories Inc. Irving Tx | Abbott Laboratories Inc. Irving Tx | December 7, 2001 | System may incorrectly associate sample id & test requests under certain conditions of non-bar coded or unreadable bar coded samples. | 535 | Nationwide and Internationally
2002-3-27 | Devices | II | z-0598-2 | Battery Pack For The Criticare Multiple Parameter Telemetry Mpt 24 Catalog Number 944-c. Recall # Z-0598-2. | Criticare Systems Inc. Waukesha Wi | Badger Electronics Franksville Wi. | June 13, 2001 | Some of the battery packs overheat during use. the heat may melt the battery casing and device case. | 219 battery packs | FL
2002-3-27 | Devices | II | z-0599-2 | Survivalink Firstsave Star Biphasic Automatic External Defibrillators Model Numbers 9200 9210 9200d & 9210d Recall # Z-0599-2/z-0602-2. | Survivalink Corp. Minneapolis Mn | Survivalink Corp. Minneapolis Mn | October 24, 2001 | Product could fail to deliver defribrillation shocks. | 3 440 units | Nationwide and International
2002-3-27 | Devices | II | z-0627-2 | Totalcare Treatment Beds As Follows: A) Hill-rom Brand Totalcare Beds B) Hill-rom Brand Totalcare Spo2rt Beds Recall # Z-0627-2/0628-2. | Hill-rom Inc. Batesville In | Hill-rom Inc. Batesville In | January 30, 2002 | Unintentional movement of bed or failure of controls to operate. | 22 849 | Nationwide and Internationally
2002-3-27 | Devices | II | z-0635-2 | Abbott Carbon Dioxide Calibrator In-vitro Diagnostic Recall # Z-0635-2 | Abbott Laboratories Inc. South Pasadena Ca | Microgenics Fremont Ca. | January 17, 2002 | Results run low. | 1079 | Nationwide and TO Mexico Columbia Brazil Canada England Singapore Hong Kong Trinidad Barbados Turkey and ST Lucia
2002-3-27 | Devices | II | z-0637-2 | A) Bayer Immuno 1(r) System Bayer(r) Testpoint(tm) Troponin I Controls Recall # Z-0637-2; B) Bayer Immuno 1(tm) System Bayer Setpoint(tm) Troponin I Calibrators. Recall # Z-0638-2. | Bayer Corporation Business Group Diagnostics Tarrytown Ny. 0n/about January 30 2002 Bayer Sent A "customer Bulletin" (#156b0007-01 Rev. A 2002-01) To Its Customers Via Fedex Overnight. | Fisher Scientific Middletown Va. | January 0, 2002 | Degradation of products under current storage conditions. | a 151 units b 330 | Nationwide and Internationally
2002-3-27 | Devices | II | z-0639-2 | Orthopat Autotransfusion Set Sterile Distributed By: Zimmer Dover Oh Recall # Z-0639-2. | Haemonetics Corp. Braintree Ma | Haemonetics Corp. Braintree Ma | January 28, 2002 | Product's sterility maybe compromised as the sterilization dose was not adequate. | 834 units | NC
2002-3-27 | Devices | II | z-0640-2 | Brand Name: Bayer Advia(r) Centaur(tm) Rubella Igg Assay Common Name: A Chemiluminescence Test For Determination Of Igg Antibodies To The Rubella Virus (an In Vitro Diagnostic) Recall # Z-0640-2. | Bayer Corporation Business Group Diagnostics Tarrytown Ny | Bayer Corporation Business Group Diagnostics East Walpole Ma. | November 20, 2001 | Use of assay for quantification of igg antibodies may yield incorrect results. | 725 units | Nationwide and Puerto Rico
2002-3-27 | Devices | II | product hill-rom totalcare spo2rt pulmonary therapy bed system recall # z-0642- 2. | Hill-rom Totalcare Spo2rt Pulmonary Therapy Bed System Recall # Z-0642- 2. | Hill-rom Inc. Batesville In | Hill-rom Inc. Batesville In | February 20, 2002 | Siderails may stay up without latching into place. | 2 627 beds | Nationwide Canada and Japan
2002-3-27 | Devices | II | z-0643-2 | Graham-field Brand Ultrasound Scanning Gel Packed In 1 Gallon (128 Oz) Plastic Jugs Four (4) Units Per Carton Packaged Under The Graham-field Private Label. Recall # Z-0643-2. | Chester Labs Inc. Cincinnati Oh | Chester Labs Inc. Cincinnati Oh | January 11, 2002 | Products distributed prior to complete manufacturing process validation. the lots failed microbial specifications. | 26 cases | Nationwide
2002-3-27 | Devices | II | z-0644-2 | Anspach Brand 215 X 22.0 Mm Spiral Router. Recall # Z-0644-2. | The Anspach Effort Inc. Palm Beach Gardens Fl | The Anspach Effort Inc. Palm Beach Gardens Fl | January 26, 2001 | High speed cutters will not fit into the motor drill system. | 100 | CA MT HI TX and FL and Korea the United Kingdom South Africa the Netherlands and Syria
2002-3-27 | Devices | II | z-0650-2 | Ligaclip Extra Ligating Clip Cartridge Implantable Sterile Single Patient Use Each Cartridge Contains 6 Titanium Ligating Clips Individually Packaged In A Copolyester Blister And Heat- Sealed With A Tyvek Lid/pouch. Each Sales Unit/carton Contains 36 Cartridges. Size: Medium. Recall # Z-0650-2 | Ethicon Endo-surgery Inc. Cincinnati Oh | Ethicon Llp San Lorenzo Puerto Rico. | February 12, 2002 | Sterility of the device may be compromised as evidenced by a loss of package integrity. | 81 sales units cartons | TX NC CT CA IL MO and KY and Netherlands Uruguay Korea South Africa Argentina Australia Spain and Saudi Arabia
2002-3-27 | Devices | II | z-0651-2 | Sangstat Brand Celsior� Cold Storage Solution Recall # Z-0651-2. | Sangstat Medical Corporation Fremont Ca | Sangstat Medical Corporation Fremont Ca | February 8, 2002 | Product is contaminated with unknown black residue. | 3 020 units | Nationwide and Internationally
2002-3-27 | Devices | II | z-0653-2 | Arrow Spring Wire Guide 0025" X 23 5/8". The Catalog Number Is Aw- 14725. Recall # Z-0653-2. | Arrow Intl. Inc. Reading Pa | Arrow Internacional De Mexico S.a. De C.v. Col. Panamericana Chihuahua. | March 8, 2002 | Mislabeled 0.025 when it is actually 0.035 diameter. | 35 units | Nationwide
2002-3-27 | Devices | III | z-0439-2 | Leonardo Workstation Image Processing System Diagnostic Imaging. Recall # Z-0439-2. | Siemens Medical Systems Inc. Iselin Nj | Siemens Ag Medical Solutions Forchheim Germany. | July 6, 2001 | Partial x-ray images being transmitted to other receiving workstations. | 47 units | Nationwide
2002-3-27 | Devices | III | z-0591-2 | Renasol Liquid Bicarbonate Concentrate Bc-1-l Part B In One Gallon (378 Liter) Bottles. Centrasol Liquid Bicarbonate Concentrate Mb-330-l Part B In One Gallon (3.78 Liter) Bottles. Recall # Z-0591-2. | Minntech Corp. Minneapolis Mn | Minntech Corp. Minneapolis Mn | November 13, 2001 | Aureobasidium pullulans, a yeast that can form chains as a fungus, is in the recalled products. | 13365 cases 4 one gallon bottles per case | Nationwide
2002-3-27 | Devices | III | z-0603-2 | A) Acompc Angiographic X-ray System; B) Digital Image Communications System. Recall # Z-0603-2. | Siemens Medical Systems Inc. Iselin Nj | Siemens Ag Medical Engineering Forcheim Germany. | April 20, 2001 | Software problem in recording heights and weights. | 34 | Nationwide
2002-3-27 | Devices | III | product renatron ii, renatron pa, and renatron 100 dialyzer reprocessing system machines, and the renaclear dialyzer cleaning system recall # z- 0629-2/0631-2. | Renatron Ii Renatron Pa And Renatron 100 Dialyzer Reprocessing System Machines And The Renaclear Dialyzer Cleaning System Recall # Z- 0629-2/0631-2. | Minntech Corporation Minneapolis Mn | Minntech Corporation Minneapolis Mn | January 21, 2002 | The recalled devices have internal stainless steel valve components that may corrode. | 26 units | Nationwide and Malaysia
2002-3-27 | Devices | III | z-0632-2 | Abbott Axsym System Solution 4 Line Diluent; 10 L Cubitainers (bag In Box); Item No 8a46-01; For In Vitro Diagnostic Use; 0.1 M Phosphate Buffer With Sodium Azide Preservative And Antimicrobial Agent; Abbott Laboratories Abbott Park Il. Recall # Z-0632-2. | Abbott Laboratories Inc. Abbott Park Il | Abbott Laboratories Inc. Abbott Park Il | January 11, 2002 | Line diluent causes opiate assay controls out of range high. | 36 850 units | Nationwide and Internationally
2002-3-27 | Devices | III | z-0633-2 | Architect Prolactin Calibrators List Number 6c27-01; 2 - 4 Ml Bottles Of Calibrators Per Box; Abbott Laboratories Diagnostics Division Abbott Park Il Recall # Z-0633-2. | Abbott Laboratories Inc. Abbott Park Il | Abbott Laboratories Inc. Abbott Park Il | January 16, 2002 | Calibration failures. | 532 kits | Nationwide and Internationally
2002-3-27 | Devices | III | z-0634-2 | Clinitek 100 Software Kit Recall # Z-0634-2. | Bayer Corp. Elkhart In | Bayer Corporation Mishawaka In. | January 21, 2002 | False negative results when high concentrations of ketone exist. | 5 | CT MD MA NY and TX
2002-3-27 | Devices | III | z-0636-2 | Immulite Thyroid Autoantibody Control Module Recall # Z-0636-2. | Diagnostic Products Corp. Los Angeles Ca | Diagnostic Products Corp. Los Angeles Ca | December 10, 2001 | Negative bias in control values. | 464 | Nationwide
2002-3-27 | Devices | III | z-0641-2 | Brand Name: Il Test(tm) Cal 1 Solution Calibrator For Use With Il Synthesis 500 Ml For In Vitro Diagnostic Use (only) (il: Instrumentation Laboratory) Recall # Z-0641-2 | Instrumentation Laboratory Co. Lexington Ma | Instrumentation Laboratory Co. Orangeburg Ny. | October 29, 2001 | Elevated electrolyte values with lot n0811766. | 3 674 bottles | Nationwide and Canada Mexico and Italy
2002-3-27 | Devices | III | z-0645-2 | Dent-x Image-x 70(r) Plus Intra-oral X-ray Imaging System Intraoral Diagnostic X-ray Unit With X-mind(r) Timer Control Catalog/model Number 9992700100 510(k)# K000551. The Installation Operation & Service Manual (part Number 897- 000001) Is The Affected Component For This "field Correction". Recall # Z-0645-2. | Afp Imaging Corp. Elmsford Ny | Ardet S.r.l. 20090 Buccinasco Mi. | April 23, 2001 | Incorrect wiring instructions - connection for the line and neutral terminals were reversed. | 674 units | Nationwide and Puerto Rico