## 2002-4-17
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2002-4-17 | Drugs | II | d-231-2 | A) Levothyroxine Sodium Usp Tablets 25 Mcg (0.025 Mg) Rx Only 100 And 1 000 Count Bottles. Recall # D-231-2. B) Levothyroxine Sodium Usp Tablets 50 Mcg (0.05 Mg) Rx Only 100 And 1 000 Count Bottles. Recall # D-232-2. Both Strengths Are Sold Under The Vintage Qualitest And Url Brand Labels. | Vintage Pharmaceuticals Inc. Charlotte Nc | Vintage Pharmaceuticals Inc. Charlotte Nc | November 8, 2000 | Stability; inability to maintain potency throughout the labeled expiration date. | a 15 795 bottles 0 025 mg size b 13 043 bottles 0 05 mg size | AL
2002-4-17 | Drugs | III | d-230-2 | Calcijex Calcitriol Injection For I.v. Use 1 Mcg/ml Single Dose Ampul Rx Only. Recall # D-230-2. | Abbott Laboratories Abbott Park Il | Abott Laboratories Rocky Mount Nc. | March 7, 2002 | Mispackaging: vitamin k1 injection found in a box of calcijex injection. | 126 075 units | Nationwide
2002-4-17 | Drugs | III | d-233-2 | Paclitaxel Injection 6 Mg/ml Packaged In 5 Ml 167ml And 50 Ml Multiple-dose Vials Rx Only. Recall # D-233-2. | Ben Venue Laboratories Inc. Bedford Oh | Ben Venue Laboratories Inc. Bedford Oh | March 5, 2002 | Impurity levels are exceeding specifications (during stability testing). | 33 216 vials | Nationwide and Puerto Rico
2002-4-17 | Drugs | III | d-237-2 | Hand Medic Antiseptic Skin Treatment Otc Packaged In 500 Ml Cartridges And 2 Oz 4 Oz And 8 Oz Bottles Active Ingredient: Benzalkonium Chloride 0.1%. Recall # D-237-2. The 500 Ml Cartridges Are Sealed Poly Bags Inside A Rectangular Cardboard Box 6 Per Case. All Bottles Are Black Plastic 12 Per Case (2 Oz & 4 Oz Bottles) Or 6 Per Case (8 Oz Bottles). The 500 Ml Cartridges And The 4 Oz And 8 Oz Bottles Are Packaged Under The Gojo Brand Label; And The 2 Oz Bottles Are Packaged Under Either The Gojo Brand Or Pro-link Brand Labels. The Product Catalog Numbers Are As Follows: #8242-06 (500 Ml Cartridges); #8142-12 (2 Oz); #8147-12 (4 Oz). #8145-06 (8 Oz) | Gojo Industries Inc. Cuyahoga Falls Oh | Gojo Industries Inc. Cuyahoga Falls Oh | March 26, 2002 | Superpotency of the active ingredient (benzalkonium chloride). | 9 703 cases | Nationwide
2002-4-17 | Drugs | III | d-238-2 | Provon Medicated Lotion Soap With Triclosan Otc Packaged In 12 Fl Oz. White Plastic Bottles. Active Ingredient: Triclosan 0.3% Product Number 4153-12. The Bottles Are Packaged Under The Gojo Brand Label. Recall # D�238-2. A Case Contains 12-12 Fl Oz Bottles With A Pump Closure In Cardboard Box. | Gojo Industries Inc. Cuyahoga Falls Oh | Gojo Industries Inc. Cuyahoga Falls Oh | March 29, 2002 | Misbranding: back bottle label declares incorrect active ingredient. | 37 cases | WI IL WA MO NE LA MA and CA
2002-4-17 | Biologics | II | b-0976-2 | A) Red Blood Cells Recall # B-0976-2; B) Recovered Plasma Recall #b-0977-2. | Blood Systems Inc. Lubbock Tx | Blood Systems Inc. Lubbock Tx | May 9, 2001 | Blood products, that tested negative for the antibody to hepatitis c virus (anti-hcv), but were collected from an unsuitable donor based previous repeatedly reactive testing for anti-hcv, were distributed. | 6 units | TX CA and NY
2002-4-17 | Biologics | II | b-0982-2 | A) Red Blood Cells Recall # B-0982-2; B) Red Blood Cells Leukocytes Reduced Recall # B-0983-2; C) Fresh Frozen Plasma Recall # B-0984-2 | American Red Cross Greater Chesapeake And Potomac Region Baltimore Md | American Red Cross Greater Chesapeake And Potomac Region Baltimore Md | February 24, 1997 | Blood products, that were produced from 500 ml units of whole blood that were collected in 450 ml bags, were distributed. | 237 units | MD VA DC PA GA and Puerto Rico
2002-4-17 | Biologics | II | b-1032-2 | A) Platelets Pheresis Recall # B-1032-2; B) Platelets Pheresis Leukocytes Reduced Recall # B-1033-2 | Manatee Community Blood Centers Inc. Bradenton Fl | Manatee Community Blood Centers Inc. Bradenton Fl | March 13, 2001 | Platelets, that exceeded the manufacturer�s recommendation for platelet count, were distributed. | 7 units | FL NY and PA
2002-4-17 | Biologics | II | b-1035-2 | A) Red Blood Cells Leukocytes Reduced Recall # B-1035-2 B) Platelets Leukocytes Reduced Recall # B-1036-2. | American Red Cross Blood Services northern Ohio Region Cleveland Oh | American Red Cross Blood Services northern Ohio Region Cleveland Oh | January 30, 2002 | Blood products, collected from a donor who reported living in an area designated as endemic for malaria, were distributed. | 2 units | OH
2002-4-17 | Biologics | II | b-1037-2 | Red Blood Cells Leukocytes Reduced Recall # B-1037-2 | American Red Cross Carolina Region Charlotte Nc | American Red Cross Carolina Region Charlotte Nc | July 30, 2001 | Blood products, collected from a donor who reported living in an area designated as endemic for malaria, were distributed. | 2 units | NC
2002-4-17 | Biologics | II | b-1039-2 | A) Red Blood Cells Recall # B-1039-2 B) Platelets Recall # B-1040-2 | Central Kentucky Blood Center Lexington Ky | Central Kentucky Blood Center Lexington Ky | January 24, 2002 | Blood products, collected from a donor who reported travel to an area designated as endemic for malaria, were distributed. | 3 units | KY
2002-4-17 | Biologics | II | b-1066-2 | Red Blood Cells Leukocytes Reduced Recall # B-1066-2 | Blood Systems Inc. Scottsdale Az | Blood Systems Inc. Scottsdale Az | August 3, 2001 | Blood product, collected from a donor that tested positive for the s red blood cell antigen, but was incorrectly labeled as negative for the s antigen, was distributed. | 1 unit | TX
2002-4-17 | Biologics | II | b-1067-2 | Fresh Frozen Plasma Recall # B-1067-2 | Blood Bank Of San Bernardino And Riverside Counties San Bernardino Ca | Blood Bank Of San Bernardino And Riverside Counties San Bernardino Ca | June 29, 2001 | Blood product, that contained type a1 red blood cell antibodies, but was incorrectly labeled negative for unexpected red blood cell antibodies, was distributed. | 1 unit | CA
2002-4-17 | Biologics | II | b-1069-2 | Corneas Recall # B-1069-2 | North Carolina Eye Bank Inc. Winston-salem Nc | North Carolina Eye Bank Inc. Winston-salem Nc | September 12, 2001 | Human tissue for transplantation, that tested negative for hepatitis b surface antigen (hbsag) prior to distribution, but was subsequently found to test repeatedly reactive for hbsag by a different facility, was distributed. |  | but was Subsequently Found TO Test Repeatedly Reactive for Hbsag BY A Different Facility was Distributed Volume OF
2002-4-17 | Biologics | II | b-1070-2 | A) Red Blood Cells Leukocytes Reduced Recall # B-1070-2; B) Recovered Plasma Recall # B-1071-2 | The American National Red Cross Connecticut Region Farmington Ct | The American National Red Cross Connecticut Region Farmington Ct | January 15, 2002 | Blood products, that tested negative for viral markers, but were collected from a donor who did not properly use the confidential unit exclusion form to indicate whether the blood should be used, were distributed. | 2 units | CT and CA
2002-4-17 | Biologics | II | b-1072-2 | A) Red Blood Cells Recall #b-1072-2; B) Red Blood Cells Leukocytes Reduced Recall # B-1073-2; C) Platelets Recall # B-1074-2; D) Cryoprecipitated Ahf Recall # B-1075-2; E) Plasma Recall # B-1076-2; F) Fresh Frozen Plasma Recall # B-1077-2; G) Red Blood Cells For Manufacture Recall # B-1078-2; H) Platelets For Further Manufacture Recall # B-1079-2; I) Recovered Plasma Recall #b-1080-2 | The American National Red Cross Southern Region Atlanta Ga | The American National Red Cross Southern Region Atlanta Ga | November 1, 2000 | Blood products, that tested negative for the antibody to human immunodeficiency virus (anti-hiv), but were collected from donors that previously tested repeatedly reactive for anti-hiv, were distributed. | 268 units | GA FL CA and Switzerland
2002-4-17 | Biologics | III | b-1064-2 | Source Plasma Recall # B-1064-2. | Alpha Therapeutic Corp. City Of Industry Ca | Alpha Therapeutic Corp. City Of Industry Ca | June 28, 2001 | Source plasma, that was exposed to unacceptable storage temperatures and was not properly relabeled as source plasma, salvaged, was distributed. | 8 units | Sweden
2002-4-17 | Biologics | III | b-1065-2 | Fresh Frozen Plasma Recall # B-1065-2 | Blood Systems Inc. Scottsdale Az | Blood Systems Inc. Scottsdale Az | August 13, 2001 | Blood product, exposed to potentially unacceptable temperatures during storage, was distributed. | 1 unit | AZ
2002-4-17 | Biologics | III | b-1068-2 | Sclera Recall # B-1068-2 | South Carolina Lions Eye Bank Inc. West Columbia Sc | South Carolina Lions Eye Bank Inc. West Columbia Sc | December 12, 2001 | Human tissue for transplantation was distributed prior to the receipt of viral marker test results. | 2 tissues | SC
2002-4-17 | Devices | I | z-0597-2 | Various Ob/gyn Surgical Devices Labeled As Sterile Or Processed By Eto. Recall # Z-0597-2. | A & A Medical/rocket Usa (also Labeled Lifequest) Alpharetta Ga | A & A Medical/rocket Usa (also Labeled Lifequest) Alpharetta Ga | March 13, 2002 | Devices may not have been adequately sterilized. | unknown at this time | Nationwide Worldwide
2002-4-17 | Devices | I | z-0755-2 | Bard Rapidfire Multiple Band Ligator Recall # Z-0755-2. | Bard Endscopic Technologies Division C.r.bard Inc. Billerica Ma | Proximal Inc. Largo Fl. | January 31, 2002 | Band ligator may fail to deploy and prevent control of bleeding. | 12 206 units | Nationwide
2002-4-17 | Devices | II | z-0782-2 | Prosorba Protein A Immunoadsorption Column - Indicated For Use In The Therapeutic Removal Of Immunoglobulin G (igg) And Igg- Containing Circulating Immune Complexes From Plasma In Patients With Idiopathic Thromocytopenic Purpura (itp) Having Patelet Counts Less Than 100 00mm3. The Prosorba Column Is Indicated For Use In The Therapeutic Reduction Of The Signs And Symptoms Of Moderate To Severe Rheumatoid Arthritis In Adult Patients With Long Standing Disease Who Have Failed Or Are Intolerant To Disease-modifying Anti-rheumatic Drugs (dmards). Recall # Z-0782-2. | Fresenius Hemocare Inc. Redmond Wa | Fresenius Hemocare Inc. Redmond Wa | September 20, 2001 | Increased potential to develop vasculitis. | 1737 columns distributed that are still within date | Nationwide and Wendel and Hong Kong
2002-4-17 | Devices | II | z-0784-2 | A) Orthoarts Lower Extremity Drape Bulk Pack Non-sterile; B) Orthoarts Lower Extremity Drape Sterile; C) Orthoarts Lower Extremity Pack Sterile; D) Orthoarts Hip Drape Bulk Pack Non-sterile; E) Orthoarts Hip Drape Sterile; F) Orthoarts Hip Pack Sterile; G) Orthoarts Knee Arthroscopy Drape Bulk Non-sterile; H) Orthoarts Knee Arthroscopy Drape Sterile; I) Orthoarts Knee Arthroscopy Pack; J) Canton-potsdam Lower Extremity Pack; K) Mercer Orthopedic Ii Pack; L) Orthoarts Lower Extremity Pack; M) Sharon Regional Total Knee Pack Recall # Z-0784-2/z-0796-2. | Kimberly-clark Corp. Roswell Ga | Avent Sa De Cv Nogales Sonora Mexico. | Dec. 17, 2001 | The fenestrated elastic film can separate from drape causing a break in sterility. | 234 166 drapes | Nationwide and Internationally
2002-4-17 | Devices | II | z-0798-2 | Ha Threaded Implant 40mm X13.0mm Sterile Endosseous Implants For Use In Dental Implant Surgery. Recall # Z-0798-2. | Implant Innovations Inc. Palm Beach Gardens Fl | Implant Innovations Inc. Palm Beach Gardens Fl | Feb. 21, 2002 | Implants may not have the labeled hydroxylapatite coating. | 25 | CA NV and MI
2002-4-17 | Devices | II | z-0799-2 | First Aid Only All Purpose First Aid Kit (item# Fa-143c) Recall # Z-0799-2. | First Aid Only Vancouver Wa | First Aid Only Vancouver Wa | Sept. 20, 2001 | First aid kits were made using a recalled antiseptic spray that may be subpotent. | 89 213 kits containing the antiseptic spray | Nationwide
2002-4-17 | Devices | II | z-0800-2 | Instatrak Adult Headset (part No 1000497) Recall # Z-0800-2; Instatrak Large Pediatric (part No 1000948). Recall # Z-0801-2; Instatrak Small Pediatric (part No 1000949). Recall # Z-0802-2. The Instatrak System Is Intended As An Aid To The Surgeon For Precisely Locating Anatomical Structures Anywhere In The Human Body During Either Open Or Percutaneous Procedures. | Visualization Technology Inc. Lawrence Ma | Visualization Technology Inc. Lawrence Ma | Feb. 20, 2002 | Use of headset in a rotated position may result in undetected system inaccuracy. | 2624 adult 65 pediatric | Nationwide
2002-4-17 | Devices | II | z-0803-2 | Misys Laboratory (formerly Flexilab) Information System Recall # Z-0803-2. | Misys Healthcare Systems Tuscon Az | Misys Healthcare Systems Tuscon Az | March 8, 2002 | Software anomaly may allow patient results to be transposed against another patient header or identification. | 765 | Nationwide and TO United Kingdom Ireland Canada Denmark Bermuda Saudi Arabia
2002-4-17 | Devices | II | z-0823-2 | Kappa 700/600 Dual Chamber (d Dr And Vdd) Implantable Pulse Generator Pacemakers Models Kd700 Kd701 Kd703 Kd706 Kdr600 Kdr601 Kdr603 Kdr606 Kdr651 Kdr653 Kdr700 Kdr701 Kdr703 Kdr706 Kdr720 Kdr721 Kdr730 Kdr731 Kdr733 Kvdd700 And Kvdd701 Recall # Z-0804- 2/z-0823-2. | Medtronic Inc. Minneapolis Mn | Medtronic Inc. Minneapolis Mn | March 15, 2002 | Submuscular implant locations (subpectoral, abdominal, etc.) can result in additional stress and repetitive flexing on the implanted pacemaker, causing excessive fatigue and fracture of internal wires supplying power to the pacemaker. | 256 759 pacemakers | Nationwide and Internationally
2002-4-17 | Devices | II | z-0824-2 | Brand Name: Immulite 2000 Anti-thyroglobulin Antibody Common/ Usual Name: Immulite 2000 Anti-thyroglobulin Antibody Intended For The Quantitative Measurement Of Autoantibodies To Thyroglobulin In Serum Edta And Heparinized Plasma Recall #z-0824-2. | Diagnostic Products Corp. Los Angeles Ca | Euro/dpc Ltd. Wales The United Kingdom. | Jan. 29, 2002 | Insufficient stability at certain temperatures causes control values to be high. | 174 | Nationwide and Brazil Saudi Arabia and People's Republic OF China
2002-4-17 | Devices | II | z-0825-2 | Brand/common/usual Name Of Device: Immulite Anti-tpo This Is An In-vitro Diagnostic Device It Is Supplied In 100 And 500 Test Kits. Model/catalog Numbers Are: 100 Test: Lkt01 175 500 Test: Lkt05 175. Recall # Z-0825-2. | Diagnostic Products Corp. Los Angeles Ca | Diagnostic Products Corp. Los Angeles Ca | January 30, 2002 | Instability caused positively biased control values. | 82 | Nationwide
2002-4-17 | Devices | II | z-0826-2 | Deroyal Vasectomy Tray A Surgical Kit P/n 50-9112 Recall # Z-0826-2. | Deroyal Industries Inc. Powell Tn | Deroyal Surgical New Tazewell Tn. | March 15, 2002 | Surgical kits contained recalled ethicon sutures. | 1 case of 20 kits | WI
2002-4-17 | Devices | II | z-0827-2 | Selector Ultrasonic Surgical Aspirator System; Affected Part Is The Selector Integra Ultrasonic Aspirator Operator's Manual Part Number: Om 1530000m1; Issue C168-4 Recall # Z-0827-2. | Integra Neurocare Llc. San Diego Ca | Spembly Medical Ltd. England. | March 11, 2002 | Directions cite euro approved not us approved sterilization cycle parameters. | 88 | Nationwide and DC
2002-4-17 | Devices | III | z-0781-2 | Sta-deficient Viii Immuno-depleted Plasma For Factor Viii: C Assay By Sta Analyzers. Recall # Z-0781-2. | Diagnostica Stago Inc. Parsippany Nj | Diagnostic Stago Taverny France. | December 15, 2001 | Gradual decline in stability of the reagent after reconstitution. | 1249 boxes x 6 vials | Nationwide and France Finland Greece and Germany
2002-4-17 | Devices | III | z-0783-2 | Immuclone Aphl Elisa Kit (igg And Igm) Calibrators Recall # Z-0783-2. | Louisville Apl Diagnostics Inc. Doraville Ga | Louisville Apl Diagnostics Inc. Doraville Ga | August 16, 2001 | Igg and igm calibrators took too long for color reactions. | 50 kits igg and 50 kits of igm | CT
2002-4-17 | Devices | III | z-0797-2 | Unizyme Recall # Z-0797-2 | Ciba Vision Corp. Duluth Ga | Cfh Laboratories L.p. Morris Plains Nj. | December 28, 2001 | Contamination with brass particles from the tablet press. | 269 807 kits | Nationwide and Internationally