## 2002-8-14
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2002-8-14 | Drugs | II | d-372-2 | A) Clonazepam Tablets Usp 1 Mg 100 500 And 1 000 Count Bottles Rx Only. Recall # D-372-2; B) Clonazepam Tablets Usp 2 Mg 100 And 500 Count Bottles Rx Only. Recall # D-373-2. | Teva Pharmaceuticals Usa Sellersville Pa | Teva Pharmaceuticals Jerusalem Israel. | June 10, 2002 | Tablet mix up: 2 mg tablets may be in bottles labeled as containing 1 mg tablets and/or 1 mg tablets may be in bottles labeled as containing 2mg tablets. | 160 391 bottles | Nationwide
2002-8-14 | Drugs | II | d-377-2 | A) Levothroid Tablets (levothyroxine Sodium Tablets Usp) 100-mcg 100-count And 5 000-count Bottles Recall # D-377-2. B) Levothroid Tablets (levothyroxine Sodium Tablets Usp) 125-mcg 100-count Bottles. Recall # D-378-2. | Forest Pharmaceuticals Inc. St. Louis Mo | Forest Pharmaceuticals Inc. Cincinnati Oh. | May 30, 2002 | Subpotent prior to expiration date. | 790 5 000 tab btls 64 637 100 tab btls | Nationwide
2002-8-14 | Drugs | III | d-337-2 | Lariam (mefloquine Hcl) Tablets 250mg 25 Carton Count. Recall # D-337-2. | Roche Laboratories Nutley Nj | F. Hoffmann-la Roche Basel Switzerland. | April 19, 2002 | Potential cross contamination with active ingredients which could include levodopa/benserazide, and/or sulfamethoxazole. | 69 447 bottles | Nationwide
2002-8-14 | Drugs | III | d-374-2 | Imodium Advanced Chewable Tablets (loperamide Hcl/simethicone) Single Pack For Display Hanger 2 Tablets Per Pack Packaged In The Clear Pouch Of The Display Hanger Card Is A Viewable Single Packet Labeled Imodium A-d Anti-diarrheal (loperamide Hcl) Caplets 2 Caplets Each Caplet Contains 2 Mg Loperamide Hcl. Recall # D-374-2. | Navajo Manufacturing Company Inc. Denver Co | Mcneil Consumer Products Fort Washington Pa. | May 22, 2002 | Mispackaging by repacking firm; imodium a-d caplets containing loperamide hcl were mislabeled as imodium advanced chewable tablets containing loperamide and simethicone. | 51 2500 ct cases | Nationwide
2002-8-14 | Drugs | III | d-375-2 | Cortizone 10 Anti-itch Ointment 1% Hydrocortisone 30% Bonus Size 13 Oz Tube. Recall # D-375-2. | Pfizer Consumer Healthcare Morris Plains Nj | Pfizer Inc. Parsippany Nj. | May 21, 2002 | Superpotency (24 month stability test point). | open stock 28 956 part of display 81 672 | Nationwide
2002-8-14 | Drugs | III | d-376-2 | North Burn Jel Topical Analgesic: Contains Lidocaine Hcl (20%) Six-packets 1/8 Oz. (3.5 G). Recall # D-376-2. | North Safety Products Cranston Ri | North Safety Products Mexacli Bc. | July 22, 2002 | Misbranding: six unit holding carton mislabeled as burn jel (lidocaine hcl) but actually contains individual non-medicated packages of the product cool jel. | 1 200 units | AZ CA CO IL OH PA FL SC MT NV WY and TX
2002-8-14 | Drugs | III | d-379-2 | A) Hydrocortisone Cream 1% 09 Gram And 1 Gram Packets. Recall # D-379-2; B) Hydrocortisone Cream .5% 0.9 Gram And 1 Gram Packets. Recall # D-380-2. These Over-the-counter Drugs Are Sold Under The Following Private Labels: Hydrocortisone Cream Usp 1% 0.9 Gram Manufactured For Just American Safety Osceola In 1% Hydrocortisone Anti-itch Cream 0.9 Gram Manufactured For First Aid Direct Sunrise Fl Hydrocortisone Cream 1% Manufactured For Textilease Medique Skokie Il Hydro-max 1% Hydrocortisone Acetate Cream 0.9 Gm Manufactured For: Affirmed Medical Inc. Dallas Tx Hydrocortisone 1% 0.9 Gm Manufactured For: Esafetyco Salinas Ca Swift Hydrocortisone Cream Usp 1% Packets 1 Gm Dist. By Swift First Aid Inc. Valencia Ca Hydrocortisone Cream 1/2% And 1% 1 Gm Distributed By: Moore Medical Corp. New Britian Ct 1/2% Ndc #0839-8019-72 And 1% Ndc #0839-8020-72 Hydrocortisone 1% 0.9 Gm Mfg. For American First Aid Hanover Md Hydrocortisone Cream 1% 1 Gm Dist. By Green Guard First Aid And Safety Service St. Louis Mo Respond Hydrocortisone 1% Cream Itch Relief 1 Gm Manufactured For: Respond Ind. Denver Co. | Ultraseal Corp. New Paltz Ny | Ultratab Laboratories Inc. Highland Ny. | July 5, 2002 | Subpotent. | 1 2 622 944 packets 1 786 416 packets | CA CO FL IL KS MD and MO
2002-8-14 | Biologics | II | b-1743-2 | Platelets Pheresis Leukocytes Reduced Recall # B-1743-2. | Blood Systems Inc. Scottsdale Az | United Blood Services Albuquerque Nm. | October 15, 2001 | Blood products, which were labeled as leukoreduced, but did not meet the requirements for a leukoreduced product, were distributed. | 2 units | NM
2002-8-14 | Biologics | II | b-1744-2 | A) Red Blood Cells Recall # B-1744-2; B) Red Blood Cells Leukocytes Reduced Recall # B-1745-2 | Recalling Firm: blood Systems Inc. Scottsdale Az | United Blood Services Albuquerque Nm. | October 18, 2001 | Blood products, collected from a donor who had traveled to an area designated as endemic for malaria, were distributed. | 2 units | MD and NM
2002-8-14 | Biologics | II | b-1746-2 | Red Blood Cells Leukocytes Reduced Recall # B-1746-2 | Recalling Firm: blood Systems Inc. Scottsdale Az | united Blood Services Cheyenne Wy. | March 28, 2001 | Blood product, collected from a donor who traveled to a malarial endemic area, was distributed. | 1 unit | MS
2002-8-14 | Biologics | II | b-1747-2 | Red Blood Cells Leukocytes Reduced Recall # B-1747-2 | Recalling Firm: blood Systems Inc. Scottsdale Az | United Blood Services Albuquerque Nm. | May 29, 2002 | Blood product, collected from a donor who traveled to a malarial endemic area, was distributed. | 1 unit | NM
2002-8-14 | Biologics | II | b-1748-2 | Red Blood Cells Leukocytes Reduced Recall # B-1748-2 | Blood Systems Inc. Scottsdale Az | blood Systems Inc. Ventura Ca. | May 2, 2002 | Blood product, manufactured in a manner that may have compromised the sterility of the unit, was distributed. | 1 unit | CA
2002-8-14 | Biologics | II | b-1753-2 | Platelets Pheresis Leukocytes Reduced Recall # B-1753-2 | The American National Red Cross Alabama Region Birmingham Al | The American National Red Cross Alabama Region Birmingham Al | October 2, 2000 | Platelets pheresis with an elevated platelet count based on | 1 unit | AL
2002-8-14 | Biologics | II | b-1754-2 | Platelets Pheresis Leukocytes Reduced Recall # B-1754-2 | The American National Red Cross Alabama Region Birmingham Al | The American National Red Cross Alabama Region Birmingham Al | May 5, 2000 | Platelets pheresis with an elevated platelet count based on | 1 unit | AL
2002-8-14 | Biologics | II | b-1755-2 | Platelets Pheresis Leukocytes Reduced Recall # B-1755-2 | The American National Red Cross Alabama Region Birmingham Al | The American National Red Cross Alabama Region Birmingham Al | April 13, 2000 | Platelets pheresis with an elevated platelet count were distributed. | 3 units | AL
2002-8-14 | Biologics | II | b-1756-2 | Platelets Pheresis Leukocytes Reduced Recall # B-1756-2 | The American National Red Cross Alabama Region Birmingham Al | The American National Red Cross Alabama Region Birmingham Al | August 21, 2000 | Platelets pheresis with unacceptable platelet counts were distributed. | 11 units | AL
2002-8-14 | Biologics | II | b-1757-2 | A) Red Blood Cells Recall # B-1757-2; B) Platelets Recall # B-1758-2; C) Fresh Frozen Plasma Recall # B-1759-2 | American Red Cross Penn Jersey Region Philadelphia Pa | American Red Cross Penn Jersey Region Philadelphia Pa | September 7, 2001 | Blood products, that tested negative for viral markers, but were collected from a donor that subsequently admitted to multiple risk factors for increased incidence of infection with human immunodeficiency virus (hiv), were distributed. | 3 units | PA
2002-8-14 | Biologics | II | b-1760-2 | Source Plasma Recall # B-1760-2 | Seracare Inc. Sercare Acquisitions Inc. Everett Wa | Seracare Inc. Sercare Acquisitions Inc. Everett Wa | December 24, 2001 | Blood products, that tested negative for viral markers, but were collected from a donor who had previously been deferred due to high risk behaviors associated with increased incidence of infection with human immunodeficiency virus (hiv), were distributed. | 21 units | CA
2002-8-14 | Biologics | II | b-1761-2 | A) Red Blood Cells Recall # B-1761-2; B) Platelets Recall # B-1762-2; C) Plasma Frozen Recall # B-1763-2 | American Red Cross Pacific Northwest Regional Blood Services Portland Or | American Red Cross Pacific Northwest Regional Blood Services Portland Or | October 23, 2001 | Blood products, that tested negative for viral markers, but were collected from a donor who subsequently admitted to multiple risk factors for increased incidence of infection with human immunodeficiency virus (hiv), were distributed. | 3 units | OK
2002-8-14 | Biologics | II | b-1764-2 | A) Red Blood Cells Recall # B-1764-2; B) Platelets Recall # B-1765-2 | American Red Cross Penn Jersey Region Philadelphia Pa | American Red Cross Penn Jersey Region Philadelphia Pa | June 13, 2001 | Blood products, collected from a donor with a history of having tested positive for anti-hcv, were distributed. | 2 units | PA
2002-8-14 | Biologics | II | b-1766-2 | Source Plasma Recall # B-1766-2 | Seracare Inc. Colorado Springs Co | Seracare Inc. Colorado Springs Co | October 8, 2001 | Blood products, collected from a donor who tested positive for syphilis, were distributed. | 4 units | CA
2002-8-14 | Biologics | II | b-1767-2 | Source Plasma Recall # B-1767-2 | Seracare Inc. Colorado Springs Co | Seracare Inc. Colorado Springs Co | July 12, 2002 | Blood products, collected from a donor who was not tested for syphilis, were distributed. | 2 units | Spain
2002-8-14 | Biologics | II | b-1768-2 | Red Blood Cells Leukocytes Reduced Recall # B-1768-2 | American Red Cross pacific Northwest Regional Blood Services Portland Or | American Red Cross pacific Northwest Regional Blood Services Portland Or | February 26, 2002 | Blood product, collected from a donor whose temperature was not accurately determined, was distributed. | 1 unit | OR
2002-8-14 | Biologics | II | b-1769-2 | A) Red Blood Cells Recall # B-1769-2; B) Frozen Plasma Recall # B-1770-2; C) Recovered Plasma Recall # B-1771-2 | American Red Cross Pacific Northwest Blood Services Portland Or | American Red Cross Pacific Northwest Blood Services Portland Or | August 31, 2001 | Blood products, collected from a donor with a history of having tested positive for hepatitis, were distributed. | 4 units | OR Washington DC and Switzerland
2002-8-14 | Biologics | III | b-1331-2 | Red Blood Cells Leukocytes Reduced Recall # B-1331-2. | The American National Red Cross Alabama Region Birmingham Al | The American National Red Cross Alabama Region Birmingham Al | June 23, 2000 | Blood products, that were not leukoreduced within the appropriate time period from collection, were distributed. | 2 units | AL
2002-8-14 | Biologics | III | b-1742-2 | Source Plasma Recall # B-1742-2 | Aventis Bio-services Inc. Kansas City Mo | Aventis Bio-services Inc. Kansas City Mo | August 15, 2001 | Source plasma, collected from a donor taking anti-depressant drugs, were distributed. | 23 units | IL and Germany
2002-8-14 | Biologics | III | b-1780-2 | Frozen Plasma Recall # B-1780-2 | American Red Cross Pacific Northwest Regional Blood Services Portland Or | American Red Cross Pacific Northwest Regional Blood Services Portland Or | April 3, 2002 | Blood product, collected from a donor who developed a hematoma, was distributed. | 1 unit | OR
2002-8-14 | Devices | I | z-1186-2 | Captia Syphilis G Elisa Test Kit For In Vitro Diagnostic Use. Packed In Kits Of 96 Determinations And Kits Of 960 Determinations. Recall # Z-1186-2. | Trinity Biotech Plc Co. Wicklow Ireland | Trinity Biotech Plc Co. Wicklow Ireland | July 22, 2002 | Potential false negative results. | 292 units | CA FL MN NJ and PA
2002-8-14 | Devices | II | z-1124-2 | A)calcium Reagent For Hitachi Modular P Analyzer Catalog No. 1730240. Recall # Z-1124-2; B)calcium Reagent For Hitachi Modular P And D Analyzers Catalog Nos. 1929780 And 1929798. Recall # Z-1125-2; C)calcium Reagent For Hitachi Modular D Analyzer Catalog Nos. 1929801 And 1929828. Recall # Z-1126-2; D)calcium Reagent For Hitachi Model 704 717 902 904 911 912 And 914 Analyzers Catalog No. 1489216. Recall # Z-1127-2; E)calcium Reagent For Hitachi Model 717 904 911 912 And 914 Analyzers Catalog No. 1125621. Recall # Z-1128-2; F)calcium Reagent For Hitachi Model 736 737 And 747 Analyzers Catalog Nos. 1127551 And 1127560. Recall # Z-1129-2; G)calcium Reagent For Hitachi Model 747-400 Analyzers Catalog Nos. 1554352 And 1554352. Recall # Z-1130-2; H)cobas Integra 400 700 And 800 Calcium Reagent Art 0763128; Catalog No. 2055716. Recall # Z-1131-2. | Roche Diagnostics Corp. Indianapolis In | Roche Diagnostics Corp. Indianapolis In | April 10, 2002 | Mri contrast media interferes with calcium test results. | 2 867 analyzers | Nationwide
2002-8-14 | Devices | II | z-1189-2 | Esoft Software Version 2.0 Used On All E.cam Emission Imaging Computed Tomography Systems With E.soft A Or E.soft A/p Nuclear Medicine Workstations. Recall # Z-1189-2. | Siemens Medical Solutions Usa Inc. Hoffman Estates Il | Siemens Medical Solutions Usa Inc. Hoffman Estates Il | July 12, 2002 | Incorrect image time stored for static images resulting in incorrect results. | 346 units | Nationwide and Internationally
2002-8-14 | Devices | II | z-1190-2 | Oec Miniview 6800 Mobile C-arm X-ray System Recall # Z-1190-2. | Ge Oec Medical Systems Inc. Salt Lake City Ut | Ge Oec Medical Systems Inc. Salt Lake City Ut | May 6, 2002 | Unit may become unbalanced and tip when the c-arm assembly is extended. | 369 | Nationwide and Internationally
2002-8-14 | Devices | II | z-1191-2 | BLUE, PEDI BLUE, and BABY BLUE line of manual resuscitators | Vital Signs Inc. Totowa Nj | Vital Signs Inc. Totowa Nj | May 13, 2002 | Failures due to air/oxygen leakage. | 227 580 | Nationwide and Internationally
2002-8-14 | Devices | II | z-1193-2 | Disposable Bipolar Cable Sterile 12 Foot Packaged In Pouch Under The Q2 Medical Label 10 Pouches Per Case Recall # Z-1193-2. | Olsen Medical Louisville Ky | Olsen Medical Louisville Ky | June 25, 2002 | Device may not be sterile due to packaging defect. | 2 650 units | NM WA VA MI NY PA TX OK and TN
2002-8-14 | Devices | II | z-1197-2 | Medcomp Custom Dialysis Trays/kits The Trays/kits Are Prep Trays That Do Not Contain A Catheter. The Trays/kits Contain Wyeth's Heparin 1000 Units/ml 1 Ml Dosette Vial. Recall # Z-1197-2. | Medical Components Inc. Harleysville Pa | Medical Components Inc. Harleysville Pa | May 6, 2002 | Kits contain recalled heparin. | 8603 kits | Nationwide
2002-8-14 | Devices | II | z-1201-2 | Terumo(tm) Hypodermic Syringes Sterile Bulk Packed In Plastic Thermo-formed "pharmacy Trays" Heat Sealed With Tyvek Lidstock 10 Syringes Per Tray 12 Trays Per Case. Recall # Z-1201-2. | Terumo Medical Corp. Elkton Md | Terumo Medical Corp. Elkton Md | June 6, 2002 | Hypodermic syringe packaging defect could compromise sterility. | 2040 syringes | MO and Canada
2002-8-14 | Devices | II | z-1202-2 | Crosssail (brand) Coronary Dilatation Catheter 30 X 20 Mm. Recall # Z-1202-2. Common Name: Coronary Dilatation Catheter | Guidant Corp. Temecula Ca | Guidant Corp. Temecula Ca | June 3, 2002 | Inadequate bond joint. | 145 | Nationwide
2002-8-14 | Devices | II | z-1203-2 | Logix-cm Compounder Software Recall # Z-1203-2. | Baxter Healthcare Corp. Round Lake Il | Baxter Healthcare Corp. Round Lake Il | June 18, 2002 | Software allows ingredient concentration errors during compounding. | 4 units | NC UT AZ and WI
2002-8-14 | Devices | II | z-1204-2 | Kimberly-clark Ballard Trach Care* Closed Suction System For Pediatrics Tracheobronchial Suction Catheter. Recall # Z-1204-2. | Ballard Medical Products Draper Ut | Ballard Medical Products Draper Ut | March 19, 2002 | Product is unusable as assembled due to an incorrect component (elbow). | 61 cases 1220 units | Nationwide and Canada
2002-8-14 | Devices | II | z-1205-2 | A) Axsym B12 Reagent Pack (dual Pack) List 3c79-20 Recall # Z-1205-2; B) Imx B12 Reagent Pack List 2200-20. Recall # Z-1206-2. 100 Test Kits | Abbott Laboratories Inc. Abbott Park Il | Abbott Laboratories Inc. Abbott Park Il | July 18, 2002 | Precision problem - controls out of range. | 5 826 kits | Internationally
2002-8-14 | Devices | II | z-1210-2 | A) Lifescan Brand Onetouch Ultra Blood Glucose Meter Recall # Z-1210-2; B) Lifescan Brand Induo Blood Glucose Meter. Recall # Z-1211-2. | Lifescan Inc. Milpitas Ca | Inverness Medical Ltd. United Kingdom. | May 13, 2002 | Products may encounter display problem: "er 4" message. | 2 080 000 units | Nationwide and Internationally
2002-8-14 | Devices | III | z-1192-2 | Endopath Non-bladed Obturator Trocar With Smooth Sleeve Size 5mm Length 100mm Handled. The Handled Obturator Trocar And The Smooth Sleeve Components Are Packaged Dissasembled As A Set In A Single Labeled Package. The Devices Are Packaged As 6 Sets Per Unit Box. Each Of The Components Can Also Be Purchased Separately By End-users. Recall # Z-1192-2. | Ethicon Endo-surgery Inc. Cincinnati Oh | Ethicon Endo-surgery Inc. Ciudad Juarez Chihuahua Mexico. | February 27, 2002 | The packaged device is missing the trocar sleeve component. | 171 units 1026 components | Nationwide
2002-8-14 | Devices | III | c-2412-4 | Gambro Renal Products Acid Concentrate For Bicarbonate Dialysate Ac-2412-4 Date Of Mfg Dec 01 Exp Date: Dec 03. Recall # Z-1194-2. | Gambro Renal Products Daytona Beach Fl | Di-chem Concentrates Inc. Lewisberry Pa. | December 21, 2001 | Incorrect ingredient concentrations on labeling. | 41 4 gallon cases | VI PA MA and nyk
2002-8-14 | Devices | III | z-1196-2 | Pw-41 Microplate Washer Recall # Z-1196-2. Washer Automatically Washes Microtiter Plates. Product Is Labeled In Part "***bio-rad Redmond Wa***". | Bio-rad Laboratories Redmond Wa | Adil Instruments Sa Strasbourh Schiltigheim France. | April 13, 2002 | Firmware error - time base rate for calculating soaking time & method interval. | 9 | FL KS OH PA PR SC TX and WI
2002-8-14 | Devices | III | z-1198-2 | Multiplace Hyperbaric Chamber Systems Recall # Z-1198-2. | Tampa Hyperbaric Enterprise Inc. Tampa Fl | Tampa Hyperbaric Enterprise Inc. Tampa Fl | March 12, 2002 | Various potential chamber component failures. | 8 | AZ MA WV FL CA and VA
2002-8-14 | Devices | III | z-1199-2 | Kallestad Hep-2 12 Well 48 Test Kit Kallestad Hep-2 12 Well 60 Test Kit Product Is For The Detection And Semi-quantitation Of Human Autoantibodies Product Is Labeled In Part "***bio-rad Laboratories Diagnostics Group ** Redmond Wa***" Or "sanofi Diagnostics Pasteur". (bio-rad Was Previously Sanofi Diagnostics Pasteur). Recall # Z-1199-2/z-1200-2. | Bio-rad Laboratories Redmond Wa | Bio-rad Laboratories Redmond Wa | March 2, 2002 | Incorrect temperature storage information provided on outer label. | lot 908849 214 lot 908866 139 | Nationwide
2002-8-14 | Devices | III | z-1209-2 | Ct-smac Agar Plates Catalog Number G129 Recall # Z-1209-2. | Hardy Diagnostics Santa Maria Ca | Hardy Diagnostics Santa Maria Ca | July 15, 2002 | Fails to grow bacteria according to specifications and labeling. | 620 | AR CA IL and WY
2002-8-14 | Devices | III | z-1212-2 | Irispec1 Microscopic Calibrator/control For Flow And Focus Determination Catalog Number 475-0001. Recall # Z-1212-2. Product Is Used In Iris Urinalysis Workstations Adn Models 900/939udx Urine Pathology Systems. | Intl. Remote Imaging Systems Chatsworth Ca | Intl. Remote Imaging Systems Chatsworth Ca | May 28, 2002 | Does not meet labeled specification. | 319 | Nationwide and England
2002-8-14 | Devices | III | z-1213-2 | Vitros Immunodiagnostics Products: Anemia Controls In Vitro Diagnostic Use. Cat #161 9360. Recall # Z-1213-2. | Ortho-clinical Diagnostics Inc. Rochester Ny | Ortho-clinical Diagnostics Inc. Cardiff. | May 28, 2002 | Folate is not stable resulting in negatively biased qc results. | domestic 694 units international 586 units | Nationwide and Internationally