## 1995-02-08
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-02-08 | Drugs | II | d-057-5 | Hydroxyzine Hcl Syrup For Oral Administration In 16 Fluid Ounce And In 1 Gallon Bottles Indicated For The Symptomatic Relief Of Anxiety And Tension | Manufacturer | Barre National Inc | January 11 1995 | Subpotenc | 33 032 16 Fluid Ounce Bottles And 598 64 Fluid Ounce Bottles Were Distributed | Nationwide
1995-02-08 | Drugs | II | d-056-5 | Xescan Xenon In Oxygen Usp Contrast Enhancement Agent In 605 | Manufacturer | Praxair Inc | November 19 1993 | Cylinder Valve Was Not Secur | 1 Cylinder | Pennsylvania
1995-02-08 | Drugs | II | d-058-5 | Kol Spans Sina Spans And All Other Private Label Brands Of The Firm's Timed Release Medicines For Relief Of Cold Discomforts Distributed In 15 30 And 1000 Caplet Bottles | The Reese Chemical Company | Wildflower Vitamin Corporation Mineola New York | January 16 1995 | Label Declares Timed Releas | Approximately 500 000 Tablets Were Distributed | Nationwide
1995-02-08 | Biologics | II | b-155-5 | Red Blood Cells Leukocytes Removed | Manufacturer | United Blood Services Chicago Illinois | May 6 1994 | Blood Products Were Distributedd For Transfusion Labeled With Incorrect Expiration Dat | 2 Units | Illinois
1995-02-08 | Biologics | III | b-154-5 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Peoria Illinois | October 20 1994 | Blood Products Which Were Labeled With Incorrect Expiration Dates Were Distributed | 2 Units | Illinois
1995-02-08 | Biologics | III | b-156-5 | Red Blood Cells | Manufacturer | Blood Center Of Southeast Texas Inc | July 5 1994 | Blood Products Labeled With Incorrect Expiration Dates Were Distributed | 2 Units | Texas
1995-02-08 | Devices | II | z-302/304-5 | Pleasure Plus Brand Condoms A Product 40349 3 Pack B Product 40449 6 Pack C Product 40549 12 Pack And Bulk Pack Of 144 Pieces | Reddy Distributors | Suretex Ltd | September 22 1994 | Water Leak Testing Of Both Lots Of Condoms Revealed That They Exceeded The | Firm Estimated That 16 500 Condoms Remained On Market At Time Of Recall Initiation 4 | Nationwide Canada Australia
1995-02-08 | Devices | II | z-326-5 | All Physio Control Disposable Defibrillation Electrode Cables Used With Lifepak Defibrillation Units And Adaptors And Fast Patch Adaptors | Manufacturer | Physio Control Corporation Redmond Washington | July 19 1994 | The Connector Configuration Was Incorrectly Designed And Improper Materials Were Use | Approximately 40 000 To 50 000 Cables Were Distributed | Nationwide And International
1995-02-08 | Devices | II | z-328/330-5 | A Sarns Brand Model 9000 Perfusion System With Delphin Ii Control Module Centrifugal Pump Part 98 0702 0548 3 B Sarns Modified Delphin I Units Part 78 8067 5418 6 C Sarns Trial Units Part 78 8067 5151 3 | Manufacturer | Sarns 3 M Health Care Ann Arbor Michigan | December 13 1993 | Products Are Susceptible To Electrical Noise In The Operating Room Which Can Adversely Effect The Air Detection System And The Delphin Ii Modul | 32 Units Were Distributed | California Delaware Florida Kentucky Massachusetts Michigan New Hampshire New Jersey New York Oregon Wisconsin Washington Dc Germany Quantity 32 Units Were Distributed
1995-02-08 | Devices | II | z-333/334-5 | 4 And 5 Fr Groshong Picc Full Procedural Trays A Product Code 7715407 B Product Code 7725507 | Manufacturer | Bard Access Systems Inc | July 15 1994 | The Packaging Has Large Seal Voids Which Occurred During Sterilizatio | 158 Units Were Distributed | Arkansas New York Minnesota California Wisconsin Oklahoma Pennsylvania Illinois Massachusetts Florida
1995-02-08 | Devices | II | z-343/344-5 | Sterilco Brand Custom Packed Surgical Trays Containing Coated Vicryl Polyglactin 910 Absorbable Sterile Sutures A Total Hip A B Pack Catalog Sch 00033 B Total Knee Pack Catalog Sch 00018 | Manufacturer | Sterile Design Southwest Sds Formerly Southwest Medical Packaging Division Of Maxxim Medical Stafford Texas | September 20 1994 | The Sterility Of The Sutures Cannot Be Assured Because Of Possible Microorganism Contamination During Aseptic Processing Following Sterilizatio | 13 Hip Packs And 18 Knee Packs Were Distributed Firm Estimates None Remains On The Market | Texas
1995-02-08 | Devices | II | z-348/363-5 | Deltran Abc Monitoring Kits Arterial Blood Collection System | Manufacturer | Utah Medical Products Inc | December 20 1994 | The Sterility Is Compromised Due To The Position Of The Stopcock Handle During Sterilizatio | Approximately 3 705 Units Were Distributed | Nationwide South Africa Sweden Turkey Canada Germany Italy
1995-02-08 | Devices | II | z-365-5 | Gamma Camera Universal Table Used With The Cirrus And Argus Imaging Systems | Manufacturer | Adac Laboratories Milpitas California | N A | The Patient Table Would Drift During Patient Imaging For Therapy Planning Due To Faulty Hydraulic Cylinders Thus Causing Artifacts In The Study Which Could Result In Misdiagnosis And Mistreatmen | 90 Cirrus Imaging Units And 76 Argus Imaging Units Were Distributed | Nationwide
1995-02-08 | Devices | III | z-319/320-5 | Pulse Generators A Meta Dddr Model 1254 Rate Responsive Dual Chamber Pulse Generator B Meta Iii Model 1206 M Rate Responsive Single Chamber Pulse Generator | Telectronics Pacing Systems | Telectronics Pacing Systems Miami Lakes Florida | July 19 1994 | The Product Is Incorrectly Labeled With The Year 1990 Rather Than 1994 For The Sterilization Dat | 24 Units Were Distributed | Washington State Nebraska Wisconsin Texas Australia France Canada
1995-02-08 | Devices | III | z-321-5 | Meta Dddr Model 1250 H Rate Responsive Dual Chamber Pulse Generator | Telectronics Pacing Systems | Telectronics Pacing Systems Miami Lakes Florida | August 3 1994 | The Product Inner Pack Labels Were Incorrectly Labeled For Another Product Namely Lead Wire | 39 Units Were Distributed | Nationwide And Australia
1995-02-08 | Devices | III | z-322-5 | Torque Limiting Hex Wrench Used For Surgical Procedures | Telectronics Pacing Systems | Telectronics Pacing Systems Miami Lakes Florida | October 10 1994 | The Wrench May Be Cracked And Therefore May Not Operate Correctl | U S Distribution Is 1 540 Unimplanted Units International Distribution Is 11 372 Units | Nationwide And International
1995-02-08 | Devices | III | z-345/347-5 | Vygon Xro Infant Feeding Tubes Used To Provide Nutrition To Infants A 16 Inch 6 French Feeding Tube Order 310 | Vygon Corporation | Vygon Xro S | March 8 1994 | The End Cap May Become Loos | A 29 825 Units B 15 302 Units B 15 503 Units Were Distributed | Nationwide And Canada
1995-02-08 | Devices | III | z-364-5 | Reaction Cuvettes Model 751060 In Vitro Diagnostic In Packages Of 100 Magazines | Manufacturer | Ciba Corning Diagnostics Corporation Oberlin Ohio | September 28 1993 | Some Of The Cuvettes Have Small Holes And May Leak Flui | 1 498 Boxes Of 100 Magazines 13 Cuvette Strips X 5 Wells Each Were Distributed | Nationwide And International
1995-02-08 | Devices | III | z-383-5 | Abbott Vision Sgot Ast Test Pack In Vitro Diagnostic Used With The Abbott Vision System For The Quantitative Determination Of Glutamic Oxaloacetate Transaminase Activity In Anticoagulated Whole Blood Plasma Or Serum For The Diagnosis And Treatment Of Certain Types Of Liver And Heart Disease | Manufacturer | Abbott Laboratories Diagnostics Division Abbott Park Illinois | June 9 1994 | Component Degradation Can Result In Instrument Error Messag | 18 249 Cartons Of 10 Testpacks Were Distributed Firm Estimates None Remains On The Market | Nationwide Brazil Italy Japan Singapore Taiwan Australia Germany
1995-02-08 | Devices | III | z-384-5 | Staphaurex In Vitro Diagnostic Test Rapid Latex Test Kit For The Identification Of Staphylococcus Aureus | Murex Diagnostics | Murex Diagnostics Ltd | September 7 1994 | Some Of The Tests Will Give A Positive Reaction When Coagulase Negative Staphylococci Or Buffer Are Mixed With The Test Late | 1 630 Kits Were Distributed | Nationwide And Canada