## 1993-03-10
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-03-10 | Drugs | II | d-165-3 | Dey-lute Isoetharine Inhalation Solution Usp 0.08% S/f 3 Ml A Rx Drug Used For The Treatment Of Asthma. Recall #d-165-3. | Manufacturer | Dey Laboratories Inc. Napa California. | January 20, 1993 | Some shelf cartons are mislabeled as 0 | 3 455 Shelf Cartons Were Distributed. | Nationwide. -2-
1993-03-10 | Drugs | II | d-166-3 | Nitrous Oxide Usp A Rx Medicinal Gas Used For Anesthesia In G Cylinders. Recall #d-166-3. | Boc Group/airco Gases Murray Hill New Jersey | Boc Group/airco Medical Specialty Gases Carol Stream Illinois. | February 18, 1993 | Potential overfilled cylinders | 60 Cylinders Were Distributed With 52 Accounted For. | Illinois Indiana Iowa Wisconsin.
1993-03-10 | Drugs | II | d-167-3 | Simethicone (gas Relief) Drops An Anti-flatulent In 30 Ml Amber Hard Polyethylene Bottles Under The Following Labels: Liquipharm Major Wgi Url Apothecary Products. Recall #d-167-3. | Manufacturer | Liquipharm Inc. Los Angeles California. | August 3, 1992 | Presence of pseudomonas cepacia | 221 040 Bottles Were Distributed; Firm Estimates 211 223 Bottles Remain On The Market. | Arkansas California Florida Georgia Hawaii Illinois Kentucky Massachusetts Maryland Michigan Tennessee Texas Washington State Puerto Rico.
1993-03-10 | Drugs | II | d-168-3 | Arthritis Pain Formula Oral Otc Analgesic In White Plastic Bottles Of 40 100 And 175 Caplets Per Bottle. Recall #d-168-3. | Manufacturer | Whitehall Laboratories Inc. (whitehall - Robbins Laboratories Inc.) Division American Home Products Corporation Hammonton New Jersey. | December 8, 1992 | Possible presence of metal particles | 19 290 180 Caplets Were Distributed. | Nationwide Puerto Rico.
1993-03-10 | Drugs | III | d-161-3 | Oxygen Usp In Metal Cylinders. Recall #d-161-3. | Manufacturer | Monitor Medical Inc. Winston-salem North Carolina. | December 7, 1992 | Product did not meet usp potency specifications | 30 Cylinders Were Distributed. | North Carolina.
1993-03-10 | Drugs | III | d-162-3 | Oxygen Usp In Size C D And E Tanks. Recall #d-162-3. | Manufacturer | Cardiopulmonary Care Inc. Logan Ohio. | February 3, 1993 | Product manufactured using an improperly calibrated analyzer | 460 Cylinders Were Distributed. | Ohio.
1993-03-10 | Drugs | III | d-163-3 | Promethazine Syrup Plain In 1 Pint Bottles Used For Perennial And Seasonal Allergic Rhinitis. Recall #d-163-3. | NOT-GIVEN, but may be Manufacturer | H.r. Cenci Laboratories Inc Fresno California | October 22 1992 | Some bottles were mislabeled as promethazine vc syrup plain which would contain phenylephrine hcl as an ingredient | 500 Mislabeled Bottles Were Distributed. | New York Oregon Michigan New York Ohio Puerto Rico.
1993-03-10 | Drugs | III | d-164-3 | Diphenhydramine Hcl 25 Mg Tablets Packaged In Cartons Of 32 Tablets And 72 Tablets An Otc Antihistamine With Sleep Aid Indications Under The Following Labels: Bartell Drugs Bi-mart Osco. Recall #d-164-3. | Manufacturer | Life-line Nutritional Products Inc. Hayward California. | January 11, 1993 | Product does not meet content uniformity specifications | 1 136 256 Tablets Were Distributed; Firm Estimates None Remains On The Market. | Washington State Illinois Pennsylvania California Oregon.
1993-03-10 | Drugs | III | d-169-3 | Solopak Hydralazine Hcl Injection U.s.p. 20 Mg/ml; 1 Ml Single Dose Vial 25 Vials Per Case A Rx Intramuscular/intravenous Antihypertensive. Recall #d-169-3. -4- | Manufacturer | Solopak Pharmaceuticals Inc. Elk Grove Village Illinois. | February 22, 1993 | Possible presence of particulate matter | 1 285 350 Vials Were Distributed; Firm Estimates That 15% Of The Product Remains On The Market. | Nationwide.
1993-03-10 | Biologics | II | b-159/160-3 | (a) Red Blood Cells; (b) Plasma. Recall #b-159/160-3. | Manufacturer | American Red Cross Blood Services Greater Chesapeake And Potomac Region Baltimore Maryland. | April 28, 1992 | Blood products, corresponding to units of platelets which were implicated in a case of post-transfusion septicemia with coagulase negative staphylococcus sp | 4 Units Of Each Component. | Washington D.c. Maryland.
1993-03-10 | Biologics | II | b-162-3 | Red Blood Cells. Recall #b-162-3. | Manufacturer | American Red Cross Blood Services Daytona Beach Florida. | August 28, 1991 | Blood products untested for syphilis were distributed | 6 Units. | Florida.
1993-03-10 | Devices | II | z-143-3 | Bicarbonate Control Monitors (bcm) Used In Conjunction With The Gambro Ak10 Hemodialysis Machines. Recall #z-143-3. | Cgh Medical Inc. Lakewood Colorado | Gambro Lundia Ab Lund Sweden. | October 19, 1992 | The monitor system may fail to detect a mix-up in concentrate combinations which could lead to an incorrect dialysate administered to the patient | 1 967 Units Were Distributed. | Nationwide.
1993-03-10 | Devices | II | z-346-3 | Baincide Sterilizing And Disinfection Solution In 1 Gallon Containers. Recall #z-346-3. | Manufacturer | Pascal Company Inc. Bellevue Washington. | September 4, 1992 | The usage instructions for the solution diluted 1:4 (0 | 232 854 Gallons Were Distributed. | Nationwide.
1993-03-10 | Devices | II | z-348-3 | Should Be Used Full-strength As Instructed On The Label. Only The 1:4 Dilution Claim For Tuberculocidal Action Has Been Deleted. All Other Usage Instructions In The Labeling Remain Unchanged. Product Padgett Air Dermatome Model A Used For Cutting Of Skin Grafts. Recall #z-348-3. | Padgett Instruments Inc. Kansas City Missouri | Dadson Manufacturing Corporation Grain Valley Missouri. | December 3, 1992 | The device may exhibit an internal air leak associated with the air motor and nose assembly which could cause the blade to go out of adjustment | 12 Units Were Distributed. | Florida Virginia New York Texas Alabama Connecticut Minnesota And International.
1993-03-10 | Devices | II | z-349-3 | Direct Drive Power Wheelchairs: (a) Geronimo Also Known As Road Challenger Model 107rc; (b) Chief Also Known As The Road Stander Model 107ru. Recall #z-349-3. | Manufacturer | Redman Inc. Tucson Arizona. | December 5, 1992 | The motor shaft may fail resulting in the drive becoming inoperative and the wheel coming off | 89 Units Were Distributed. | Nationwide And Canada.
1993-03-10 | Devices | II | z-351-3 | Ultra High Molecular Weight Polyethylene (uhmwp) Uni Tibial Inserts Small Medium Large And Extra-large Sizes. Recall #z-351-3. | Manufacturer | Biopro Inc. Port Huron Michigan. | January 2, 1991 | The device is undersized and fits loosely within the uni tibial tray of the knee replacement system | Approximately 298 Units Were Distributed; Firm Estimates None Remains On The Market. | Nationwide.
1993-03-10 | Devices | II | z-365-3 | Cidex Activated Dialdehyde Solution For Sterilization Or Disinfection Of Medical Instruments And Equipment Packed In 1 Gallon Containers. Recall #z-365-3. | Johnson & Johnson Medical Inc. Arlington Texas (own Label Distributor) | Arbrook Manufacturing Corporation San German Puerto Rico; | January 29, 1993 | The product may have been inadvertently diluted to below label-specified levels of active ingredient (glutaraldehyde) | 1 717 Cases (4 Gallons Per Case) Were Distributed; Firm Estimates None Remains On The Market. | Nationwide.
1993-03-10 | Devices | III | z-332/333-2 | In-vitro Diagnostic Test Kits: (a) Cards O.s. Hcg-urine; (b) Cards O.s. Strep A. Recall #z-332/333-2. | Manufacturer | Pacific Biotech Inc. San Diego California. | August 14, 1992 | The test pouches may not be adequately sealed | Approximately 5 900 Kits Were Distributed; Fda Estimates That Little Product Remains On The Market. | Nationwide Puerto Rico Canada.
1993-03-10 | Devices | III | z-350-3 | Force 20 Balloon Dilation Catheter Item #032040 Used To Dilate Arteriosclerotic Lesions Of The Coronary Artery. Recall #z-350-3. | Usci/division C.r. Bard Inc. Billerica Massachusetts | Usci/division C.r. Bard Inc. Haverhill Massachusetts. | November 3, 1992 | The outer box is mislabeled in that it has a pre-printed force 30 label and not the required force 20 label | 28 Units Were Distributed. | Alabama Arizona Arkansas California North Carolina South Carolina Maryland Louisiana Wisconsin Massachusetts Indiana Washington D.c.
1993-03-10 | Devices | III | z-352-3 | Abbott Testpack Hcg-urine List #6278 An Enzyme Immunoassay In-vitro Diagnostic Pregnancy Test For The Qualitative Determination Of Human Chorionic Gonadotropin (hcg) In Urine. Recall #z-352-3. | Abbott Laboratories Abbott Park Illinois | Abbott Laboratories North Chicago Illinois. | January 13, 1992 | The test kits gave false positive results due to a problem with the reaction discs | 3 761 40-test Kits Were Distributed; Firm Estimates None Remains On The Market. | Nationwide.