## 1993-09-15
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-09-15 | Drugs | II | d-333-3 | Cefzil (ceprozil Hcl) 500 Mg Unit Dose Tablets A Broad Spectrum Antibiotic. Recall #d-333-3. | Bristol-myers Squibb Company New Brunswick New Jersey | Bristol-myers Carceloneta Barceloneta Puerto Rico. | August 18, 1993 | Strips of 500 mg unit dose tablets were packaged in some cartons labeled as 250 mg | 922 Units Of Lot B2v77a 449 Units Of Lot C2w64b Were Distributed. | Nationwide.
1993-09-15 | Drugs | II | d-334-3 | Nitrous Oxide Compressed Usp Medical Gas Anhydrous Rx Medical Gas Used In Anesthesia In Blue N (64 Pound) G (56 Pound) And E (6.9 Pound) Size Cylinders. Recall #d-334-3. | Liquid Carbonic Industries Corporation Oak Brook Illinois | Liquid Carbonic Industries Corporation Chicago Illinois. | September 1, 1993 | Some cylinders were contaminated with carbon dioxide | 1 E-cylinder 10 G-cylinders And 13 N-cylinders Were Distributed; Firm Estimates None Remains On The Market. | Illinois Indiana.
1993-09-15 | Drugs | II | d-336-3 | Compressed Medical Oxygen Usp Packaged In D And E Size Cylinders Rx Drug Used For Inhalation Therapy. Recall #d-336-3. | Newbridge Surgical Supply Inc. Bellmore New York | Triweld Industries Bayshore New York (bulk Supplier). | September 1, 1993 | Current good manufacturing practice deficiencies | 17 Cylinders Were Distributed. | New York.
1993-09-15 | Drugs | III | d-335-3 | Sodium Polystyrene Sulfonate Suspension Usp In 1 Pint And 60 Ml Plastic Bottles. Recall #d-335-3. | Manufacturer | Carolina Medical Products Company Farmville North Carolina. | August 30, 1993 | Use of non-approved formulation | Firm Estimates 200 Pint Bottles And 75 10-bottle Cartons Of 60 Ml Bottles Remain On The Market. | Canada.
1993-09-15 | Drugs | III | d-337-3 | Kondremul Plain In 16 Ounce Bottles Used For The Temporary Relief Of Constipation And Sold Under Fisons Label. Recall #d-337-3. | Manufacturer | Barre-national Inc. Baltimore Maryland. | April 7, 1993 | Product fails stability specifications for total microbial count | 60 864 Units Were Distributed; Firm Estimates None Remains On The Market. | New York.
1993-09-15 | Devices | I | z-678-3 | Lifepak (lp) 10 Defibrillator/cardiac Monitor (including Paddles) A Stand Alone External Medical Device. Recall #z-678-3. | Manufacturer | Physio Control Corporation Redmond Washington. | July 9, 1993 | Inherent reliability problems | 115 000 Units Were Distributed Prior To June 1992. An Additional 1 000-1 500 Units Were Distributed From May 18 1993 Through Mid-august 1993. | Nationwide And International.
1993-09-15 | Devices | II | z-280-3 | Osteogen (ha) Synthetic Non-ceramic Hydroxylapatite Osteoconductive Implant Material Indicated For The Contouring And Improvement Of Alveolar Ridge Deformities And For The Support And Filling Of Tooth Sockets And Cyst Defects Following Extraction Or Removal. Recall #z-280-3. | Manufacturer | Impladent Ltd. Holliswood New York. | December 4, 1992 | Product may contain foreign particles | 4 668 Vials Were Distributed; Firm Estimates None Remains On The Market. | Michigan.
1993-09-15 | Devices | II | z-640-3 | Howmedica Precision Hip Long Stem Femoral Component Size #2 Left 225 Mm Used For Reconstructive Hip Replacement. Recall #z-640-3. | Manufacturer | Howmedica Division Pfizer Hospital Products Gropup Inc. Rutherford New Jersey. | August 24, 1992 | Devices are labeled with an incorrect size | 12 Units Were Distributed. All Distributed Product Have Been Accounted For. | Maryland Tennessee Arizona Pennsylvania California Florida New York Canada.
1993-09-15 | Devices | II | z-656/657-3 | Star Dental High Speed Handpiece Used With Various Dental Tools: (a) 430 Swl High Speed Fiber Optic Handpiece; (b) 430/k/sw High Speed Handpiece. Recall #z-656/657-3. | Den-tal-ez Inc. Star Dental Division Lancaster Pennsylvania | Nakanishi Dental Manufacturing Company Ltd. Japan. | September 10, 1993 | Accidental contact of the end cap with the turbine shaft can cause sudden and severe heat rise in the distal end of the handpiece, which may result in burns to the oral mucosa of patients | Approximately 20 032 Units Were Distributed. | Nationwide And International.
1993-09-15 | Devices | II | z-663-3 | Model Blr-15aa Beam-limiting Device Used To Limit The Beam On An X-ray Machine. Recall #z-663-3. | Manufacturer. Fda Approved The Firm's Corrective Action Plan August 5 1993. Firm-initiated Recall Ongoing. | Toshiba America Medical Systems Inc. Tustin California. | August 5, 1993 | The beam limiting device does not numerically indicate the field size in the plane of the image receptor to which it is adjusted when the positive-beam limitation (pbl) override key is turned to the override position | Undetermined. | Undetermined.