## 1993-09-29
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-09-29 | Drugs | II | d-340/341-3 | Nitroglycerin Extended Release Capsules (a) 6.5 Mg; (b) 2.5 Mg Both Packaged In 60 And 100-capsule Bottles For The Prevention Of Angina Pectoris Due To Coronary Artery Disease. Recall #d-340/341-3. | Ethex Corporation St. Louis Missouri | Kv Pharmaceutical Company St. Louis Missouri. | September 17, 1993 | Lack of adequate assurance of potency through expiration date | (a) 417 Cases (12 60-capsule Bottles Per Case) And 781 Cases (12 100-capsule Bottles Per Case); (b) 3 801 Cases (12 60- Capsule Bottles Per Case) And 159 Cases (12 100-capsule Bottles Per Case Were Distributed. | Nationwide.
1993-09-29 | Drugs | II | d-342-3 | Papaverine Hcl Time Release Capsules 150 Mg Rx In 100 And 1000 Capsule Bottles Under Schein And Danbury Labels. Recall #d-342-3. -4- | Manufacturer | Danbury Pharmacal Inc. Danbury Connecticut. | September 9, 1993 | Product does not meet dissolution specifications | Lot #41517d Estimated 200 100-capsule Bottles Under The Danbury Pharmacal Inc. Label; Estimated 25 1000-capsule Bottles Under The Danbury Pharmacal Inc. Label; Lot #41368d Estimated 10 100-capsule Bottles Under The Schein Pharmaceutical Inc. Label; Estimated 20 100-capsule Bottles Under The Danbury Pharmacal Inc. Label; Estimated 2 1000-capsule Bottles Under The Schein Pharmaceutical Inc. Label; Lot #41675d Estimated 1000 100-capsule Bottles Under The Danbury Pharmacal Inc. Label; Estimated 35 1000-capsule Bottles Under The Danbury Pharmacal Inc. Label; Lot #42021d Estimated 4000 100-capsule Bottles Under The Danbury Pharmacal Inc. Label. | Nationwide.
1993-09-29 | Drugs | II | d-343-3 | Procainamide Hcl Extended Release Tablets 750 Mg In Bottles Of 100 And 500 Rx Under Schein And Danbury Labels. Recall #d-343-3. | Manufacturer | Danbury Pharmacal Inc. Danbury Connecticut. | September 9, 1993 | Product does not meet dissolution specifications | 700 100-tablet Bottles And 200 500-tablet Bottles Were Distributed. | Nationwide.
1993-09-29 | Drugs | II | d-344-3 | Transfilled Compressed Oxygen In E D 80 Cubic Feet M And N Cylinders. Recall #d-344-3. | Repacker | Sbl Home Medical Equipment Ronkonkoma New York (repacker). | September 16, 1993 | Current good manufacturing practice deficiencies | 218 Cylinders Were Distributed. | New York.
1993-09-29 | Drugs | III | d-339-3 | Natus Patch Pain Relief Patches For Fast Temporary Relief Of Pain Containing Methyl Salicylate 11 % Menthol 2% And Camphor 3.5% In Boxes Of 30. Recall #d-339-3. | Natus Corporation Edina Minnesota | Lectec Corporation Minnetonka Minnesota. | September 15, 1993 | Potency not assured through expiration date | 271 350 Units Were Distributed. | Nationwide.
1993-09-29 | Biologics | II | b-236/238-3 | (a) Red Blood Cells; (b) Platelets; (c) Recovered Plasma. Recall #b-236/238-3. | Manufacturer | Blood Bank Of Alaska Inc. Anchorage Alaska. | December 3, 1992 | Blood products which were either: 1) collected from an ineligible donor due to the application of a tattoo less than 12 months prior to donation; or 2) untested for all required and recommended viral markers, were distributed | 1 Unit Of Each Component. | Alaska Florida.
1993-09-29 | Biologics | II | b-324-3 | Recovered Plasma. Recall #b-324-3. | Manufacturer | The Blood Center For Southeast La New Orleans Louisiana. | February 1, 1993 | Blood product which tested repeatedly reactive for the antibody to the hepatitis c virus encoded antigen (anti- hcv), was distributed | 1 Unit. | California.
1993-09-29 | Biologics | II | b-422-3 | Red Blood Cells. Recall #b-422-3. | Manufacturer | American Red Cross Blood Services Rochester New York. | July 28, 1992 | Blood products collected from ineligible donors due to travel in areas endemic for malaria were distributed | 2 Units. | New York.
1993-09-29 | Biologics | II | b-438-3 | Platelets. Recall #b-438-3. | Manufacturer | American Red Cross Blood Services Miami Florida. | August 7, 1992 | Blood product, collected from an ineligible donor due to the application of a tattoo less than 12 months prior to donation, was distributed | 1 Unit. | Florida.
1993-09-29 | Biologics | II | b-439-3 | Source Plasma. Recall #b-439-3. | Manufacturer | Dci Plasma Center Of Duluth Inc. Duluth Minnesota. | March 30, 1993 | Blood products, which tested repeatedly reactive for the antibody to hepatitis c virus encoded antigen (anti-hcv), were distributed | 2 Units. | Kentucky.
1993-09-29 | Biologics | II | b-440-3 | Platelets. Recall #b-440-3. | Manufacturer | Blood Center Of Southeast Texas Inc. (bcst) Beaumont Texas. | May 14, 1993 | Blood products labeled with incorrect expiration dates were distributed | 3 Units. | Texas.
1993-09-29 | Biologics | III | b-437-3 | Fresh Frozen Plasma. Recall #b-437-3. | Manufacturer Telephone February 17 18 And March 29 1993. Firm-initiated Recall Complete. | Sylvan N. Goldman Center Doing Business As Oklahoma Blood Institute (obi) Oklahoma City Oklahoma. | February 17, 1993 | Unlicensed blood products were distributed interstate | 13 Units. | Michigan Louisiana Massachusetts California.
1993-09-29 | Biologics | III | b-441-3 | Red Blood Cells. Recall #b-441-3. | Manufacturer | Blood Center Of Southeast Texas Inc. (bcst) Beaumont Texas. | December 23, 1992 | Blood products labeled with incorrect expiration dates were distributed | 3 Units. | Texas.
1993-09-29 | Biologics | III | b-448/452-3 | (a) Red Blood Cells; (b) Red Blood Cells Washed; (c) Platelets; (d) Fresh Frozen Plasma; (e) Recovered Plasma. Recall #b-448/452-3. | Manufacturer | Aurora Area Blood Bank Aurora Illinois. | July 26, 1993 | Blood products incorrectly tested for syphilis were distributed | (a) 18 Units; (b) 1 Unit; (c) 9 Units; (d) 2 Units; (e) 13 Units. | Illinois Indiana California New York New Jersey.
1993-09-29 | Devices | II | z-644/645-3 | Mevatron 6 And 12 Clinical Linear Accelerators With X-ray Fields Designed For Radiotherapy Treatments: Recall #z-644/645-3. | Manufacturer | Siemens Medical Laboratories Inc. Concord California. | April 19, 1992 | The devices were distributed without an appropriate maintenance schedule for the lead counter weight | 54 Units Were Distributed. | Nationwide And International. -8-
1993-09-29 | Devices | II | z-680/682-3 | Photon Era Software Versions 3.8 3.8md 4.01 And Photon Era-qa Software Versions 1.01: (a) Model 20100001 Photon Era-qa Automated Immunoassay Analyzer; (b) Model 9r1001 Photon Era Automated Immunoassay Analyzer; (c) Model 99800 Photon Era Automated Immunoassay Analyzer. Recall #z-680/682-3. | Manufacturer February 28 1993. Firm-initiated Recall Ongoing. | Hybritech Inc. San Diego California. | February 28, 1993 | There are two software problems which in some cases could lead to incorrect calculation of patient results on photon era assays | 769 Software Packages Were Distributed. | Nationwide And International.
1993-09-29 | Devices | II | z-765-3 | Usci Semi-floating Bipolar Transvenous Electrode 4f Used To Transmit A Pacing Electrical Stimulus From The Pulse Generator To The Heart And/or Transmit An Electrical Signal From The Heart To A Recording Device. Recall #z-765-3. | Usci Division Of C.r. Bard Inc. Billerica Massachusetts | Usci Division C.r. Bard Inc. Glen Falls New York. | January 27, 1993 | Product labeled as sterile was not sterilized | 70 Units Were Distributed. | California North Carolina New York
1993-09-29 | Devices | II | z-785-3 | Sbt-100 Rectal Suction Biopsy Tool Used To Obtain A Rectal Biopsy Specimen To Establish The Presence Of Ganglion Cells In Infants And Children. Recall #z-785-3. | Medical Measurements Inc. Hackensack New Jersey | Trewavis Surgical Ltd. Victoria Australia. | December 1, 1992 | Product did not contain adequate directions for use | 115 Units Were Distributed. | Nationwide And International.
1993-09-29 | Devices | III | z-495-3 | Performance Fixation Pins Rx Nonsterile Pins Used To Hold The Tibial Cutting Block In Place During Surgery. Recall #z-495-3. | Kirschner Medical Corporation Fair Lawn New Jersey | Kirschner Medical Corporation Timonium Maryland. | November 10, 1992 | Some product labeled as performance fixation pins actually contained total condylar pin fixation pins | 12 Units Were Distributed. | Nationwide And International.
1993-09-29 | Devices | III | z-679-3 | Kmp Modular Fenestrated Moore-type Femoral Stem Component For Use In Hip Implantation. Recall #z-679-3. | Kirschner Medical Corporation Fair Lawn New Jersey | Kirschner Medical Corporation Timonium Maryland. | January 8, 1993 | Labeling mix-up. | 5 Units Were Distributed. | Maryland Tennessee Alabama Florida Texas Mississippi.
1993-09-29 | Devices | III | z-709/720-3 | Catheter Repair Kits. These Kits Contain Certain Lots Of Dow Corning Silastic Brand 7-2947 Medical Adhesive Silicone Type A - Sterile Which Are Currently Being Recalled By Dow Corning. Recall Z-709/720-3. | Manufacturer | Bard Access Systems, Inc., Salt Lake City, Utah | April 70, 0601 | Kits contain adhesive that did not meet the sterility assurance level | 2 613 Kits Were Distributed. | Nationwide And International.